MC20037

Submitted by: 	Alex Beaton Garcia

Solved by: 	Gary S Nichol

Compound ABG-0200-A was provided as colourless crystals suitable for single crystal X-ray diffraction, yielding structure MC20037.

R1=5.73%

Crystal Data and Experimental

Experimental. Single colourless block crystals of MC20037 recrystallised from d6-benzene by slow evaporation. A suitable crystal with dimensions 0.48 × 0.13 × 0.12 mm3 was selected and mounted on a MITIGEN holder in Paratone oil. on a Rigaku Oxford Diffraction XCalibur diffractometer. The crystal was kept at a steady T = 119.99(15) K during data collection. The structure was solved with the ShelXT 2018/2 (Sheldrick, 2018) solution program using dual methods and by using Olex2 (Dolomanov et al., 2009) as the graphical interface. The model was refined with ShelXL 2018/3 (Sheldrick, 2015) using full matrix least squares minimisation on F2.

Crystal Data.  C52H62Al2, Mr = 740.97, monoclinic, P21/c (No. 14), a = 22.9256(8) Å, b = 9.1694(2) Å, c = 23.7595(8) Å,  = 116.513(4)°,  =  = 90°, V = 4469.3(3) Å3, T = 119.99(15) K, Z = 4, Z' = 1, (Mo K) = 0.098, 86296 reflections measured, 8800 unique (Rint = 0.0628) which were used in all calculations. The final wR2 was 0.1299 (all data) and R1 was 0.0573 (I≥2 (I)).

| Compound | MC20037 |
| --- | --- |
| Formula | C52H62Al2 |
| Dcalc./ g cm-3 | 1.101 |
| /mm-1 | 0.098 |
| Formula Weight | 740.97 |
| Colour | colourless |
| Shape | block |
| Size/mm3 | 0.48×0.13×0.12 |
| T/K | 119.99(15) |
| Crystal System | monoclinic |
| Space Group | P21/c |
| a/Å | 22.9256(8) |
| b/Å | 9.1694(2) |
| c/Å | 23.7595(8) |
| /° | 90 |
| /° | 116.513(4) |
| /° | 90 |
| V/Å3 | 4469.3(3) |
| Z | 4 |
| Z' | 1 |
| Wavelength/Å | 0.71073 |
| Radiation type | Mo K |
| min/° | 3.319 |
| max/° | 26.022 |
| Measured Refl's. | 86296 |
| Indep't Refl's | 8800 |
| Refl's I≥2 (I) | 7069 |
| Rint | 0.0628 |
| Parameters | 509 |
| Restraints | 0 |
| Largest Peak | 0.346 |
| Deepest Hole | -0.251 |
| GooF | 1.086 |
| wR2 (all data) | 0.1299 |
| wR2 | 0.1214 |
| R1 (all data) | 0.0764 |
| R1 | 0.0573 |

Structure Quality Indicators

| Reflections: |  |
| --- | --- |
| Refinement: |  |

A colourless block-shaped crystal with dimensions 0.48 × 0.13 × 0.12 mm3 was mounted on a MITIGEN holder in Paratone oil.. Data were collected using a Rigaku Oxford Diffraction XCalibur diffractometer equipped with an Oxford Cryosystems Cryostream 700+ low-temperature device operating at T = 119.99(15) K.

Data were measured using  scans using Mo K radiation. The diffraction pattern was indexed and the total number of runs and images was based on the strategy calculation from the program CrysAlisPro (Rigaku, V1.171.40.84a, 2020). The maximum resolution that was achieved was  = 26.022° (0.81 Å).

The diffraction pattern was indexed and the total number of runs and images was based on the strategy calculation from the program CrysAlisPro (Rigaku, V1.171.40.84a, 2020). The unit cell was refined using CrysAlisPro (Rigaku, V1.171.40.84a, 2020) on 16216 reflections, 19% of the observed reflections.

Data reduction, scaling and absorption corrections were performed using CrysAlisPro (Rigaku, V1.171.40.84a, 2020). The final completeness is 99.80 % out to 26.022° in . A multi-scan absorption correction was performed using CrysAlisPro 1.171.40.84a (Rigaku Oxford Diffraction, 2020) Empirical absorption correction using spherical harmonics, implemented in SCALE3 ABSPACK scaling algorithm..  The absorption coefficient  of this material is 0.098 mm-1 at this wavelength ( = 0.71073Å) and the minimum and maximum transmissions are 0.967 and 1.000.

The structure was solved and the space group P21/c (# 14) determined by the ShelXT 2018/2 (Sheldrick, 2018) structure solution program using using dual methods and refined by full matrix least squares minimisation on F2 using version 2018/3 of ShelXL 2018/3 (Sheldrick, 2015). All non-hydrogen atoms were refined anisotropically. Hydrogen atom positions were calculated geometrically and refined using the riding model. Most hydrogen atom positions were calculated geometrically and refined using the riding model, but some hydrogen atoms were refined freely.

_refine_special_details: The Al-bound H atoms were identified from a difference map and freely refined.

Figure 1: The complete dimer structure in MC20037. Displacement ellipsoids are at the 50% probability level and C-bound H atoms are not shown.

Data Plots: Diffraction Data

Data Plots: Refinement and Data

Reflection Statistics

| Total reflections (after filtering) | 89084 | Unique reflections | 8800 |
| --- | --- | --- | --- |
| Completeness | 1.0 | Mean I/ | 19.06 |
| hklmax collected | (28, 11, 29) | hklmin collected | (-28, -11, -29) |
| hklmax used | (25, 11, 29) | hklmin used | (-28, 0, 0) |
| Lim dmax collected | 100.0 | Lim dmin collected | 0.36 |
| dmax used | 6.14 | dmin used | 0.81 |
| Friedel pairs | 17248 | Friedel pairs merged | 1 |
| Inconsistent equivalents | 1 | Rint | 0.0628 |
| Rsigma | 0.037 | Intensity transformed | 0 |
| Omitted reflections | 0 | Omitted by user (OMIT hkl) | 0 |
| Multiplicity | (7402, 12624, 8489, 3215, 1585, 891, 399, 153, 62, 25, 1) | Maximum multiplicity | 31 |
| Removed systematic absences | 2788 | Filtered off (Shel/OMIT) | 0 |

Table 1: Fractional Atomic Coordinates (×104) and Equivalent Isotropic Displacement Parameters (Å2×103) for MC20037. Ueq is defined as 1/3 of the trace of the orthogonalised Uij.

| Atom | x | y | z | Ueq |
| --- | --- | --- | --- | --- |
| Al1 | 578.5(3) | 565.6(7) | 5148.3(3) | 19.83(15) |
| C1 | 1299.4(9) | -290(2) | 5897.0(9) | 18.7(4) |
| C2 | 1441.1(10) | 202(2) | 6504.5(9) | 20.8(4) |
| C3 | 1879.7(11) | -547(2) | 7033.7(10) | 26.7(5) |
| C4 | 2200.2(11) | -1772(2) | 6969.7(11) | 29.4(5) |
| C5 | 2101.7(11) | -2220(2) | 6376.9(11) | 27.0(5) |
| C6 | 1658.2(10) | -1486(2) | 5842.9(10) | 21.4(4) |
| C7 | 1165.2(10) | 1622(2) | 6594.3(9) | 20.5(4) |
| C8 | 1440.1(11) | 2929(2) | 6522.4(10) | 24.7(5) |
| C9 | 1206.6(11) | 4244(2) | 6634.4(10) | 27.4(5) |
| C10 | 715.9(11) | 4308(2) | 6820.9(10) | 29.1(5) |
| C11 | 451.6(11) | 3001(2) | 6893.6(10) | 27.1(5) |
| C12 | 663.2(10) | 1661(2) | 6779.5(9) | 23.8(5) |
| C13 | 1994.0(12) | 2949(3) | 6343.2(12) | 33.3(6) |
| C14 | 486.6(14) | 5750(3) | 6954.1(13) | 43.4(7) |
| C15 | 344.7(12) | 285(3) | 6852.7(12) | 35.1(6) |
| C16 | 1602.5(10) | -1895(2) | 5208.3(10) | 21.7(5) |
| C17 | 1168.5(10) | -2976(2) | 4839.6(10) | 25.0(5) |
| C18 | 1142.2(11) | -3315(3) | 4259.0(11) | 30.7(5) |
| C19 | 1533.1(11) | -2612(3) | 4032.6(11) | 32.1(6) |
| C20 | 1956.0(11) | -1546(3) | 4402.6(11) | 30.7(5) |
| C21 | 2005.7(10) | -1178(2) | 4989.2(10) | 25.5(5) |
| C22 | 748.1(11) | -3793(2) | 5068.8(11) | 31.2(5) |
| C23 | 1508.1(14) | -3031(3) | 3408.2(12) | 46.4(7) |
| C24 | 2500.4(11) | -59(3) | 5386.7(12) | 32.1(5) |
| C25 | 570.6(11) | 2166(2) | 4606.6(11) | 29.1(5) |
| C26 | 1048.5(13) | 2117(3) | 4321.6(14) | 50.2(8) |
| Al51 | 4526.1(3) | 5531.8(6) | 5103.2(3) | 16.51(14) |
| C51 | 4453.3(9) | 4673(2) | 5829.8(9) | 15.2(4) |
| C52 | 4046.1(10) | 3461(2) | 5748.9(9) | 17.1(4) |
| C53 | 4050.1(11) | 2745(2) | 6269.7(10) | 22.5(5) |
| C54 | 4449.1(12) | 3229(2) | 6872.8(10) | 27.1(5) |
| C55 | 4829.5(11) | 4458(2) | 6957.8(10) | 25.0(5) |
| C56 | 4833.9(10) | 5187(2) | 6444.8(9) | 17.8(4) |
| C57 | 3560.4(10) | 2999(2) | 5106.6(9) | 18.6(4) |
| C58 | 2937.2(10) | 3644(2) | 4850.1(10) | 26.5(5) |
| C59 | 2480.5(11) | 3216(3) | 4254.2(11) | 36.2(6) |
| C60 | 2609.1(12) | 2144(3) | 3912.7(11) | 37.8(6) |
| C61 | 3220.1(12) | 1517(3) | 4177.0(10) | 31.2(5) |
| C62 | 3701.9(10) | 1924(2) | 4765.7(9) | 21.6(5) |
| C63 | 2759.2(12) | 4742(3) | 5218.4(12) | 37.1(6) |
| C64 | 2093.4(15) | 1675(4) | 3273.3(12) | 60.7(9) |
| C65 | 4352.1(11) | 1183(2) | 5027.9(10) | 26.1(5) |
| C66 | 5218.5(10) | 6571(2) | 6563.7(9) | 18.3(4) |
| C67 | 5902.3(11) | 6538(2) | 6841.4(9) | 23.2(5) |
| C68 | 6246.0(12) | 7845(3) | 6984.2(10) | 30.1(5) |
| C69 | 5934.6(12) | 9188(3) | 6863.4(10) | 30.4(5) |
| C70 | 5259.7(12) | 9199(2) | 6584.6(10) | 27.7(5) |
| C71 | 4895.6(11) | 7923(2) | 6436.3(9) | 21.5(5) |
| C72 | 6270.8(12) | 5123(3) | 7003.9(12) | 36.8(6) |
| C73 | 6318.0(16) | 10592(3) | 7054.3(13) | 50.3(8) |
| C74 | 4162.5(11) | 8021(3) | 6183.8(11) | 31.0(5) |
| C75 | 4020.1(11) | 7057(2) | 4514.2(10) | 25.0(5) |
| C76 | 3282.7(12) | 6810(3) | 4145.6(12) | 38.9(6) |

Table 2: Anisotropic Displacement Parameters (×104) for MC20037. The anisotropic displacement factor exponent takes the form: -22[h2a*2 × U11+ ... +2hka* × b* × U12]

| Atom | U11 | U22 | U33 | U23 | U13 | U12 |
| --- | --- | --- | --- | --- | --- | --- |
| Al1 | 16.1(3) | 18.0(3) | 21.4(3) | 0.8(3) | 4.9(3) | 0.6(2) |
| C1 | 13.1(10) | 17.8(10) | 23.9(11) | 2.6(8) | 7.1(8) | -2.5(8) |
| C2 | 17.3(10) | 21.4(11) | 22.6(11) | 1.1(8) | 7.8(9) | -4.6(8) |
| C3 | 24.9(12) | 28.7(12) | 22.2(11) | 1.8(9) | 6.7(9) | -0.6(10) |
| C4 | 25.1(12) | 28.2(12) | 26.5(12) | 9.2(10) | 4.1(10) | 4.3(10) |
| C5 | 21.5(11) | 20.4(11) | 35.5(13) | 2.3(9) | 9.4(10) | 2.9(9) |
| C6 | 14.9(10) | 20.0(11) | 26.8(11) | -0.7(9) | 6.9(9) | -5.2(8) |
| C7 | 18.1(10) | 23.1(11) | 13.9(10) | 0.9(8) | 1.4(8) | 0.7(8) |
| C8 | 27.4(12) | 25.6(11) | 16.8(10) | -1.4(9) | 6.1(9) | -3.8(9) |
| C9 | 37.4(13) | 20.1(11) | 18.4(11) | -0.7(9) | 6.8(10) | -4.3(10) |
| C10 | 33.0(13) | 28.7(12) | 15.6(11) | 0.0(9) | 1.9(10) | 6.6(10) |
| C11 | 23.7(12) | 35.0(13) | 19.3(11) | 1.1(9) | 6.8(9) | 6.6(10) |
| C12 | 21.3(11) | 27.3(12) | 17.3(10) | 1.8(9) | 3.8(9) | 0.2(9) |
| C13 | 35.3(14) | 28.3(13) | 38.5(14) | -4.1(10) | 18.4(11) | -9.9(11) |
| C14 | 52.7(17) | 30.7(14) | 39.6(15) | -3.1(11) | 14.0(13) | 11.3(12) |
| C15 | 34.5(14) | 34.6(14) | 42.1(14) | 2.7(11) | 22.4(12) | -2.4(11) |
| C16 | 16.9(10) | 18.4(11) | 26.9(11) | 1.6(8) | 7.2(9) | 4.8(8) |
| C17 | 18.4(11) | 21.5(11) | 29.4(12) | 0.4(9) | 5.6(9) | 7.6(9) |
| C18 | 21.0(11) | 28.1(12) | 31.8(13) | -5.4(10) | 1.6(10) | 8.3(10) |
| C19 | 27.1(12) | 38.2(14) | 27.0(12) | 2.1(10) | 8.5(10) | 15.5(11) |
| C20 | 26.0(12) | 36.2(13) | 33.3(13) | 7.5(11) | 16.2(10) | 10.6(10) |
| C21 | 19.0(11) | 23.1(11) | 33.6(13) | 3.0(9) | 11.0(10) | 7.7(9) |
| C22 | 29.8(13) | 21.1(12) | 37.8(13) | -4.7(10) | 10.8(11) | -2.7(10) |
| C23 | 42.0(16) | 61.1(19) | 31.2(14) | -3.2(13) | 11.9(12) | 14.1(14) |
| C24 | 22.4(12) | 33.9(13) | 43.0(14) | 2.1(11) | 17.4(11) | -1.4(10) |
| C25 | 24.2(12) | 24.4(12) | 33.3(13) | 7.2(10) | 8.0(10) | 1.0(9) |
| C26 | 28.2(14) | 64.3(19) | 60.1(19) | 33.1(15) | 21.4(13) | 8.4(13) |
| Al51 | 18.7(3) | 18.2(3) | 14.2(3) | 1.0(2) | 8.7(2) | -0.7(2) |
| C51 | 14.6(9) | 15.7(10) | 17.3(10) | 2.4(8) | 8.9(8) | 3.5(8) |
| C52 | 18.1(10) | 17.3(10) | 18.6(10) | 1.6(8) | 10.6(8) | 3.7(8) |
| C53 | 28.8(12) | 17.6(10) | 25.1(11) | 0.1(9) | 15.6(10) | -3.3(9) |
| C54 | 42.4(14) | 22.9(12) | 20.0(11) | 4.7(9) | 17.4(10) | 0.0(10) |
| C55 | 34.9(13) | 24.6(11) | 14.5(10) | -1.9(9) | 10.2(9) | -1.5(10) |
| C56 | 19.6(10) | 18.0(10) | 17.2(10) | -0.2(8) | 9.4(8) | 4.1(8) |
| C57 | 16.9(10) | 21.4(10) | 18.0(10) | 4.4(8) | 8.3(8) | -4.3(8) |
| C58 | 19.7(11) | 30.8(12) | 29.4(12) | 11.7(10) | 11.4(10) | -2.0(9) |
| C59 | 16.1(11) | 48.7(16) | 35.9(14) | 20.4(12) | 4.4(10) | -6.4(10) |
| C60 | 30.9(14) | 50.3(16) | 21.1(12) | 6.9(11) | 1.8(10) | -22.0(12) |
| C61 | 37.3(14) | 35.3(13) | 20.8(11) | -3.3(10) | 12.9(10) | -17.5(11) |
| C62 | 24.4(11) | 22.5(11) | 18.6(10) | 0.7(8) | 10.3(9) | -8.2(9) |
| C63 | 24.3(12) | 41.9(15) | 49.9(16) | 11.2(12) | 20.8(12) | 8.9(11) |
| C64 | 47.4(18) | 85(2) | 26.4(14) | 5.6(15) | -4.6(13) | -29.2(17) |
| C65 | 32.9(13) | 21.1(11) | 25.3(11) | -5.8(9) | 14.1(10) | -2.5(9) |
| C66 | 24.9(11) | 19.9(10) | 11.4(9) | -1.6(8) | 9.4(8) | -2.9(9) |
| C67 | 27.1(12) | 27.5(11) | 15.7(10) | -4.4(9) | 10.1(9) | -1.9(9) |
| C68 | 28.6(13) | 41.5(14) | 20.4(11) | -5.6(10) | 11.0(10) | -11.7(11) |
| C69 | 43.6(15) | 30.5(13) | 18.4(11) | -4.0(9) | 15.0(10) | -15.4(11) |
| C70 | 46.2(15) | 19.5(11) | 17.8(11) | 1.0(8) | 14.7(10) | -0.9(10) |
| C71 | 29.9(12) | 21.6(11) | 13.7(10) | 0.5(8) | 10.4(9) | 2.4(9) |
| C72 | 26.3(13) | 38.8(14) | 39.2(14) | -6.6(11) | 9.2(11) | 5.8(11) |
| C73 | 69(2) | 37.2(15) | 40.1(15) | -7.8(12) | 20.6(14) | -27.6(15) |
| C74 | 32.2(13) | 26.6(12) | 34.1(13) | -0.1(10) | 14.6(11) | 8.0(10) |
| C75 | 29.7(12) | 23.3(11) | 24.0(11) | 5.4(9) | 13.7(10) | 3.1(9) |
| C76 | 28.2(13) | 51.5(16) | 39.9(14) | 22.0(12) | 17.7(11) | 12.0(12) |

Table 3: Bond Lengths in Å for MC20037.

| Atom | Atom | Length/Å |
| --- | --- | --- |
| Al1 | Al11 | 2.6341(12) |
| Al1 | C1 | 1.971(2) |
| Al1 | C25 | 1.947(2) |
| C1 | C2 | 1.405(3) |
| C1 | C6 | 1.411(3) |
| C2 | C3 | 1.391(3) |
| C2 | C7 | 1.504(3) |
| C3 | C4 | 1.387(3) |
| C4 | C5 | 1.385(3) |
| C5 | C6 | 1.394(3) |
| C6 | C16 | 1.503(3) |
| C7 | C8 | 1.400(3) |
| C7 | C12 | 1.404(3) |
| C8 | C9 | 1.392(3) |
| C8 | C13 | 1.509(3) |
| C9 | C10 | 1.382(3) |
| C10 | C11 | 1.388(3) |
| C10 | C14 | 1.508(3) |
| C11 | C12 | 1.391(3) |
| C12 | C15 | 1.507(3) |
| C16 | C17 | 1.400(3) |
| C16 | C21 | 1.410(3) |
| C17 | C18 | 1.389(3) |
| C17 | C22 | 1.502(3) |
| C18 | C19 | 1.393(4) |
| C19 | C20 | 1.381(3) |
| C19 | C23 | 1.509(3) |
| C20 | C21 | 1.388(3) |
| C21 | C24 | 1.508(3) |
| C25 | C26 | 1.524(3) |
| Al51 | Al512 | 2.6203(12) |
| Al51 | C51 | 1.971(2) |
| Al51 | C75 | 1.952(2) |
| C51 | C52 | 1.408(3) |
| C51 | C56 | 1.407(3) |
| C52 | C53 | 1.397(3) |
| C52 | C57 | 1.494(3) |
| C53 | C54 | 1.385(3) |
| C54 | C55 | 1.383(3) |
| C55 | C56 | 1.394(3) |
| C56 | C66 | 1.498(3) |
| C57 | C58 | 1.409(3) |
| C57 | C62 | 1.403(3) |
| C58 | C59 | 1.390(3) |
| C58 | C63 | 1.505(3) |
| C59 | C60 | 1.387(4) |
| C60 | C61 | 1.379(4) |
| C60 | C64 | 1.512(3) |
| C61 | C62 | 1.392(3) |
| C62 | C65 | 1.497(3) |
| C66 | C67 | 1.404(3) |
| C66 | C71 | 1.406(3) |
| C67 | C68 | 1.391(3) |
| C67 | C72 | 1.502(3) |
| C68 | C69 | 1.388(3) |
| C69 | C70 | 1.385(3) |
| C69 | C73 | 1.510(3) |
| C70 | C71 | 1.388(3) |
| C71 | C74 | 1.514(3) |
| C75 | C76 | 1.534(3) |

––––

1-x,-y,1-z; 21-x,1-y,1-z

Table 4: Bond Angles in ° for MC20037.

| Atom | Atom | Atom | Angle/° |
| --- | --- | --- | --- |
| C1 | Al1 | Al11 | 115.04(7) |
| C25 | Al1 | Al11 | 114.14(8) |
| C25 | Al1 | C1 | 130.77(9) |
| C2 | C1 | Al1 | 121.06(15) |
| C2 | C1 | C6 | 117.78(18) |
| C6 | C1 | Al1 | 121.00(15) |
| C1 | C2 | C7 | 120.30(18) |
| C3 | C2 | C1 | 120.9(2) |
| C3 | C2 | C7 | 118.63(19) |
| C4 | C3 | C2 | 120.3(2) |
| C5 | C4 | C3 | 119.8(2) |
| C4 | C5 | C6 | 120.3(2) |
| C1 | C6 | C16 | 119.57(18) |
| C5 | C6 | C1 | 120.7(2) |
| C5 | C6 | C16 | 119.57(19) |
| C8 | C7 | C2 | 118.90(19) |
| C8 | C7 | C12 | 119.5(2) |
| C12 | C7 | C2 | 121.49(19) |
| C7 | C8 | C13 | 121.7(2) |
| C9 | C8 | C7 | 119.1(2) |
| C9 | C8 | C13 | 119.2(2) |
| C10 | C9 | C8 | 122.3(2) |
| C9 | C10 | C11 | 117.8(2) |
| C9 | C10 | C14 | 120.9(2) |
| C11 | C10 | C14 | 121.2(2) |
| C10 | C11 | C12 | 121.9(2) |
| C7 | C12 | C15 | 121.5(2) |
| C11 | C12 | C7 | 119.3(2) |
| C11 | C12 | C15 | 119.2(2) |
| C17 | C16 | C6 | 121.51(19) |
| C17 | C16 | C21 | 119.9(2) |
| C21 | C16 | C6 | 118.55(19) |
| C16 | C17 | C22 | 121.2(2) |
| C18 | C17 | C16 | 118.9(2) |
| C18 | C17 | C22 | 119.8(2) |
| C17 | C18 | C19 | 122.0(2) |
| C18 | C19 | C23 | 120.9(2) |
| C20 | C19 | C18 | 118.2(2) |
| C20 | C19 | C23 | 120.9(2) |
| C19 | C20 | C21 | 122.1(2) |
| C16 | C21 | C24 | 121.3(2) |
| C20 | C21 | C16 | 118.9(2) |
| C20 | C21 | C24 | 119.7(2) |
| C26 | C25 | Al1 | 118.39(17) |
| C51 | Al51 | Al512 | 114.62(6) |
| C75 | Al51 | Al512 | 114.17(7) |
| C75 | Al51 | C51 | 131.20(9) |
| C52 | C51 | Al51 | 120.40(14) |
| C56 | C51 | Al51 | 121.32(15) |
| C56 | C51 | C52 | 118.16(17) |
| C51 | C52 | C57 | 120.63(17) |
| C53 | C52 | C51 | 120.53(18) |
| C53 | C52 | C57 | 118.61(18) |
| C54 | C53 | C52 | 120.4(2) |
| C55 | C54 | C53 | 119.63(19) |
| C54 | C55 | C56 | 120.86(19) |
| C51 | C56 | C66 | 121.29(17) |
| C55 | C56 | C51 | 120.28(19) |
| C55 | C56 | C66 | 118.32(17) |
| C58 | C57 | C52 | 118.20(19) |
| C62 | C57 | C52 | 122.01(18) |
| C62 | C57 | C58 | 119.77(19) |
| C57 | C58 | C63 | 121.0(2) |
| C59 | C58 | C57 | 118.7(2) |
| C59 | C58 | C63 | 120.3(2) |
| C60 | C59 | C58 | 122.4(2) |
| C59 | C60 | C64 | 120.9(3) |
| C61 | C60 | C59 | 117.8(2) |
| C61 | C60 | C64 | 121.2(3) |
| C60 | C61 | C62 | 122.4(2) |
| C57 | C62 | C65 | 121.49(18) |
| C61 | C62 | C57 | 119.0(2) |
| C61 | C62 | C65 | 119.5(2) |
| C67 | C66 | C56 | 120.67(18) |
| C67 | C66 | C71 | 119.36(19) |
| C71 | C66 | C56 | 119.82(18) |
| C66 | C67 | C72 | 121.4(2) |
| C68 | C67 | C66 | 119.2(2) |
| C68 | C67 | C72 | 119.3(2) |
| C69 | C68 | C67 | 122.1(2) |
| C68 | C69 | C73 | 121.2(2) |
| C70 | C69 | C68 | 117.9(2) |
| C70 | C69 | C73 | 120.9(2) |
| C69 | C70 | C71 | 122.1(2) |
| C66 | C71 | C74 | 121.50(19) |
| C70 | C71 | C66 | 119.3(2) |
| C70 | C71 | C74 | 119.1(2) |
| C76 | C75 | Al51 | 117.01(16) |

––––

1-x,-y,1-z; 21-x,1-y,1-z

Table 5: Torsion Angles in ° for MC20037.

| Atom | Atom | Atom | Atom | Angle/° |
| --- | --- | --- | --- | --- |
| Al1 | C1 | C2 | C3 | 169.93(16) |
| Al1 | C1 | C2 | C7 | -15.5(3) |
| Al1 | C1 | C6 | C5 | -170.59(16) |
| Al1 | C1 | C6 | C16 | 14.5(3) |
| C1 | C2 | C3 | C4 | 1.9(3) |
| C1 | C2 | C7 | C8 | -75.9(2) |
| C1 | C2 | C7 | C12 | 107.5(2) |
| C1 | C6 | C16 | C17 | -95.3(2) |
| C1 | C6 | C16 | C21 | 85.5(2) |
| C2 | C1 | C6 | C5 | 4.8(3) |
| C2 | C1 | C6 | C16 | -170.10(18) |
| C2 | C3 | C4 | C5 | 2.5(3) |
| C2 | C7 | C8 | C9 | -176.97(19) |
| C2 | C7 | C8 | C13 | 1.4(3) |
| C2 | C7 | C12 | C11 | 176.10(18) |
| C2 | C7 | C12 | C15 | -4.4(3) |
| C3 | C2 | C7 | C8 | 98.9(2) |
| C3 | C2 | C7 | C12 | -77.8(3) |
| C3 | C4 | C5 | C6 | -3.1(3) |
| C4 | C5 | C6 | C1 | -0.6(3) |
| C4 | C5 | C6 | C16 | 174.3(2) |
| C5 | C6 | C16 | C17 | 89.7(3) |
| C5 | C6 | C16 | C21 | -89.5(2) |
| C6 | C1 | C2 | C3 | -5.5(3) |
| C6 | C1 | C2 | C7 | 169.13(18) |
| C6 | C16 | C17 | C18 | -179.49(19) |
| C6 | C16 | C17 | C22 | -1.2(3) |
| C6 | C16 | C21 | C20 | -179.82(19) |
| C6 | C16 | C21 | C24 | 2.1(3) |
| C7 | C2 | C3 | C4 | -172.8(2) |
| C7 | C8 | C9 | C10 | 0.7(3) |
| C8 | C7 | C12 | C11 | -0.5(3) |
| C8 | C7 | C12 | C15 | 179.0(2) |
| C8 | C9 | C10 | C11 | -0.3(3) |
| C8 | C9 | C10 | C14 | 178.4(2) |
| C9 | C10 | C11 | C12 | -0.5(3) |
| C10 | C11 | C12 | C7 | 1.0(3) |
| C10 | C11 | C12 | C15 | -178.6(2) |
| C12 | C7 | C8 | C9 | -0.2(3) |
| C12 | C7 | C8 | C13 | 178.15(19) |
| C13 | C8 | C9 | C10 | -177.8(2) |
| C14 | C10 | C11 | C12 | -179.2(2) |
| C16 | C17 | C18 | C19 | -0.1(3) |
| C17 | C16 | C21 | C20 | 1.0(3) |
| C17 | C16 | C21 | C24 | -177.11(19) |
| C17 | C18 | C19 | C20 | -0.1(3) |
| C17 | C18 | C19 | C23 | 178.3(2) |
| C18 | C19 | C20 | C21 | 0.8(3) |
| C19 | C20 | C21 | C16 | -1.3(3) |
| C19 | C20 | C21 | C24 | 176.9(2) |
| C21 | C16 | C17 | C18 | -0.3(3) |
| C21 | C16 | C17 | C22 | 178.03(19) |
| C22 | C17 | C18 | C19 | -178.5(2) |
| C23 | C19 | C20 | C21 | -177.6(2) |
| Al51 | C51 | C52 | C53 | 172.56(15) |
| Al51 | C51 | C52 | C57 | -12.9(3) |
| Al51 | C51 | C56 | C55 | -172.66(16) |
| Al51 | C51 | C56 | C66 | 11.2(3) |
| C51 | C52 | C53 | C54 | 0.8(3) |
| C51 | C52 | C57 | C58 | -87.7(2) |
| C51 | C52 | C57 | C62 | 94.2(2) |
| C51 | C56 | C66 | C67 | -110.8(2) |
| C51 | C56 | C66 | C71 | 73.6(3) |
| C52 | C51 | C56 | C55 | 3.4(3) |
| C52 | C51 | C56 | C66 | -172.73(18) |
| C52 | C53 | C54 | C55 | 2.1(3) |
| C52 | C57 | C58 | C59 | -179.64(19) |
| C52 | C57 | C58 | C63 | -1.4(3) |
| C52 | C57 | C62 | C61 | 178.18(19) |
| C52 | C57 | C62 | C65 | -0.3(3) |
| C53 | C52 | C57 | C58 | 86.9(2) |
| C53 | C52 | C57 | C62 | -91.2(2) |
| C53 | C54 | C55 | C56 | -2.3(3) |
| C54 | C55 | C56 | C51 | -0.5(3) |
| C54 | C55 | C56 | C66 | 175.7(2) |
| C55 | C56 | C66 | C67 | 73.1(3) |
| C55 | C56 | C66 | C71 | -102.6(2) |
| C56 | C51 | C52 | C53 | -3.5(3) |
| C56 | C51 | C52 | C57 | 171.00(18) |
| C56 | C66 | C67 | C68 | -175.69(18) |
| C56 | C66 | C67 | C72 | 2.6(3) |
| C56 | C66 | C71 | C70 | 176.05(18) |
| C56 | C66 | C71 | C74 | 0.4(3) |
| C57 | C52 | C53 | C54 | -173.8(2) |
| C57 | C58 | C59 | C60 | 2.2(3) |
| C58 | C57 | C62 | C61 | 0.1(3) |
| C58 | C57 | C62 | C65 | -178.40(19) |
| C58 | C59 | C60 | C61 | -1.4(3) |
| C58 | C59 | C60 | C64 | 178.2(2) |
| C59 | C60 | C61 | C62 | 0.0(3) |
| C60 | C61 | C62 | C57 | 0.7(3) |
| C60 | C61 | C62 | C65 | 179.2(2) |
| C62 | C57 | C58 | C59 | -1.5(3) |
| C62 | C57 | C58 | C63 | 176.7(2) |
| C63 | C58 | C59 | C60 | -176.0(2) |
| C64 | C60 | C61 | C62 | -179.7(2) |
| C66 | C67 | C68 | C69 | 0.3(3) |
| C67 | C66 | C71 | C70 | 0.4(3) |
| C67 | C66 | C71 | C74 | -175.25(19) |
| C67 | C68 | C69 | C70 | -0.8(3) |
| C67 | C68 | C69 | C73 | 176.7(2) |
| C68 | C69 | C70 | C71 | 1.1(3) |
| C69 | C70 | C71 | C66 | -0.9(3) |
| C69 | C70 | C71 | C74 | 174.8(2) |
| C71 | C66 | C67 | C68 | 0.0(3) |
| C71 | C66 | C67 | C72 | 178.21(19) |
| C72 | C67 | C68 | C69 | -178.0(2) |
| C73 | C69 | C70 | C71 | -176.3(2) |

Table 6: Hydrogen Fractional Atomic Coordinates (×104) and Equivalent Isotropic Displacement Parameters (Å2×103) for MC20037. Ueq is defined as 1/3 of the trace of the orthogonalised Uij.

| Atom | x | y | z | Ueq |
| --- | --- | --- | --- | --- |
| H3 | 1960.25 | -217.84 | 7441.1 | 32 |
| H4 | 2486.39 | -2303.08 | 7331.4 | 35 |
| H5 | 2337.31 | -3029.55 | 6334.09 | 32 |
| H9 | 1391.2 | 5129.69 | 6580.76 | 33 |
| H11 | 116.46 | 3021.61 | 7025.07 | 32 |
| H13A | 2318.64 | 2215.01 | 6589.79 | 50 |
| H13B | 2197.09 | 3915.96 | 6429.04 | 50 |
| H13C | 1825.97 | 2727.38 | 5894.24 | 50 |
| H14A | 556.31 | 5770.6 | 7392.14 | 65 |
| H14B | 21.38 | 5872.73 | 6673.06 | 65 |
| H14C | 733.12 | 6542.7 | 6883.85 | 65 |
| H15A | 348.01 | -451.17 | 6555.11 | 53 |
| H15B | -106.35 | 494.14 | 6767.67 | 53 |
| H15C | 585.31 | -83.7 | 7283.09 | 53 |
| H18 | 848.56 | -4049.65 | 4008.82 | 37 |
| H20 | 2221.19 | -1048.93 | 4251 | 37 |
| H22A | 989.78 | -4632.09 | 5320.31 | 47 |
| H22B | 353.19 | -4134.05 | 4707.56 | 47 |
| H22C | 627.15 | -3146.32 | 5327.98 | 47 |
| H23A | 1792.39 | -3872.89 | 3465.32 | 70 |
| H23B | 1656.11 | -2208.51 | 3241.57 | 70 |
| H23C | 1059.46 | -3283.27 | 3112 | 70 |
| H24A | 2279.4 | 730.04 | 5493.77 | 48 |
| H24B | 2722.59 | 339.19 | 5151.28 | 48 |
| H24C | 2820.82 | -520.64 | 5773.57 | 48 |
| H25A | 125.32 | 2232.85 | 4256.32 | 35 |
| H25B | 651.22 | 3079.66 | 4852.09 | 35 |
| H26A | 961.24 | 2934.4 | 4028.9 | 75 |
| H26B | 996.41 | 1195.91 | 4095.11 | 75 |
| H26C | 1495.23 | 2191 | 4657.39 | 75 |
| H53 | 3777.38 | 1920.87 | 6209.57 | 27 |
| H54 | 4461.63 | 2719.75 | 7226.26 | 33 |
| H55 | 5091.01 | 4809.72 | 7371.22 | 30 |
| H59 | 2065.11 | 3673.91 | 4074.09 | 43 |
| H61 | 3315.45 | 780.78 | 3949.03 | 37 |
| H63A | 2756.73 | 4267.43 | 5586.82 | 56 |
| H63B | 2325.4 | 5139.32 | 4951.86 | 56 |
| H63C | 3079.59 | 5535 | 5356.21 | 56 |
| H64A | 2261.93 | 874.28 | 3114.86 | 91 |
| H64B | 1979.42 | 2500.82 | 2981.43 | 91 |
| H64C | 1704.54 | 1347.11 | 3309.23 | 91 |
| H65A | 4336.45 | 291.82 | 5248.47 | 39 |
| H65B | 4685.91 | 1839.67 | 5322.85 | 39 |
| H65C | 4459.58 | 932.69 | 4684.09 | 39 |
| H68 | 6708.7 | 7817.57 | 7170.5 | 36 |
| H70 | 5038.66 | 10109.49 | 6491.69 | 33 |
| H72A | 6290.81 | 4743.71 | 7397.82 | 55 |
| H72B | 6713.95 | 5285.52 | 7054.28 | 55 |
| H72C | 6047.97 | 4415.68 | 6665.78 | 55 |
| H73A | 6267.38 | 11033.47 | 7405.66 | 75 |
| H73B | 6155.39 | 11267.75 | 6697.01 | 75 |
| H73C | 6779.93 | 10387.66 | 7184.04 | 75 |
| H74A | 3952.76 | 7666.09 | 5749.16 | 47 |
| H74B | 4037.01 | 9038.35 | 6195.23 | 47 |
| H74C | 4023.16 | 7422.65 | 6443.68 | 47 |
| H75A | 4090.74 | 7980.08 | 4752.11 | 30 |
| H75B | 4198.29 | 7193.07 | 4207.3 | 30 |
| H76A | 3090.01 | 7591.41 | 3835.55 | 58 |
| H76B | 3086.1 | 6813.33 | 4436.78 | 58 |
| H76C | 3201.13 | 5867.94 | 3928.92 | 58 |
| H | 4670(10) | 4200(20) | 4686(9) | 19(5) |
| HA | -86(10) | 760(20) | 5307(9) | 19(5) |

Citations

CrysAlisPro (ROD), Rigaku Oxford Diffraction, Poland (?).

CrysAlisPro Software System, Rigaku Oxford Diffraction, (2020).

O.V. Dolomanov and L.J. Bourhis and R.J. Gildea and J.A.K. Howard and H. Puschmann, Olex2: A complete structure solution, refinement and analysis program, J. Appl. Cryst., (2009), 42, 339-341.

Sheldrick, G.M., Crystal structure refinement with ShelXL, Acta Cryst., (2015), C71, 3-8.

Sheldrick, G.M., ShelXT-Integrated space-group and crystal-structure determination, Acta Cryst., (2015), A71, 3-8.

#===============================================================================

# PLATON/CHECK-(260620) versus check.def version 200617, Entry: mc20037

# Data: MC20037.cif - Type: CIF                  Bond Precision   C-C = 0.0033 A

# Refl: MC20037.fcf - Type: LIST4                                   Temp = 120 K

# Audit:OLEX2 1.3-BETA (COMPILED 2020.07.31 SVN.RC2A77460 FOR OLEXSYS, GUI SVN.R

# Refin:SHELXL 2018/3 (SHELDRICK, 2015)

# X-ray MoKa              R(int) = 0.063,  wR2/R(int) =  2.1,  Nref/Npar =  17.3

# Cell  22.9256(8)   9.1694(2)  23.7595(8)           90   116.513(4)          90

# Wavelength 0.71073  Volume Reported       4469.3(3) Calculated       4469.3(3)

# SpaceGroup from Symmetry P 21/c       Hall: -P 2ybc                 monoclinic

#                 Reported P 1 21/c 1         -P 2ybc                 monoclinic

# MoietyFormula C52 H62 Al2

#      Reported 2(C26 H31 Al)

#    SumFormula C52 H62 Al2

#      Reported C52 H62 Al2

# Mr        =    740.98[Calc],    740.97[Rep]           Volume/NonHatoms =  20.7

# Dx,gcm-3  =     1.101[Calc],     1.101[Rep]

# Z         =         4[Calc],         4[Rep]

# Mu (mm-1) =     0.098[Calc],     0.098[Rep]  Xtal Size =  0.117x0.134x0.481 mm

# F000      =    1600.0[Calc],    1600.0[Rep]  or F000' =   1600.97[Calc]

# Reported   T Limits: Tmin=0.967              Tmax=1.000  AbsCorr = MULTI-SCAN

# Calculated T Limits: Tmin=0.984 Tmin'=0.954  Tmax=0.989

# Measured   HKL: Reported  86296, Embedded  89084, <Mult>  9.8

# Reported   Hmax= 28, Kmax= 11, Lmax= 29, Nref=   8800        , Th(max)= 26.022

# Obs in FCF Hmax= 28, Kmax= 11, Lmax= 29, Nref=   8800[  8800], Th(max)= 26.022

# Calculated Hmax= 28, Kmax= 11, Lmax= 29, Nref=   8815        , Ratio  =  0.998

# Reported   Rho(min) = -0.25, Rho(max) =  0.35 e/Ang**3 (From CIF)

# Calculated Rho(min) = -0.26, Rho(max) =  0.34 e/Ang**3 (From CIF+FCF data)

# w=1/[sigma**2(Fo**2)+(0.0461P)**2+  3.5134P], P=(Fo**2+2*Fc**2)/3

# R= 0.0573(  7069), wR2= 0.1299(  8800), S = 1.086      (From CIF+FCF data)

# R= 0.0573(  7069), wR2= 0.1299(  8800), S = 1.086      (From FCF data only)

# R= 0.0573(  7069), wR2= 0.1299(  8800), S = 1.086, Npar=  509

#===============================================================================

# For Documentation:http://www.platonsoft.nl/CIF-VALIDATION.pdf

#===============================================================================

*

#===============================================================================

#>>> The Following Improvement and Query ALERTS were generated - (Acta-Mode) <<<

#===============================================================================

Format: alert-number_ALERT_alert-type_alert-level text

910_ALERT_3_B Missing # of FCF Reflection(s) Below Theta(Min).         17 Note

#===============================================================================

220_ALERT_2_C NonSolvent   Resd 2  C   Ueq(max)/Ueq(min) Range        4.0 Ratio

222_ALERT_3_C NonSolvent Resd 2  H   Uiso(max)/Uiso(min) Range        4.8 Ratio

906_ALERT_3_C Large K Value in the Analysis of Variance ......     11.593 Check

906_ALERT_3_C Large K Value in the Analysis of Variance ......      2.378 Check

#===============================================================================

042_ALERT_1_G Calc. and Reported MoietyFormula Strings  Differ     Please Check

069_ALERT_1_G Atom Label Without Numerical Part ..............          H Do !

303_ALERT_2_G Full Occupancy Atom Ha        with # Connections       2.00 Check

303_ALERT_2_G Full Occupancy Atom H         with # Connections       2.00 Check

720_ALERT_4_G Number of Unusual/Non-Standard Labels ..........          1 Note

978_ALERT_2_G Number C-C Bonds with Positive Residual Density.         11 Info

#===============================================================================

ALERT_Level and ALERT_Type Summary

==================================

1 ALERT_Level_B = A Potentially Serious Problem - Consider Carefully

4 ALERT_Level_C = Check. Ensure it is Not caused by an Omission or Oversight

6 ALERT_Level_G = General Info/Check that it is not Something Unexpected

2 ALERT_Type_1 CIF Construction/Syntax Error, Inconsistent or Missing Data.

4 ALERT_Type_2 Indicator that the Structure Model may be Wrong or Deficient.

4 ALERT_Type_3 Indicator that the Structure Quality may be Low.

1 ALERT_Type_4 Improvement, Methodology, Query or Suggestion.

#===============================================================================

0 Missing  Experimental  Info Issue(s) (Out of  63 Tests) -  100 % Satisfied

0 Experimental  Data  Related Issue(s) (Out of  35 Tests) -  100 % Satisfied

7 Structural  Model   Related Issue(s) (Out of 134 Tests) -   95 % Satisfied

4 Unresolved or to be Checked Issue(s) (Out of 269 Tests) -   99 % Satisfied

*