MC21033

Submitted by: 	Alex Beaton Garcia

Solved by: 	Gary S Nichol

Submitted by: 	None

Compound ABG-0438 was provided as colourless crystals suitable for single crystal X-ray diffraction, yielding structure MC21033.

R1=4.24%

Crystal Data and Experimental

Experimental. Single colourless block crystals of MC21033 recrystallised from d2-chloroform by slow evaporation. A suitable crystal with dimensions 0.32 × 0.30 × 0.16 mm3 was selected and mounted on a MITIGEN holder in Paratone oil on a Bruker D8 VENTURE diffractometer. The crystal was kept at a steady T = 100.0 K during data collection. The structure was solved with the ShelXT 2018/2 (Sheldrick, 2018) solution program using dual methods and by using Olex2 (Dolomanov et al., 2009) as the graphical interface. The model was refined with ShelXL 2018/3 (Sheldrick, 2015) using full matrix least squares minimisation on F2.

Crystal Data.  C76H106Al2Cl4D4, Mr = 1223.42, monoclinic, P21/c (No. 14), a = 13.2338(13) Å, b = 16.0297(14) Å, c = 17.3617(19) Å,  = 105.344(4)°,  =  = 90°, V = 3551.7(6) Å3, T = 100.0 K, Z = 2, Z' = 0.5, (MoK) = 0.232, 99101 reflections measured, 8798 unique (Rint = 0.0477) which were used in all calculations. The final wR2 was 0.1174 (all data) and R1 was 0.0424 (I≥2 (I)).

| Compound | MC21033 |
| --- | --- |
| Formula | C76H106Al2Cl4D4 |
| Dcalc./ g cm-3 | 1.144 |
| /mm-1 | 0.232 |
| Formula Weight | 1223.42 |
| Colour | colourless |
| Shape | block |
| Size/mm3 | 0.32×0.30×0.16 |
| T/K | 100.0 |
| Crystal System | monoclinic |
| Space Group | P21/c |
| a/Å | 13.2338(13) |
| b/Å | 16.0297(14) |
| c/Å | 17.3617(19) |
| /° | 90 |
| /° | 105.344(4) |
| /° | 90 |
| V/Å3 | 3551.7(6) |
| Z | 2 |
| Z' | 0.5 |
| Wavelength/Å | 0.71073 |
| Radiation type | MoK |
| min/° | 2.148 |
| max/° | 28.287 |
| Measured Refl's. | 99101 |
| Indep't Refl's | 8798 |
| Refl's I≥2 (I) | 7626 |
| Rint | 0.0477 |
| Parameters | 520 |
| Restraints | 310 |
| Largest Peak | 0.588 |
| Deepest Hole | -0.578 |
| GooF | 1.048 |
| wR2 (all data) | 0.1174 |
| wR2 | 0.1111 |
| R1 (all data) | 0.0506 |
| R1 | 0.0424 |

Structure Quality Indicators

| Reflections: |  |
| --- | --- |
| Refinement: |  |

A colourless block-shaped crystal with dimensions 0.32 × 0.30 × 0.16 mm3 was mounted on a MITIGEN holder in Paratone oil. Data were collected using a Bruker D8 VENTURE diffractometer equipped with an Oxford Cryosystems Cryostream 800 low-temperature device operating at T = 100.0 K.

Data were measured using  and  scans using MoK radiation. . The maximum resolution that was achieved was  = 28.287° (0.75 Å).

. The unit cell was refined using SAINT (Bruker, V8.40A, after 2013) on 9720 reflections, 10% of the observed reflections.

Data reduction, scaling and absorption corrections were performed using SAINT (Bruker, V8.40A, after 2013). The final completeness is 99.90 % out to 28.287° in . A multi-scan absorption correction was performed using SADABS-2016/2 (Bruker, 2016/2) was used for absorption correction. wR2(int) was 0.0965 before and 0.0570 after correction. The Ratio of minimum to maximum transmission is 0.9544. The /2 correction factor is Not present. .  The absorption coefficient  of this material is 0.232 mm-1 at this wavelength ( = 0.71073Å) and the minimum and maximum transmissions are 0.712 and 0.746.

The structure was solved and the space group P21/c (# 14) determined by the ShelXT 2018/2 (Sheldrick, 2018) structure solution program using using dual methods and refined by full matrix least squares minimisation on F2 using version 2018/3 of ShelXL 2018/3 (Sheldrick, 2015). All non-hydrogen atoms were refined anisotropically. Hydrogen atom positions were calculated geometrically and refined using the riding model. Most hydrogen atom positions were calculated geometrically and refined using the riding model, but some hydrogen atoms were refined freely.

_refine_special_details: Half of the molecule was modelled using a whole molecule disorder model and refined with geometric and displacement similarity restraints. Some ellipsoids were constrained using EADP. This disorder was modelled based on residual peaks consistent with the second orientation of the C31/C32/C33 iPr group. The d2-dichloromethane molecule was also modelled as disordered over two positions. C-bound H atoms were added geometrically, the Al-bound H atom was idenfied from a difference map and refined using a riding model.

The value of Z' is 0.5. This means that only half of the formula unit is present in the asymmetric unit, with the other half consisting of symmetry equivalent atoms.

Figure 1: The asymmetric unit of MC21033 (disorder and H atoms are not shown) with displacement ellipsoids at the 50% probability level.

Data Plots: Diffraction Data

Data Plots: Refinement and Data

Reflection Statistics

| Total reflections (after filtering) | 101199 | Unique reflections | 8798 |
| --- | --- | --- | --- |
| Completeness | 0.998 | Mean I/ | 28.4 |
| hklmax collected | (17, 21, 23) | hklmin collected | (-17, -21, -23) |
| hklmax used | (17, 21, 23) | hklmin used | (-17, 0, 0) |
| Lim dmax collected | 100.0 | Lim dmin collected | 0.36 |
| dmax used | 9.48 | dmin used | 0.75 |
| Friedel pairs | 15523 | Friedel pairs merged | 1 |
| Inconsistent equivalents | 0 | Rint | 0.0477 |
| Rsigma | 0.0223 | Intensity transformed | 0 |
| Omitted reflections | 0 | Omitted by user (OMIT hkl) | 11 |
| Multiplicity | (4826, 6266, 10226, 6736, 3963, 1032, 28, 2) | Maximum multiplicity | 18 |
| Removed systematic absences | 2087 | Filtered off (Shel/OMIT) | 0 |

Table 1: Fractional Atomic Coordinates (×104) and Equivalent Isotropic Displacement Parameters (Å2×103) for MC21033. Ueq is defined as 1/3 of the trace of the orthogonalised Uij.

| Atom | x | y | z | Ueq |
| --- | --- | --- | --- | --- |
| Cl1 | 9409.9(5) | 912.6(4) | 4767.0(4) | 55.7(2) |
| Cl2 | 10034.1(5) | 2283.4(6) | 3892.7(4) | 60.9(2) |
| C38 | 8979.9(19) | 1742.0(15) | 4111.7(15) | 35.7(5) |
| D38A | 8571.43 | 2133.89 | 4351.9 | 43 |
| D38B | 8510.23 | 1526.34 | 3609.1 | 43 |
| Cl1A | 10568(6) | 893(5) | 4592(5) | 119(3) |
| Cl2A | 9071(6) | 2169(5) | 3966(4) | 97(2) |
| C38A | 10247(11) | 1732(9) | 3935(10) | 76(6) |
| D38C | 10805.65 | 2159.13 | 4078.71 | 92 |
| D38D | 10201.25 | 1539.38 | 3385.23 | 92 |
| Al1 | 5905.1(3) | 4792.9(2) | 5507.6(2) | 17.42(9) |
| C1 | 7169.7(9) | 5006.2(7) | 5143.3(7) | 15.4(2) |
| C2 | 7694.1(9) | 5782.9(7) | 5247.6(7) | 15.5(2) |
| C2A | 7694.1(9) | 5782.9(7) | 5247.6(7) | 15.5(2) |
| C3 | 8501.9(10) | 5935.6(8) | 4885.8(7) | 17.9(2) |
| C4 | 8828.1(10) | 5323.8(8) | 4440.5(8) | 18.9(2) |
| C5 | 8373.2(10) | 4537.3(8) | 4376.7(7) | 17.7(2) |
| C6 | 7559.3(9) | 4375.2(7) | 4726.0(7) | 15.4(2) |
| C7 | 7160.0(9) | 3494.7(7) | 4699.0(7) | 15.8(2) |
| C8 | 6399.0(9) | 3194.3(7) | 4024.1(7) | 16.5(2) |
| C9 | 6088.9(10) | 2363.2(8) | 4011.0(8) | 18.8(2) |
| C10 | 6503.3(10) | 1815.7(8) | 4640.3(8) | 18.7(2) |
| C11 | 7247.4(10) | 2121.5(8) | 5298.0(8) | 20.0(2) |
| C12 | 7590.4(10) | 2951.7(8) | 5341.3(7) | 18.1(2) |
| C13 | 5950.7(10) | 3751.1(8) | 3307.5(8) | 20.6(2) |
| C14 | 6545.4(12) | 3621.4(10) | 2669.6(9) | 30.5(3) |
| C15 | 4778.1(11) | 3614.0(9) | 2939.2(8) | 25.9(3) |
| C16 | 6109.0(11) | 919.1(8) | 4572.5(8) | 23.0(3) |
| C17 | 6415.3(15) | 456.5(9) | 3898.4(10) | 35.1(4) |
| C18 | 6453.2(13) | 422.8(9) | 5343.6(9) | 30.2(3) |
| C19 | 8473.6(11) | 3231.9(8) | 6053.2(8) | 23.9(3) |
| C20 | 9521.1(12) | 2894.0(11) | 5984.7(10) | 35.4(3) |
| C21 | 8303.0(14) | 2982.6(13) | 6854.6(9) | 41.2(4) |
| C22 | 7497(4) | 6446.5(18) | 5806.2(15) | 14.5(5) |
| C22A | 7410(30) | 6527(13) | 5703(9) | 15(3) |
| C23 | 7921(2) | 6354.4(12) | 6638.0(12) | 16.9(4) |
| C23A | 7873(17) | 6521(10) | 6540(9) | 16.9(4) |
| C24 | 7874.0(14) | 7025.4(12) | 7138.3(11) | 17.2(3) |
| C24A | 7712(11) | 7247(9) | 6976(8) | 17.2(3) |
| C25 | 7413.2(17) | 7781.0(12) | 6851.3(14) | 16.9(4) |
| C25A | 7181(11) | 7916(8) | 6579(9) | 16(2) |
| C26 | 6969(2) | 7852.4(14) | 6033.4(15) | 18.5(5) |
| C26A | 6764(16) | 7886(11) | 5786(9) | 19(3) |
| C27 | 7005.6(17) | 7202.2(12) | 5504.1(11) | 15.6(4) |
| C27A | 6877(15) | 7220(10) | 5296(8) | 15.6(4) |
| C28 | 8511.4(17) | 5572.3(13) | 6999.0(12) | 25.3(4) |
| C28A | 8502(14) | 5815(10) | 6959(10) | 25.3(4) |
| C29 | 9657(2) | 5653(2) | 7016(2) | 54.5(8) |
| C29A | 9705(14) | 5976(16) | 7132(16) | 54.5(8) |
| C30 | 8401(4) | 5366(2) | 7832(2) | 35.3(7) |
| C30A | 8310(30) | 5580(20) | 7768(16) | 47(8) |
| C31 | 7461.8(14) | 8513.7(10) | 7416.0(11) | 20.2(4) |
| C31A | 7070(12) | 8729(7) | 7051(9) | 31(3) |
| C32 | 6386.1(15) | 8848.2(13) | 7423.7(15) | 30.5(5) |
| C32A | 6781(16) | 8603(10) | 7813(10) | 43(4) |
| C33 | 8141.1(19) | 9204(2) | 7228(2) | 27.0(6) |
| C33A | 7994(18) | 9300(19) | 7117(18) | 27.0(6) |
| C34 | 6565(3) | 7345(2) | 4612.0(15) | 19.9(5) |
| C34A | 6445(17) | 7258(15) | 4417(9) | 22(3) |
| C35 | 5437(3) | 7674(3) | 4408(2) | 26.3(7) |
| C35A | 5304(17) | 7570(20) | 4188(13) | 26(4) |
| C36 | 7260(4) | 7949(3) | 4294.0(19) | 27.9(7) |
| C36A | 7110(20) | 7879(19) | 4071(12) | 22(4) |
| C37 | 5794.5(13) | 4299.7(10) | 6503.4(9) | 32.6(3) |

Table 2: Anisotropic Displacement Parameters (×104) for MC21033. The anisotropic displacement factor exponent takes the form: -22[h2a*2 × U11+ ... +2hka* × b* × U12]

| Atom | U11 | U22 | U33 | U23 | U13 | U12 |
| --- | --- | --- | --- | --- | --- | --- |
| Cl1 | 67.4(4) | 40.0(3) | 52.3(3) | -7.2(2) | 2.8(3) | 13.2(3) |
| Cl2 | 49.1(3) | 96.7(6) | 42.7(3) | -31.8(3) | 22.3(3) | -42.5(4) |
| C38 | 34.8(10) | 39.4(12) | 34.0(11) | -8.2(9) | 11.0(8) | -8.4(9) |
| Cl1A | 118(5) | 105(5) | 121(6) | 17(4) | 11(4) | -22(4) |
| Cl2A | 94(4) | 123(6) | 87(4) | -5(4) | 46(3) | 21(4) |
| C38A | 82(13) | 66(11) | 79(13) | -54(10) | 17(9) | -39(9) |
| Al1 | 16.90(18) | 17.69(18) | 19.15(19) | -0.37(14) | 7.38(14) | -1.53(13) |
| C1 | 16.0(5) | 15.4(5) | 14.9(5) | 0.4(4) | 4.3(4) | 0.1(4) |
| C2 | 16.6(5) | 14.3(5) | 15.4(5) | 0.8(4) | 3.5(4) | 1.5(4) |
| C2A | 16.6(5) | 14.3(5) | 15.4(5) | 0.8(4) | 3.5(4) | 1.5(4) |
| C3 | 18.0(5) | 15.3(5) | 20.5(6) | 1.0(4) | 5.4(5) | -1.2(4) |
| C4 | 18.0(6) | 20.1(6) | 20.3(6) | 1.2(5) | 8.1(5) | -0.3(4) |
| C5 | 18.7(6) | 17.6(5) | 18.1(6) | -1.5(4) | 6.9(4) | 1.4(4) |
| C6 | 15.7(5) | 14.4(5) | 15.1(5) | -0.2(4) | 2.6(4) | 0.3(4) |
| C7 | 16.2(5) | 14.3(5) | 18.2(6) | -1.3(4) | 6.8(4) | 0.6(4) |
| C8 | 17.3(5) | 16.4(5) | 16.8(6) | 0.1(4) | 6.0(4) | 0.3(4) |
| C9 | 18.8(6) | 17.9(6) | 19.2(6) | -1.6(4) | 3.8(5) | -2.4(4) |
| C10 | 22.2(6) | 14.6(5) | 21.2(6) | -0.2(4) | 8.9(5) | -0.9(4) |
| C11 | 23.8(6) | 16.1(5) | 19.9(6) | 2.2(4) | 5.4(5) | 1.7(5) |
| C12 | 19.2(6) | 16.9(5) | 17.9(6) | -1.0(4) | 4.1(4) | 1.6(4) |
| C13 | 23.1(6) | 18.4(6) | 18.3(6) | 1.4(5) | 1.5(5) | -2.9(5) |
| C14 | 33.5(8) | 38.7(8) | 19.7(6) | 2.4(6) | 8.0(6) | -6.6(6) |
| C15 | 25.5(7) | 25.0(7) | 22.7(6) | 1.8(5) | -1.8(5) | -0.4(5) |
| C16 | 27.7(7) | 15.6(6) | 25.8(7) | 0.1(5) | 7.0(5) | -2.9(5) |
| C17 | 56.7(10) | 19.8(6) | 31.2(8) | -5.0(6) | 15.8(7) | -2.4(6) |
| C18 | 41.7(8) | 17.9(6) | 30.5(7) | 4.7(5) | 8.9(6) | -4.2(6) |
| C19 | 28.6(7) | 18.2(6) | 19.9(6) | 0.4(5) | -2.5(5) | 0.2(5) |
| C20 | 22.9(7) | 43.5(9) | 36.0(8) | -6.4(7) | 1.4(6) | -6.4(6) |
| C21 | 37.0(8) | 63.4(11) | 20.3(7) | -4.2(7) | 2.1(6) | 0.4(8) |
| C22 | 14.1(12) | 11.5(8) | 18.3(10) | 0.0(7) | 5.0(10) | -0.9(7) |
| C22A | 13(7) | 28(6) | 4(3) | -1(3) | 1(4) | -6(5) |
| C23 | 18.0(6) | 15.4(9) | 17.8(8) | 1.7(6) | 5.8(6) | -0.1(7) |
| C23A | 18.0(6) | 15.4(9) | 17.8(8) | 1.7(6) | 5.8(6) | -0.1(7) |
| C24 | 17.9(7) | 17.7(9) | 15.8(8) | -0.1(6) | 4.1(6) | 0.3(6) |
| C24A | 17.9(7) | 17.7(9) | 15.8(8) | -0.1(6) | 4.1(6) | 0.3(6) |
| C25 | 17.4(9) | 17.1(8) | 15.7(10) | -2.0(7) | 3.6(8) | -0.8(6) |
| C25A | 15(6) | 14(4) | 15(5) | -1(4) | -2(5) | -1(3) |
| C26 | 21.7(14) | 14.8(7) | 17.5(11) | -0.5(8) | 2.6(10) | 2.3(7) |
| C26A | 12(7) | 28(5) | 14(5) | 0(4) | -1(5) | -3(4) |
| C27 | 15.6(8) | 16.0(6) | 14.7(10) | 0.4(7) | 2.7(8) | 0.2(5) |
| C27A | 15.6(8) | 16.0(6) | 14.7(10) | 0.4(7) | 2.7(8) | 0.2(5) |
| C28 | 38.3(8) | 18.7(10) | 17.4(7) | 3.8(8) | 4.8(6) | 10.8(8) |
| C28A | 38.3(8) | 18.7(10) | 17.4(7) | 3.8(8) | 4.8(6) | 10.8(8) |
| C29 | 39.5(10) | 77(2) | 51.3(14) | 24.0(16) | 18.7(10) | 36.8(14) |
| C29A | 39.5(10) | 77(2) | 51.3(14) | 24.0(16) | 18.7(10) | 36.8(14) |
| C30 | 53.1(19) | 29.5(15) | 21.8(12) | 9.0(9) | 7.6(13) | 7.0(12) |
| C30A | 36(8) | 70(20) | 33(7) | 34(10) | 4(6) | 20(12) |
| C31 | 23.3(8) | 16.9(7) | 19.2(8) | -4.5(6) | 3.5(6) | -0.1(6) |
| C31A | 36(6) | 19(4) | 38(7) | -9(5) | 9(6) | -2(4) |
| C32 | 25.6(9) | 27.8(9) | 39.8(12) | -16.4(8) | 11.7(8) | -1.9(7) |
| C32A | 54(10) | 33(8) | 51(8) | -27(6) | 28(8) | -20(7) |
| C33 | 30.3(12) | 21.1(12) | 27.8(14) | -5.2(8) | 4.8(10) | -5.7(10) |
| C33A | 30.3(12) | 21.1(12) | 27.8(14) | -5.2(8) | 4.8(10) | -5.7(10) |
| C34 | 24.7(11) | 18.1(8) | 15.5(10) | -0.3(9) | 3.0(9) | 4.9(8) |
| C34A | 21(6) | 31(8) | 9(4) | 7(5) | -4(5) | 1(5) |
| C35 | 26.2(11) | 31.0(13) | 19.0(15) | 0.1(12) | 1.0(9) | 6.6(9) |
| C35A | 23(6) | 32(10) | 22(11) | 5(9) | 3(6) | 11(7) |
| C36 | 33.3(17) | 30.3(12) | 21.0(16) | 7.2(13) | 8.7(14) | 3.5(10) |
| C36A | 18(7) | 29(8) | 17(9) | 7(8) | 0(7) | 6(5) |
| C37 | 35.9(8) | 35.1(8) | 30.2(8) | 3.3(6) | 14.4(6) | -2.3(6) |

Table 3: Bond Lengths in Å for MC21033.

| Atom | Atom | Length/Å |
| --- | --- | --- |
| Cl1 | C38 | 1.745(3) |
| Cl2 | C38 | 1.768(2) |
| C38 | D38A | 0.9900 |
| C38 | D38B | 0.9900 |
| Cl1A | C38A | 1.741(14) |
| Cl2A | C38A | 1.721(13) |
| C38A | D38C | 0.9900 |
| C38A | D38D | 0.9900 |
| Al1 | Al11 | 2.6555(8) |
| Al1 | C1 | 1.9692(12) |
| Al1 | C37 | 1.9416(16) |
| C1 | C2 | 1.4135(16) |
| C1 | C2A | 1.4135(16) |
| C1 | C6 | 1.4182(16) |
| C2 | C3 | 1.3973(17) |
| C2 | C22 | 1.508(2) |
| C2A | C3 | 1.3973(17) |
| C2A | C22A | 1.535(13) |
| C3 | C4 | 1.3866(17) |
| C4 | C5 | 1.3889(17) |
| C5 | C6 | 1.3931(17) |
| C6 | C7 | 1.5035(16) |
| C7 | C8 | 1.4123(17) |
| C7 | C12 | 1.4105(17) |
| C8 | C9 | 1.3925(17) |
| C8 | C13 | 1.5184(17) |
| C9 | C10 | 1.3956(18) |
| C10 | C11 | 1.3852(18) |
| C10 | C16 | 1.5229(17) |
| C11 | C12 | 1.4017(17) |
| C12 | C19 | 1.5267(17) |
| C13 | C14 | 1.5331(19) |
| C13 | C15 | 1.5298(18) |
| C16 | C17 | 1.528(2) |
| C16 | C18 | 1.5198(19) |
| C19 | C20 | 1.522(2) |
| C19 | C21 | 1.521(2) |
| C22 | C23 | 1.412(3) |
| C22 | C27 | 1.409(2) |
| C22A | C23A | 1.419(15) |
| C22A | C27A | 1.400(14) |
| C23 | C24 | 1.394(2) |
| C23 | C28 | 1.522(2) |
| C23A | C24A | 1.434(14) |
| C23A | C28A | 1.478(14) |
| C24 | C25 | 1.388(2) |
| C24A | C25A | 1.365(13) |
| C25 | C26 | 1.390(3) |
| C25 | C31 | 1.520(2) |
| C25A | C26A | 1.342(13) |
| C25A | C31A | 1.568(13) |
| C26 | C27 | 1.399(2) |
| C26A | C27A | 1.397(14) |
| C27 | C34 | 1.521(3) |
| C27A | C34A | 1.482(14) |
| C28 | C29 | 1.515(3) |
| C28 | C30 | 1.527(3) |
| C28A | C29A | 1.561(16) |
| C28A | C30A | 1.535(16) |
| C31 | C32 | 1.525(3) |
| C31 | C33 | 1.514(3) |
| C31A | C32A | 1.485(14) |
| C31A | C33A | 1.508(14) |
| C34 | C35 | 1.534(3) |
| C34 | C36 | 1.535(3) |
| C34A | C35A | 1.542(16) |
| C34A | C36A | 1.555(17) |

––––

11-x,1-y,1-z

Table 4: Bond Angles in ° for MC21033.

| Atom | Atom | Atom | Angle/° |
| --- | --- | --- | --- |
| Cl1 | C38 | Cl2 | 112.00(14) |
| Cl1 | C38 | D38A | 109.2 |
| Cl1 | C38 | D38B | 109.2 |
| Cl2 | C38 | D38A | 109.2 |
| Cl2 | C38 | D38B | 109.2 |
| D38A | C38 | D38B | 107.9 |
| Cl1A | C38A | D38C | 109.4 |
| Cl1A | C38A | D38D | 109.4 |
| Cl2A | C38A | Cl1A | 111.1(10) |
| Cl2A | C38A | D38C | 109.4 |
| Cl2A | C38A | D38D | 109.4 |
| D38C | C38A | D38D | 108.0 |
| C1 | Al1 | Al11 | 115.95(4) |
| C37 | Al1 | Al11 | 115.18(5) |
| C37 | Al1 | C1 | 128.86(6) |
| C2 | C1 | Al1 | 122.81(9) |
| C2 | C1 | C6 | 117.46(11) |
| C2A | C1 | Al1 | 122.81(9) |
| C2A | C1 | C6 | 117.46(11) |
| C6 | C1 | Al1 | 119.67(9) |
| C1 | C2 | C22 | 122.8(2) |
| C3 | C2 | C1 | 120.31(11) |
| C3 | C2 | C22 | 116.6(2) |
| C1 | C2A | C22A | 124.8(15) |
| C3 | C2A | C1 | 120.31(11) |
| C3 | C2A | C22A | 114.8(14) |
| C4 | C3 | C2 | 120.99(11) |
| C4 | C3 | C2A | 120.99(11) |
| C3 | C4 | C5 | 119.61(11) |
| C4 | C5 | C6 | 120.22(11) |
| C1 | C6 | C7 | 120.87(10) |
| C5 | C6 | C1 | 121.12(11) |
| C5 | C6 | C7 | 117.86(10) |
| C8 | C7 | C6 | 120.90(11) |
| C12 | C7 | C6 | 119.31(11) |
| C12 | C7 | C8 | 119.72(11) |
| C7 | C8 | C13 | 121.18(11) |
| C9 | C8 | C7 | 118.82(11) |
| C9 | C8 | C13 | 119.96(11) |
| C8 | C9 | C10 | 122.40(12) |
| C9 | C10 | C16 | 118.51(11) |
| C11 | C10 | C9 | 117.98(11) |
| C11 | C10 | C16 | 123.51(11) |
| C10 | C11 | C12 | 121.99(12) |
| C7 | C12 | C19 | 121.40(11) |
| C11 | C12 | C7 | 119.09(11) |
| C11 | C12 | C19 | 119.37(11) |
| C8 | C13 | C14 | 110.38(11) |
| C8 | C13 | C15 | 113.04(11) |
| C15 | C13 | C14 | 109.66(11) |
| C10 | C16 | C17 | 111.24(11) |
| C18 | C16 | C10 | 114.16(11) |
| C18 | C16 | C17 | 110.01(12) |
| C20 | C19 | C12 | 110.49(11) |
| C21 | C19 | C12 | 113.34(12) |
| C21 | C19 | C20 | 109.67(13) |
| C23 | C22 | C2 | 119.66(17) |
| C27 | C22 | C2 | 120.57(18) |
| C27 | C22 | C23 | 119.32(16) |
| C23A | C22A | C2A | 114.9(11) |
| C27A | C22A | C2A | 121.0(12) |
| C27A | C22A | C23A | 123.1(12) |
| C22 | C23 | C28 | 121.93(17) |
| C24 | C23 | C22 | 119.06(15) |
| C24 | C23 | C28 | 118.79(16) |
| C22A | C23A | C24A | 116.7(11) |
| C22A | C23A | C28A | 123.1(13) |
| C24A | C23A | C28A | 120.2(12) |
| C25 | C24 | C23 | 122.50(14) |
| C25A | C24A | C23A | 119.9(11) |
| C24 | C25 | C26 | 117.72(15) |
| C24 | C25 | C31 | 120.21(17) |
| C26 | C25 | C31 | 121.96(17) |
| C24A | C25A | C31A | 119.8(12) |
| C26A | C25A | C24A | 120.4(11) |
| C26A | C25A | C31A | 119.8(12) |
| C25 | C26 | C27 | 122.07(17) |
| C25A | C26A | C27A | 124.8(13) |
| C22 | C27 | C34 | 121.56(18) |
| C26 | C27 | C22 | 119.27(16) |
| C26 | C27 | C34 | 119.09(18) |
| C22A | C27A | C34A | 123.9(14) |
| C26A | C27A | C22A | 114.7(12) |
| C26A | C27A | C34A | 121.4(13) |
| C23 | C28 | C30 | 113.65(19) |
| C29 | C28 | C23 | 109.88(18) |
| C29 | C28 | C30 | 110.3(2) |
| C23A | C28A | C29A | 112.4(14) |
| C23A | C28A | C30A | 115.4(15) |
| C30A | C28A | C29A | 105.6(17) |
| C25 | C31 | C32 | 113.40(15) |
| C33 | C31 | C25 | 110.6(2) |
| C33 | C31 | C32 | 110.73(18) |
| C32A | C31A | C25A | 115.7(11) |
| C32A | C31A | C33A | 114.2(14) |
| C33A | C31A | C25A | 111.0(17) |
| C27 | C34 | C35 | 112.0(2) |
| C27 | C34 | C36 | 110.9(2) |
| C35 | C34 | C36 | 109.9(3) |
| C27A | C34A | C35A | 111.3(14) |
| C27A | C34A | C36A | 108.7(15) |
| C35A | C34A | C36A | 107.9(18) |

––––

11-x,1-y,1-z

Table 5: Torsion Angles in ° for MC21033.

| Atom | Atom | Atom | Atom | Angle/° |
| --- | --- | --- | --- | --- |
| Al1 | C1 | C2 | C3 | -171.48(9) |
| Al1 | C1 | C2 | C22 | 14.7(2) |
| Al1 | C1 | C2A | C3 | -171.48(9) |
| Al1 | C1 | C2A | C22A | 4.7(8) |
| Al1 | C1 | C6 | C5 | 172.19(9) |
| Al1 | C1 | C6 | C7 | -12.35(15) |
| C1 | C2 | C3 | C4 | -2.08(18) |
| C1 | C2 | C22 | C23 | 75.7(5) |
| C1 | C2 | C22 | C27 | -112.0(4) |
| C1 | C2A | C3 | C4 | -2.08(18) |
| C1 | C2A | C22A | C23A | 86(3) |
| C1 | C2A | C22A | C27A | -105(3) |
| C1 | C6 | C7 | C8 | 99.98(14) |
| C1 | C6 | C7 | C12 | -83.12(15) |
| C2 | C1 | C6 | C5 | -5.10(17) |
| C2 | C1 | C6 | C7 | 170.37(11) |
| C2 | C3 | C4 | C5 | -2.42(19) |
| C2 | C22 | C23 | C24 | 170.1(3) |
| C2 | C22 | C23 | C28 | -4.4(6) |
| C2 | C22 | C27 | C26 | -170.8(3) |
| C2 | C22 | C27 | C34 | 5.8(6) |
| C2A | C1 | C6 | C5 | -5.10(17) |
| C2A | C1 | C6 | C7 | 170.37(11) |
| C2A | C3 | C4 | C5 | -2.42(19) |
| C2A | C22A | C23A | C24A | 174(2) |
| C2A | C22A | C23A | C28A | -6(4) |
| C2A | C22A | C27A | C26A | -174(2) |
| C2A | C22A | C27A | C34A | 7(4) |
| C3 | C2 | C22 | C23 | -98.3(4) |
| C3 | C2 | C22 | C27 | 73.9(4) |
| C3 | C2A | C22A | C23A | -97(3) |
| C3 | C2A | C22A | C27A | 72(3) |
| C3 | C4 | C5 | C6 | 3.06(19) |
| C4 | C5 | C6 | C1 | 0.77(18) |
| C4 | C5 | C6 | C7 | -174.82(11) |
| C5 | C6 | C7 | C8 | -84.41(14) |
| C5 | C6 | C7 | C12 | 92.49(14) |
| C6 | C1 | C2 | C3 | 5.71(17) |
| C6 | C1 | C2 | C22 | -168.10(16) |
| C6 | C1 | C2A | C3 | 5.71(17) |
| C6 | C1 | C2A | C22A | -178.1(8) |
| C6 | C7 | C8 | C9 | 177.04(11) |
| C6 | C7 | C8 | C13 | -0.62(17) |
| C6 | C7 | C12 | C11 | -177.30(11) |
| C6 | C7 | C12 | C19 | -1.67(17) |
| C7 | C8 | C9 | C10 | -0.06(19) |
| C7 | C8 | C13 | C14 | 95.41(14) |
| C7 | C8 | C13 | C15 | -141.36(12) |
| C7 | C12 | C19 | C20 | -101.62(14) |
| C7 | C12 | C19 | C21 | 134.83(14) |
| C8 | C7 | C12 | C11 | -0.35(18) |
| C8 | C7 | C12 | C19 | 175.27(11) |
| C8 | C9 | C10 | C11 | 0.17(19) |
| C8 | C9 | C10 | C16 | 179.63(11) |
| C9 | C8 | C13 | C14 | -82.22(14) |
| C9 | C8 | C13 | C15 | 41.01(16) |
| C9 | C10 | C11 | C12 | -0.38(19) |
| C9 | C10 | C16 | C17 | 65.59(16) |
| C9 | C10 | C16 | C18 | -169.19(12) |
| C10 | C11 | C12 | C7 | 0.48(19) |
| C10 | C11 | C12 | C19 | -175.23(12) |
| C11 | C10 | C16 | C17 | -114.99(15) |
| C11 | C10 | C16 | C18 | 10.23(19) |
| C11 | C12 | C19 | C20 | 73.99(16) |
| C11 | C12 | C19 | C21 | -49.56(17) |
| C12 | C7 | C8 | C9 | 0.15(17) |
| C12 | C7 | C8 | C13 | -177.51(11) |
| C13 | C8 | C9 | C10 | 177.63(12) |
| C16 | C10 | C11 | C12 | -179.81(12) |
| C22 | C2 | C3 | C4 | 172.10(15) |
| C22 | C23 | C24 | C25 | 0.9(4) |
| C22 | C23 | C28 | C29 | 86.8(4) |
| C22 | C23 | C28 | C30 | -149.2(4) |
| C22 | C27 | C34 | C35 | 130.3(4) |
| C22 | C27 | C34 | C36 | -106.6(4) |
| C22A | C2A | C3 | C4 | -178.7(7) |
| C22A | C23A | C24A | C25A | -3(3) |
| C22A | C23A | C28A | C29A | 100(3) |
| C22A | C23A | C28A | C30A | -139(3) |
| C22A | C27A | C34A | C35A | 132(3) |
| C22A | C27A | C34A | C36A | -110(3) |
| C23 | C22 | C27 | C26 | 1.5(6) |
| C23 | C22 | C27 | C34 | 178.2(3) |
| C23 | C24 | C25 | C26 | 1.2(3) |
| C23 | C24 | C25 | C31 | -175.09(19) |
| C23A | C22A | C27A | C26A | -5(4) |
| C23A | C22A | C27A | C34A | 176(3) |
| C23A | C24A | C25A | C26A | 3(3) |
| C23A | C24A | C25A | C31A | -176.1(15) |
| C24 | C23 | C28 | C29 | -87.7(3) |
| C24 | C23 | C28 | C30 | 36.3(3) |
| C24 | C25 | C26 | C27 | -2.0(4) |
| C24 | C25 | C31 | C32 | -122.5(2) |
| C24 | C25 | C31 | C33 | 112.4(2) |
| C24A | C23A | C28A | C29A | -80(2) |
| C24A | C23A | C28A | C30A | 41(3) |
| C24A | C25A | C26A | C27A | -4(3) |
| C24A | C25A | C31A | C32A | -45(2) |
| C24A | C25A | C31A | C33A | 87.3(19) |
| C25 | C26 | C27 | C22 | 0.6(5) |
| C25 | C26 | C27 | C34 | -176.1(2) |
| C25A | C26A | C27A | C22A | 5(4) |
| C25A | C26A | C27A | C34A | -176.2(19) |
| C26 | C25 | C31 | C32 | 61.4(3) |
| C26 | C25 | C31 | C33 | -63.7(3) |
| C26 | C27 | C34 | C35 | -53.1(4) |
| C26 | C27 | C34 | C36 | 70.0(4) |
| C26A | C25A | C31A | C32A | 135.8(19) |
| C26A | C25A | C31A | C33A | -92(2) |
| C26A | C27A | C34A | C35A | -47(3) |
| C26A | C27A | C34A | C36A | 71(3) |
| C27 | C22 | C23 | C24 | -2.3(6) |
| C27 | C22 | C23 | C28 | -176.7(3) |
| C27A | C22A | C23A | C24A | 5(4) |
| C27A | C22A | C23A | C28A | -175(2) |
| C28 | C23 | C24 | C25 | 175.56(19) |
| C28A | C23A | C24A | C25A | 176.2(16) |
| C31 | C25 | C26 | C27 | 174.2(2) |
| C31A | C25A | C26A | C27A | 175.2(19) |

Table 6: Hydrogen Fractional Atomic Coordinates (×104) and Equivalent Isotropic Displacement Parameters (Å2×103) for MC21033. Ueq is defined as 1/3 of the trace of the orthogonalised Uij.

| Atom | x | y | z | Ueq |
| --- | --- | --- | --- | --- |
| H | 4940(12) | 4351(10) | 4759(9) | 21 |
| H3A | 8832.5 | 6466.54 | 4945.87 | 21 |
| H3B | 8832.5 | 6466.54 | 4945.87 | 21 |
| H4 | 9359.72 | 5441.93 | 4180.52 | 23 |
| H5 | 8617.76 | 4108.35 | 4094.02 | 21 |
| H9 | 5576.52 | 2161.47 | 3557.13 | 23 |
| H11 | 7533.91 | 1757.57 | 5732.77 | 24 |
| H13 | 6053.23 | 4343.84 | 3491.08 | 25 |
| H14A | 7290.24 | 3743.12 | 2898.69 | 46 |
| H14B | 6262.01 | 3996.53 | 2218.39 | 46 |
| H14C | 6464.05 | 3041.79 | 2484.01 | 46 |
| H15A | 4664.89 | 3059.29 | 2694.15 | 39 |
| H15B | 4511.74 | 4039.71 | 2530.71 | 39 |
| H15C | 4406.32 | 3655.33 | 3356.61 | 39 |
| H16 | 5326.24 | 943.95 | 4426.84 | 28 |
| H17A | 7179 | 396.73 | 4031.18 | 53 |
| H17B | 6173.86 | 773.12 | 3400.68 | 53 |
| H17C | 6089.55 | -97.17 | 3831.07 | 53 |
| H18A | 6124.92 | -129.78 | 5265.95 | 45 |
| H18B | 6239.56 | 717.35 | 5769.49 | 45 |
| H18C | 7217.11 | 360.67 | 5492.47 | 45 |
| H19 | 8508.64 | 3854.72 | 6038.84 | 29 |
| H20A | 10083.35 | 3103.39 | 6430.43 | 53 |
| H20B | 9643.89 | 3078.01 | 5478.8 | 53 |
| H20C | 9510.57 | 2283.01 | 6000.79 | 53 |
| H21A | 8313.82 | 2373.13 | 6900.2 | 62 |
| H21B | 7623.54 | 3194.13 | 6893.62 | 62 |
| H21C | 8861.89 | 3219.96 | 7286.49 | 62 |
| H24 | 8168.92 | 6963.09 | 7696.88 | 21 |
| H24A | 7974.01 | 7261.17 | 7540.69 | 21 |
| H26 | 6630.8 | 8358.7 | 5827.52 | 22 |
| H26A | 6362.43 | 8351.46 | 5538.98 | 23 |
| H28 | 8215.79 | 5093.45 | 6640.87 | 30 |
| H28A | 8330.82 | 5314.26 | 6604.91 | 30 |
| H29A | 9718.99 | 5755.17 | 6473.31 | 82 |
| H29B | 10025.97 | 5136.42 | 7222.51 | 82 |
| H29C | 9968.66 | 6120.27 | 7361.72 | 82 |
| H29D | 9944.93 | 5809.45 | 6666.45 | 82 |
| H29E | 10076.67 | 5649.48 | 7597.7 | 82 |
| H29F | 9847.84 | 6570.79 | 7238.85 | 82 |
| H30A | 8785.5 | 5778.99 | 8214.52 | 53 |
| H30B | 8689.13 | 4809.05 | 7988.54 | 53 |
| H30C | 7659.16 | 5376.39 | 7826.13 | 53 |
| H30D | 8725.02 | 5955.14 | 8183.1 | 70 |
| H30E | 8530.2 | 5004.99 | 7899.75 | 70 |
| H30F | 7568.29 | 5644.45 | 7739.1 | 70 |
| H31 | 7807.07 | 8310.96 | 7967.6 | 24 |
| H31A | 6460.85 | 9033.23 | 6698.33 | 37 |
| H32A | 6023.64 | 9051.91 | 6889.93 | 46 |
| H32B | 6469.14 | 9306.91 | 7808.62 | 46 |
| H32C | 5973.98 | 8400.75 | 7577.66 | 46 |
| H32D | 6149.11 | 8256.95 | 7716.55 | 65 |
| H32E | 6645.9 | 9144.63 | 8027.91 | 65 |
| H32F | 7357.6 | 8323.17 | 8198.62 | 65 |
| H33A | 8833.17 | 8979.16 | 7237.84 | 40 |
| H33B | 8217.4 | 9647.49 | 7627.46 | 40 |
| H33C | 7812.2 | 9430.97 | 6696.63 | 40 |
| H33D | 8639.49 | 9010.22 | 7395.15 | 40 |
| H33E | 7910 | 9801.08 | 7418.12 | 40 |
| H33F | 8033.9 | 9460.82 | 6581.34 | 40 |
| H34 | 6559.98 | 6797.5 | 4335.22 | 24 |
| H34A | 6475.7 | 6691.3 | 4182.63 | 26 |
| H35A | 5004.07 | 7299.43 | 4634.09 | 40 |
| H35B | 5154.83 | 7698.99 | 3827.08 | 40 |
| H35C | 5430.37 | 8233.71 | 4634.24 | 40 |
| H35D | 4886.29 | 7237.39 | 4461.15 | 39 |
| H35E | 5011.32 | 7527.35 | 3609.14 | 39 |
| H35F | 5289.4 | 8159.23 | 4348.97 | 39 |
| H36A | 7302.69 | 8483.59 | 4574.97 | 42 |
| H36B | 6957.02 | 8037.6 | 3720.7 | 42 |
| H36C | 7964.07 | 7711.87 | 4383.4 | 42 |
| H36D | 7036.4 | 8442.26 | 4267.27 | 33 |
| H36E | 6873.95 | 7873.65 | 3486.33 | 33 |
| H36F | 7852.13 | 7712.75 | 4240.91 | 33 |
| H37A | 5077.28 | 4366.47 | 6550.87 | 49 |
| H37B | 6283.35 | 4579.04 | 6952.73 | 49 |
| H37C | 5966.92 | 3704.81 | 6509.38 | 49 |

Table 7: Atomic Occupancies for all atoms that are not fully occupied in MC21033.

| Atom | Occupancy |
| --- | --- |
| Cl1 | 0.8549(17) |
| Cl2 | 0.8549(17) |
| C38 | 0.8549(17) |
| D38A | 0.8549(17) |
| D38B | 0.8549(17) |
| Cl1A | 0.1451(17) |
| Cl2A | 0.1451(17) |
| C38A | 0.1451(17) |
| D38C | 0.1451(17) |
| D38D | 0.1451(17) |
| C2 | 0.873(5) |
| C2A | 0.127(5) |
| H3A | 0.873(5) |
| H3B | 0.127(5) |
| C22 | 0.873(5) |
| C22A | 0.127(5) |
| C23 | 0.873(5) |
| C23A | 0.127(5) |
| C24 | 0.873(5) |
| H24 | 0.873(5) |
| C24A | 0.127(5) |
| H24A | 0.127(5) |
| C25 | 0.873(5) |
| C25A | 0.127(5) |
| C26 | 0.873(5) |
| H26 | 0.873(5) |
| C26A | 0.127(5) |
| H26A | 0.127(5) |
| C27 | 0.873(5) |
| C27A | 0.127(5) |
| C28 | 0.873(5) |
| H28 | 0.873(5) |
| C28A | 0.127(5) |
| H28A | 0.127(5) |
| C29 | 0.873(5) |
| H29A | 0.873(5) |
| H29B | 0.873(5) |
| H29C | 0.873(5) |
| C29A | 0.127(5) |
| H29D | 0.127(5) |
| H29E | 0.127(5) |
| H29F | 0.127(5) |
| C30 | 0.873(5) |
| H30A | 0.873(5) |
| H30B | 0.873(5) |
| H30C | 0.873(5) |
| C30A | 0.127(5) |
| H30D | 0.127(5) |
| H30E | 0.127(5) |
| H30F | 0.127(5) |
| C31 | 0.873(5) |
| H31 | 0.873(5) |
| C31A | 0.127(5) |
| H31A | 0.127(5) |
| C32 | 0.873(5) |
| H32A | 0.873(5) |
| H32B | 0.873(5) |
| H32C | 0.873(5) |
| C32A | 0.127(5) |
| H32D | 0.127(5) |
| H32E | 0.127(5) |
| H32F | 0.127(5) |
| C33 | 0.873(5) |
| H33A | 0.873(5) |
| H33B | 0.873(5) |
| H33C | 0.873(5) |
| C33A | 0.127(5) |
| H33D | 0.127(5) |
| H33E | 0.127(5) |
| H33F | 0.127(5) |
| C34 | 0.873(5) |
| H34 | 0.873(5) |
| C34A | 0.127(5) |
| H34A | 0.127(5) |
| C35 | 0.873(5) |
| H35A | 0.873(5) |
| H35B | 0.873(5) |
| H35C | 0.873(5) |
| C35A | 0.127(5) |
| H35D | 0.127(5) |
| H35E | 0.127(5) |
| H35F | 0.127(5) |
| C36 | 0.873(5) |
| H36A | 0.873(5) |
| H36B | 0.873(5) |
| H36C | 0.873(5) |
| C36A | 0.127(5) |
| H36D | 0.127(5) |
| H36E | 0.127(5) |
| H36F | 0.127(5) |

Citations

O.V. Dolomanov and L.J. Bourhis and R.J. Gildea and J.A.K. Howard and H. Puschmann, Olex2: A complete structure solution, refinement and analysis program, J. Appl. Cryst., (2009), 42, 339-341.

SADABS, Bruker axs, Madison, WI (?).

Sheldrick, G.M., Crystal structure refinement with ShelXL, Acta Cryst., (2015), C71, 3-8.

Sheldrick, G.M., ShelXT-Integrated space-group and crystal-structure determination, Acta Cryst., (2015), A71, 3-8.

Software for the Integration of CCD Detector System Bruker Analytical X-ray Systems, Bruker axs, Madison, WI (after 2013).

#===============================================================================

# PLATON/CHECK-( 20221) versus check.def version 201207, Entry: mc21033

# Data: MC21033.cif - Type: CIF                  Bond Precision   C-C = 0.0018 A

# Refl: MC21033.fcf - Type: LIST4                                   Temp = 100 K

# Audit:OLEX2 1.3-BETA (COMPILED 2020.11.12 SVN.R5F609507 FOR OLEXSYS, GUI SVN.R

# Refin:SHELXL 2018/3 (SHELDRICK, 2015)

# X-ray MoKa              R(int) = 0.048,  wR2/R(int) =  2.5,  Nref/Npar =  16.9

# Cell 13.2338(13) 16.0297(14) 17.3617(19)           90   105.344(4)          90

# Wavelength 0.71073  Volume Reported       3551.7(6) Calculated       3551.7(6)

# SpaceGroup from Symmetry P 21/c       Hall: -P 2ybc                 monoclinic

#                 Reported P 1 21/c 1         -P 2ybc                 monoclinic

# MoietyFormula C74 H106 Al2, 2(C D2 Cl2)

#      Reported 2(C Cl2 D2), C74 H106 Al2

#    SumFormula C76 H106 D4 Al2 Cl4

#      Reported C76 H106 Al2 Cl4 D4

# Mr        =   1223.41[Calc],   1223.42[Rep]           Volume/NonHatoms =  21.7

# Dx,gcm-3  =     1.144[Calc],     1.144[Rep]

# Z         =         2[Calc],         2[Rep]

# Mu (mm-1) =     0.232[Calc],     0.232[Rep]  Xtal Size =  0.156x0.304x0.320 mm

# F000      =    1320.0[Calc],    1320.0[Rep]  or F000' =   1321.79[Calc]

# Reported   T Limits: Tmin=0.712              Tmax=0.746  AbsCorr = MULTI-SCAN

# Calculated T Limits: Tmin=0.928 Tmin'=0.928  Tmax=0.964

# Measured   HKL: Reported  99101, Embedded 101199, <Mult> 11.3

# Reported   Hmax= 17, Kmax= 21, Lmax= 23, Nref=   8798        , Th(max)= 28.287

# Obs in FCF Hmax= 17, Kmax= 21, Lmax= 23, Nref=   8798[  8798], Th(max)= 28.287

# Calculated Hmax= 17, Kmax= 21, Lmax= 23, Nref=   8820        , Ratio  =  0.998

# Reported   Rho(min) = -0.58, Rho(max) =  0.59 e/Ang**3 (From CIF)

# Calculated Rho(min) = -0.56, Rho(max) =  0.59 e/Ang**3 (From CIF+FCF data)

# w=1/[<sup>2</sup>(Fo<sup>2</sup>)+(0.0546P)<sup>2</sup>+1.8920P], P=(Fo<sup>2</sup>+2Fc<sup>2</sup>)/3

# R= 0.0424(  7626), wR2= 0.1175(  8798), S = 1.048      (From CIF+FCF data)

# R= 0.0424(  7626), wR2= 0.1174(  8798), S = 1.048      (From FCF data only)

# R= 0.0424(  7626), wR2= 0.1174(  8798), S = 1.048, Npar=  520

#===============================================================================

# For Documentation:https://www.platonsoft.nl/CIF-VALIDATION.pdf

#===============================================================================

*

#===============================================================================

#>>> The Following Improvement and Query ALERTS were generated - (Acta-Mode) <<<

#===============================================================================

Format: alert-number_ALERT_alert-type_alert-level text

041_ALERT_1_C Calc. and Reported SumFormula    Strings  Differ     Please Check

213_ALERT_2_C Atom C30A            has ADP max/min Ratio .....        3.1 prolat

220_ALERT_2_C NonSolvent   Resd 1  C   Ueq(max)/Ueq(min) Range        3.8 Ratio

911_ALERT_3_C Missing FCF Refl Between Thmin & STh/L=    0.600          6 Report

#===============================================================================

002_ALERT_2_G Number of Distance or Angle Restraints on AtSite         40 Note

003_ALERT_2_G Number of Uiso or Uij Restrained non-H Atoms ...         20 Report

042_ALERT_1_G Calc. and Reported MoietyFormula Strings  Differ     Please Check

069_ALERT_1_G Atom Label Without Numerical Part ..............          H Do !

168_ALERT_4_G The CIF-Embedded .res File Contains EXYZ Records          1 Report

171_ALERT_4_G The CIF-Embedded .res File Contains EADP Records          7 Report

176_ALERT_4_G The CIF-Embedded .res File Contains SADI Records         41 Report

177_ALERT_4_G The CIF-Embedded .res File Contains DELU Records          1 Report

178_ALERT_4_G The CIF-Embedded .res File Contains SIMU Records          1 Report

187_ALERT_4_G The CIF-Embedded .res File Contains RIGU Records          2 Report

232_ALERT_2_G Hirshfeld Test Diff (M-X)  Al1      --C37      .        9.4 s.u.

301_ALERT_3_G Main Residue  Disorder ..............(Resd  1  )        42% Note

302_ALERT_4_G Anion/Solvent/Minor-Residue Disorder (Resd  2  )       100% Note

302_ALERT_4_G Anion/Solvent/Minor-Residue Disorder (Resd  3  )       100% Note

303_ALERT_2_G Full Occupancy Atom H         with # Connections       2.00 Check

304_ALERT_4_G Non-Integer Number of Atoms in ..... (Resd  2  )       4.27 Check

304_ALERT_4_G Non-Integer Number of Atoms in ..... (Resd  3  )       0.73 Check

811_ALERT_5_G No ADDSYM Analysis: Too Many Excluded Atoms ....          ! Info

860_ALERT_3_G Number of Least-Squares Restraints .............        310 Note

910_ALERT_3_G Missing # of FCF Reflection(s) Below Theta(Min).          3 Note

912_ALERT_4_G Missing # of FCF Reflections Above STh/L=  0.600         14 Note

933_ALERT_2_G Number of OMIT Records in Embedded .res File ...          5 Note

978_ALERT_2_G Number C-C Bonds with Positive Residual Density.         19 Info

#===============================================================================

ALERT_Level and ALERT_Type Summary

==================================

4 ALERT_Level_C = Check. Ensure it is Not caused by an Omission or Oversight

23 ALERT_Level_G = General Info/Check that it is not Something Unexpected

3 ALERT_Type_1 CIF Construction/Syntax Error, Inconsistent or Missing Data.

8 ALERT_Type_2 Indicator that the Structure Model may be Wrong or Deficient.

4 ALERT_Type_3 Indicator that the Structure Quality may be Low.

11 ALERT_Type_4 Improvement, Methodology, Query or Suggestion.

1 ALERT_Type_5 Informative Message, Check.

#===============================================================================

0 Missing  Experimental  Info Issue(s) (Out of  63 Tests) -  100 % Satisfied

0 Experimental  Data  Related Issue(s) (Out of  35 Tests) -  100 % Satisfied

14 Structural  Model   Related Issue(s) (Out of 136 Tests) -   90 % Satisfied

13 Unresolved or to be Checked Issue(s) (Out of 269 Tests) -   95 % Satisfied

*