MC21041

Submitted by: 	Alex Beaton Garcia

Solved by: 	Gary S Nichol

Sample ID: 	ABG-0450

R1=4.16%

Compound ABG-0450 was provided as colourless crystals suitable for single crystal X-ray diffraction, yielding structure MC21041.

Crystal Data and Experimental

Experimental. Single colourless block-shaped crystals of MC21041 recrystallised from hexane by slow cooling. A suitable crystal with dimensions 0.31 × 0.31 × 0.23 mm3 was selected and mounted on a MITIGEN holder in Paratone oil on a Bruker D8 Venture diffractometer. The crystal was kept at a steady T = 100.0 K during data collection. The structure was solved with the ShelXT 2018/2 (Sheldrick, 2018) solution program using dual methods and by using Olex2 1.3 (Dolomanov et al., 2009) as the graphical interface. The model was refined with ShelXL 2018/3 (Sheldrick, 2015) using full matrix least squares minimisation on F2.

Crystal Data.  C168H212Al4B8, Mr = 2425.76, triclinic, P-1 (No. 2), a = 9.3191(9) Å, b = 17.9862(16) Å, c = 23.336(2) Å,  = 73.958(2)°,  = 78.896(2)°,  = 89.569(2)°, V = 3684.4(6) Å3, T = 100.0 K, Z = 1, Z' = 0.5, (MoK) = 0.082, 187187 reflections measured, 22498 unique (Rint = 0.0386) which were used in all calculations. The final wR2 was 0.1168 (all data) and R1 was 0.0416 (I≥2 (I)).

| Compound | MC21041 |
| --- | --- |
| Formula | C168H212Al4B8 |
| Dcalc./ g cm-3 | 1.093 |
| /mm-1 | 0.082 |
| Formula Weight | 2425.76 |
| Colour | colourless |
| Shape | block-shaped |
| Size/mm3 | 0.31×0.31×0.23 |
| T/K | 100.0 |
| Crystal System | triclinic |
| Space Group | P-1 |
| a/Å | 9.3191(9) |
| b/Å | 17.9862(16) |
| c/Å | 23.336(2) |
| /° | 73.958(2) |
| /° | 78.896(2) |
| /° | 89.569(2) |
| V/Å3 | 3684.4(6) |
| Z | 1 |
| Z' | 0.5 |
| Wavelength/Å | 0.71073 |
| Radiation type | MoK |
| min/° | 2.230 |
| max/° | 30.565 |
| Measured Refl's. | 187187 |
| Indep't Refl's | 22498 |
| Refl's I≥2 (I) | 18528 |
| Rint | 0.0386 |
| Parameters | 883 |
| Restraints | 0 |
| Largest Peak | 0.325 |
| Deepest Hole | -0.293 |
| GooF | 1.030 |
| wR2 (all data) | 0.1168 |
| wR2 | 0.1079 |
| R1 (all data) | 0.0542 |
| R1 | 0.0416 |

Structure Quality Indicators

| Reflections: |  |
| --- | --- |
| Refinement: |  |

A colourless block-shaped-shaped crystal with dimensions 0.31 × 0.31 × 0.23 mm3 was mounted on a MITIGEN holder in Paratone oil. Data were collected using a Bruker D8 Venture diffractometer equipped with an Oxford Cryosystems Cryostream 800 low-temperature device operating at T = 100.0 K.

Data were measured using  and  scans using MoK radiation. . The maximum resolution that was achieved was  = 30.565° (0.70 Å).

The unit cell was refined using SAINT V8.40A (Bruker, 2019) on 9995 reflections, 5% of the observed reflections.

Data reduction, scaling and absorption corrections were performed using SAINT V8.40A (Bruker, 2019). The final completeness is 100.00 % out to 30.565° in . SADABS-2016/2 (Bruker, 2016/2) was used for absorption correction. wR2(int) was 0.1022 before and 0.0481 after correction. The Ratio of minimum to maximum transmission is 0.9597. The /2 correction factor is Not present. The absorption coefficient  of this material is 0.082 mm-1 at this wavelength ( = 0.71073Å) and the minimum and maximum transmissions are 0.716 and 0.746.

The structure was solved and the space group P-1 (# 2) determined by the ShelXT 2018/2 (Sheldrick, 2018) structure solution program using using dual methods and refined by full matrix least squares minimisation on F2 using version 2018/3 of ShelXL 2018/3 (Sheldrick, 2015). All non-hydrogen atoms were refined anisotropically. Hydrogen atom positions were calculated geometrically and refined using the riding model. Most hydrogen atom positions were calculated geometrically and refined using the riding model, but some hydrogen atoms were refined freely.

_refine_special_details: B-bound H atoms were identified from a difference map and freely refined. Some of the methyl H atoms were modelled as disordered over two sites.

The value of Z' is 0.5. This means that only half of the formula unit is present in the asymmetric unit, with the other half consisting of symmetry equivalent atoms.

Figure 1: One of the two unique complexes in MC21041. Displacement ellipsoids are at the 50% probability level and C-bound H atoms are not shown.

Data Plots: Diffraction Data

Data Plots: Refinement and Data

Table 1: Fractional Atomic Coordinates (×104) and Equivalent Isotropic Displacement Parameters (Å2×103) for MC21041. Ueq is defined as 1/3 of the trace of the orthogonalised Uij.

| Atom | x | y | z | Ueq |
| --- | --- | --- | --- | --- |
| Al1 | 5849.0(3) | 4140.4(2) | 7803.8(2) | 17.47(6) |
| C1 | 4887.2(10) | 4561.5(5) | 8450.9(4) | 16.48(16) |
| C2 | 5076.5(11) | 4257.7(5) | 9054.1(4) | 18.31(17) |
| C3 | 4334.4(12) | 4562.3(6) | 9509.3(4) | 23.5(2) |
| C4 | 3426.4(13) | 5174.0(7) | 9365.2(5) | 26.8(2) |
| C5 | 3245.1(12) | 5489.4(6) | 8770.0(5) | 23.5(2) |
| C6 | 3970.4(10) | 5181.8(5) | 8312.4(4) | 17.24(17) |
| C7 | 6136.5(12) | 3630.5(6) | 9161.7(4) | 21.06(19) |
| C8 | 5678.2(14) | 2852.2(6) | 9270.6(5) | 27.7(2) |
| C9 | 6733.8(17) | 2298.6(7) | 9276.8(5) | 35.8(3) |
| C10 | 8215.5(16) | 2490.3(8) | 9178.5(5) | 35.9(3) |
| C11 | 8642.1(14) | 3256.6(8) | 9094.1(5) | 31.5(2) |
| C12 | 7628.5(12) | 3832.4(6) | 9087.3(4) | 23.5(2) |
| C13 | 4080.8(16) | 2618.5(7) | 9375.7(6) | 37.7(3) |
| C14 | 9327(2) | 1879.9(10) | 9160.4(6) | 54.2(5) |
| C15 | 8150.8(12) | 4658.9(7) | 8985.3(5) | 26.8(2) |
| C16 | 3837.4(10) | 5489.6(5) | 7662.7(4) | 16.40(16) |
| C17 | 4801.8(11) | 6093.6(6) | 7270.4(5) | 19.60(18) |
| C18 | 4745.7(11) | 6321.0(6) | 6654.1(5) | 21.64(19) |
| C19 | 3761.5(11) | 5969.5(6) | 6420.1(4) | 21.13(18) |
| C20 | 2797.9(11) | 5382.8(6) | 6816.5(4) | 19.60(18) |
| C21 | 2817.3(10) | 5140.5(5) | 7437.1(4) | 17.07(17) |
| C22 | 5870.3(13) | 6495.5(7) | 7508.4(5) | 28.7(2) |
| C23 | 3731.5(14) | 6222.6(8) | 5751.0(5) | 32.3(2) |
| C24 | 1724.2(11) | 4521.5(6) | 7857.9(5) | 23.24(19) |
| C25 | 9177.7(10) | 4490.0(6) | 6762.4(4) | 19.92(18) |
| C26 | 9439.7(11) | 5102.7(6) | 6221.2(4) | 21.36(19) |
| C27 | 10457.0(11) | 5037.3(7) | 5716.9(5) | 25.4(2) |
| C28 | 11255.3(12) | 4378.6(8) | 5735.4(5) | 28.5(2) |
| C29 | 11008.9(12) | 3781.8(7) | 6270.8(5) | 28.5(2) |
| C30 | 9989.7(12) | 3824.6(6) | 6783.3(5) | 23.7(2) |
| C31 | 8646.8(13) | 5843.0(7) | 6181.8(5) | 27.6(2) |
| C32 | 12385.1(14) | 4327.6(10) | 5191.3(6) | 41.3(3) |
| C33 | 9838.7(15) | 3147.1(7) | 7344.8(5) | 32.0(2) |
| C34 | 6008.5(11) | 2968.3(6) | 6996.5(4) | 19.83(18) |
| C35 | 6213.8(11) | 3421.2(6) | 6387.0(5) | 21.08(18) |
| C36 | 7219.3(12) | 3210.4(7) | 5940.8(5) | 24.4(2) |
| C37 | 8031.0(12) | 2558.6(7) | 6076.7(5) | 26.7(2) |
| C38 | 7785.3(13) | 2095.7(7) | 6674.5(5) | 27.5(2) |
| C39 | 6792.3(12) | 2290.6(6) | 7132.1(5) | 23.4(2) |
| C40 | 5363.8(13) | 4134.4(7) | 6196.4(5) | 29.4(2) |
| C41 | 9161.3(15) | 2366.9(9) | 5588.6(6) | 39.8(3) |
| C42 | 6589.2(16) | 1777.2(7) | 7775.8(5) | 33.3(3) |
| B1 | 8021.8(13) | 4608.9(7) | 7320.9(5) | 22.4(2) |
| B2 | 4947.8(14) | 3205.1(7) | 7531.9(5) | 23.8(2) |
| Al51 | 860.3(3) | 8917.2(2) | 7823.4(2) | 17.26(6) |
| C51 | -45.5(10) | 8033.9(5) | 8478.3(4) | 17.26(17) |
| C52 | 196.3(11) | 7906.9(6) | 9073.4(4) | 20.98(18) |
| C53 | -402.9(13) | 7239.5(7) | 9523.5(5) | 29.2(2) |
| C54 | -1243.8(14) | 6703.7(7) | 9385.9(5) | 32.1(2) |
| C55 | -1498.1(12) | 6824.0(6) | 8800.4(5) | 26.4(2) |
| C56 | -897.1(10) | 7486.6(5) | 8345.0(4) | 18.58(17) |
| C57 | 1140.3(12) | 8497.5(6) | 9187.1(4) | 23.1(2) |
| C58 | 2629.7(12) | 8372.3(7) | 9185.8(4) | 26.0(2) |
| C59 | 3525.4(14) | 8973.9(8) | 9216.3(5) | 33.3(3) |
| C60 | 2987.2(16) | 9683.2(8) | 9254.0(5) | 37.2(3) |
| C61 | 1499.5(16) | 9781.8(7) | 9282.6(5) | 34.9(3) |
| C62 | 558.1(14) | 9200.5(7) | 9251.3(5) | 27.9(2) |
| C63 | 3256.2(13) | 7609.5(7) | 9152.9(5) | 30.9(2) |
| C64 | 3988(2) | 10332.9(10) | 9263.6(7) | 55.2(4) |
| C65 | -1052.5(15) | 9327.8(8) | 9300.5(6) | 34.9(3) |
| C66 | -1080.5(10) | 7639.0(5) | 7701.8(4) | 17.07(17) |
| C67 | -2143.7(10) | 8140.4(5) | 7487.6(4) | 18.05(17) |
| C68 | -2197.6(11) | 8337.2(6) | 6871.5(4) | 20.33(18) |
| C69 | -1236.4(11) | 8040.1(6) | 6465.2(5) | 21.35(19) |
| C70 | -214.9(11) | 7529.3(6) | 6688.2(5) | 22.03(19) |
| C71 | -117.0(11) | 7322.9(6) | 7299.0(5) | 20.28(18) |
| C72 | -3234.7(11) | 8452.6(7) | 7918.0(5) | 24.8(2) |
| C73 | -1304.1(14) | 8261.3(8) | 5800.0(5) | 31.9(2) |
| C74 | 1006.8(13) | 6770.6(7) | 7523.4(5) | 29.3(2) |
| C75 | 4208.2(10) | 9293.9(6) | 6804.7(4) | 19.58(18) |
| C76 | 4448.5(11) | 9065.4(6) | 6263.7(4) | 20.72(18) |
| C77 | 5441.5(11) | 9488.2(7) | 5752.4(5) | 24.6(2) |
| C78 | 6236.9(12) | 10132.3(7) | 5761.4(5) | 27.0(2) |
| C79 | 6017.5(12) | 10349.4(7) | 6296.3(5) | 27.4(2) |
| C80 | 5021.4(11) | 9942.7(6) | 6815.7(5) | 22.85(19) |
| C81 | 3657.1(13) | 8354.4(6) | 6232.2(5) | 27.3(2) |
| C82 | 7335.6(14) | 10572.3(9) | 5208.3(6) | 38.1(3) |
| C83 | 4897.6(14) | 10220.6(7) | 7375.7(5) | 30.5(2) |
| C84 | 1024.6(11) | 10632.4(5) | 6966.4(4) | 19.73(18) |
| C85 | 1252.6(11) | 10596.3(6) | 6361.6(5) | 21.10(18) |
| C86 | 2263.3(12) | 11111.0(6) | 5912.4(5) | 24.1(2) |
| C87 | 3059.3(12) | 11669.9(6) | 6041.7(5) | 27.0(2) |
| C88 | 2801.3(13) | 11721.5(6) | 6635.4(5) | 27.8(2) |
| C89 | 1799.3(12) | 11213.7(6) | 7094.9(5) | 23.7(2) |
| C90 | 412.0(13) | 10013.0(7) | 6179.8(5) | 28.9(2) |
| C91 | 4182.8(15) | 12201.7(8) | 5550.1(6) | 40.4(3) |
| C92 | 1571.4(16) | 11289.1(7) | 7734.3(5) | 33.7(3) |
| B51 | 3072.3(13) | 8785.5(7) | 7372.6(5) | 21.9(2) |
| B52 | -66.6(13) | 10034.4(7) | 7501.6(5) | 23.5(2) |

Table 2: Anisotropic Displacement Parameters (×104) for MC21041. The anisotropic displacement factor exponent takes the form: -22[h2a*2 × U11+ ... +2hka* × b* × U12]

| Atom | U11 | U22 | U33 | U23 | U13 | U12 |
| --- | --- | --- | --- | --- | --- | --- |
| Al1 | 18.17(14) | 19.21(14) | 15.06(12) | -6.24(10) | -1.22(10) | -0.36(10) |
| C1 | 17.2(4) | 16.7(4) | 15.4(4) | -5.0(3) | -2.0(3) | -2.6(3) |
| C2 | 21.1(4) | 17.9(4) | 15.8(4) | -4.9(3) | -2.8(3) | -2.5(3) |
| C3 | 30.2(5) | 25.6(5) | 15.2(4) | -7.1(4) | -3.3(4) | -0.5(4) |
| C4 | 31.4(5) | 31.2(5) | 20.0(4) | -13.3(4) | -1.7(4) | 4.5(4) |
| C5 | 25.5(5) | 24.5(5) | 22.8(5) | -10.7(4) | -4.2(4) | 4.9(4) |
| C6 | 16.8(4) | 18.3(4) | 17.1(4) | -6.0(3) | -3.0(3) | -2.0(3) |
| C7 | 29.6(5) | 20.4(4) | 12.6(4) | -3.5(3) | -4.3(3) | 2.4(4) |
| C8 | 43.9(6) | 20.7(5) | 17.3(4) | -4.1(4) | -5.1(4) | 1.1(4) |
| C9 | 66.3(9) | 21.6(5) | 18.6(5) | -4.2(4) | -8.5(5) | 10.7(5) |
| C10 | 56.4(8) | 36.1(6) | 14.5(4) | -5.6(4) | -8.8(5) | 23.3(6) |
| C11 | 35.2(6) | 43.0(7) | 15.3(4) | -5.4(4) | -6.6(4) | 15.1(5) |
| C12 | 28.8(5) | 28.7(5) | 12.6(4) | -4.3(4) | -5.5(3) | 5.1(4) |
| C13 | 50.2(8) | 25.1(5) | 34.1(6) | -7.2(5) | -0.9(5) | -11.5(5) |
| C14 | 82.5(12) | 54.3(9) | 25.7(6) | -10.7(6) | -12.7(7) | 44.5(9) |
| C15 | 24.7(5) | 35.2(6) | 20.5(4) | -7.7(4) | -4.6(4) | -2.3(4) |
| C16 | 16.1(4) | 16.2(4) | 17.0(4) | -5.2(3) | -2.8(3) | 1.8(3) |
| C17 | 18.1(4) | 16.6(4) | 23.6(4) | -5.3(3) | -3.0(3) | -0.3(3) |
| C18 | 20.0(4) | 18.1(4) | 22.6(4) | -1.6(3) | 0.0(3) | 0.4(3) |
| C19 | 22.1(5) | 21.7(4) | 17.7(4) | -3.6(3) | -2.4(3) | 5.3(4) |
| C20 | 19.4(4) | 21.3(4) | 19.2(4) | -6.6(3) | -5.4(3) | 2.9(3) |
| C21 | 15.0(4) | 17.5(4) | 18.5(4) | -5.0(3) | -3.1(3) | 1.5(3) |
| C22 | 28.9(5) | 24.6(5) | 32.4(5) | -6.8(4) | -6.6(4) | -9.2(4) |
| C23 | 38.1(6) | 36.3(6) | 18.2(5) | -1.4(4) | -4.7(4) | 2.3(5) |
| C24 | 17.9(4) | 26.3(5) | 23.3(5) | -3.6(4) | -3.7(4) | -5.7(4) |
| C25 | 16.4(4) | 27.3(5) | 17.7(4) | -9.0(4) | -3.2(3) | -2.8(3) |
| C26 | 18.2(4) | 29.1(5) | 18.3(4) | -9.0(4) | -3.7(3) | -2.4(4) |
| C27 | 19.8(5) | 39.3(6) | 17.3(4) | -8.8(4) | -2.8(3) | -2.2(4) |
| C28 | 19.5(5) | 47.9(7) | 22.8(5) | -17.6(5) | -4.5(4) | 4.3(4) |
| C29 | 25.1(5) | 37.2(6) | 29.3(5) | -17.0(5) | -8.6(4) | 7.2(4) |
| C30 | 22.3(5) | 28.0(5) | 23.8(5) | -10.2(4) | -7.2(4) | -0.6(4) |
| C31 | 31.5(6) | 28.2(5) | 21.9(5) | -6.4(4) | -3.0(4) | 0.5(4) |
| C32 | 27.2(6) | 74.4(10) | 26.7(6) | -22.9(6) | -3.5(5) | 13.2(6) |
| C33 | 38.8(6) | 26.6(5) | 30.9(6) | -6.7(4) | -9.9(5) | 0.8(5) |
| C34 | 20.6(4) | 20.0(4) | 21.7(4) | -10.2(4) | -4.6(3) | -1.0(3) |
| C35 | 20.7(4) | 23.2(5) | 22.5(4) | -10.0(4) | -6.5(4) | 1.4(4) |
| C36 | 24.8(5) | 29.7(5) | 20.8(4) | -10.3(4) | -4.6(4) | 0.7(4) |
| C37 | 25.0(5) | 32.0(5) | 27.5(5) | -16.1(4) | -4.4(4) | 3.9(4) |
| C38 | 31.7(6) | 25.5(5) | 30.6(5) | -14.2(4) | -9.5(4) | 8.3(4) |
| C39 | 29.5(5) | 19.9(4) | 23.5(5) | -9.2(4) | -7.3(4) | 0.4(4) |
| C40 | 33.5(6) | 32.4(6) | 25.5(5) | -10.1(4) | -11.1(4) | 10.6(5) |
| C41 | 36.4(7) | 50.4(8) | 36.1(6) | -23.1(6) | 0.4(5) | 11.0(6) |
| C42 | 52.6(8) | 22.2(5) | 25.8(5) | -7.0(4) | -8.7(5) | 4.1(5) |
| B1 | 18.8(5) | 30.8(6) | 17.1(5) | -6.9(4) | -2.1(4) | -1.5(4) |
| B2 | 25.7(6) | 22.4(5) | 24.8(5) | -11.3(4) | -1.3(4) | -2.3(4) |
| Al51 | 18.17(13) | 15.81(13) | 15.66(13) | -2.12(10) | -1.57(10) | 0.18(10) |
| C51 | 18.0(4) | 15.8(4) | 16.3(4) | -2.7(3) | -2.1(3) | 1.1(3) |
| C52 | 23.4(5) | 20.8(4) | 16.7(4) | -2.3(3) | -3.3(3) | -1.4(4) |
| C53 | 35.9(6) | 29.0(5) | 17.6(4) | 2.1(4) | -5.7(4) | -6.6(4) |
| C54 | 38.1(6) | 25.7(5) | 24.9(5) | 5.4(4) | -5.8(4) | -10.9(5) |
| C55 | 27.8(5) | 20.5(5) | 27.5(5) | -0.8(4) | -5.7(4) | -6.4(4) |
| C56 | 17.9(4) | 17.3(4) | 19.3(4) | -3.3(3) | -3.6(3) | 1.4(3) |
| C57 | 31.1(5) | 23.6(5) | 12.5(4) | -1.4(3) | -4.6(4) | -4.4(4) |
| C58 | 29.8(5) | 30.9(5) | 14.2(4) | -1.3(4) | -4.3(4) | -5.7(4) |
| C59 | 35.5(6) | 41.2(7) | 19.6(5) | -1.4(4) | -7.3(4) | -13.7(5) |
| C60 | 55.1(8) | 34.2(6) | 19.8(5) | -2.0(4) | -8.5(5) | -18.9(6) |
| C61 | 58.9(8) | 25.3(5) | 20.4(5) | -4.8(4) | -9.2(5) | -7.0(5) |
| C62 | 41.5(6) | 25.4(5) | 15.9(4) | -4.0(4) | -6.4(4) | -2.0(4) |
| C63 | 28.3(5) | 36.9(6) | 24.9(5) | -4.6(4) | -5.0(4) | 0.2(5) |
| C64 | 76.1(11) | 47.5(8) | 40.1(7) | -6.4(6) | -13.8(7) | -32.9(8) |
| C65 | 43.8(7) | 33.9(6) | 27.6(5) | -11.6(5) | -4.2(5) | 7.4(5) |
| C66 | 16.6(4) | 14.9(4) | 19.5(4) | -4.4(3) | -3.7(3) | -1.1(3) |
| C67 | 14.9(4) | 18.0(4) | 21.4(4) | -6.0(3) | -3.5(3) | -0.4(3) |
| C68 | 18.5(4) | 19.9(4) | 22.9(4) | -5.1(4) | -6.1(3) | 0.5(3) |
| C69 | 22.0(5) | 21.8(4) | 20.6(4) | -6.6(4) | -3.9(3) | -3.3(4) |
| C70 | 20.8(4) | 22.5(5) | 24.7(5) | -11.5(4) | -2.0(4) | 0.0(4) |
| C71 | 19.0(4) | 17.9(4) | 25.5(5) | -8.4(4) | -4.6(4) | 1.7(3) |
| C72 | 18.9(5) | 30.9(5) | 25.6(5) | -9.9(4) | -3.8(4) | 6.6(4) |
| C73 | 36.6(6) | 39.3(6) | 20.5(5) | -9.2(4) | -6.4(4) | 1.8(5) |
| C74 | 29.4(5) | 27.2(5) | 33.7(6) | -11.4(4) | -8.1(4) | 12.7(4) |
| C75 | 16.1(4) | 21.7(4) | 18.9(4) | -2.1(3) | -3.9(3) | 4.5(3) |
| C76 | 17.9(4) | 22.5(4) | 19.8(4) | -3.0(4) | -3.5(3) | 3.8(3) |
| C77 | 21.0(5) | 31.7(5) | 18.6(4) | -3.4(4) | -3.0(4) | 3.8(4) |
| C78 | 19.7(5) | 33.0(6) | 22.4(5) | 1.4(4) | -3.2(4) | -0.5(4) |
| C79 | 23.3(5) | 27.2(5) | 28.1(5) | -1.4(4) | -5.5(4) | -3.3(4) |
| C80 | 20.8(5) | 23.9(5) | 22.9(5) | -4.1(4) | -5.6(4) | 2.9(4) |
| C81 | 32.8(6) | 25.2(5) | 22.5(5) | -6.6(4) | -2.5(4) | 0.6(4) |
| C82 | 27.1(6) | 50.7(8) | 26.1(5) | 3.8(5) | -1.2(4) | -9.6(5) |
| C83 | 36.8(6) | 27.2(5) | 28.7(5) | -8.8(4) | -7.9(5) | 0.6(5) |
| C84 | 21.3(4) | 15.0(4) | 21.0(4) | -1.9(3) | -4.3(3) | 4.0(3) |
| C85 | 20.8(4) | 19.6(4) | 21.9(4) | -3.2(4) | -5.7(3) | 2.7(3) |
| C86 | 24.4(5) | 25.0(5) | 19.8(4) | -1.9(4) | -3.6(4) | 2.3(4) |
| C87 | 25.3(5) | 22.8(5) | 27.1(5) | 1.6(4) | -3.6(4) | -1.4(4) |
| C88 | 31.9(6) | 19.1(5) | 31.0(5) | -2.6(4) | -8.7(4) | -3.5(4) |
| C89 | 30.4(5) | 17.7(4) | 22.7(5) | -4.0(4) | -6.8(4) | 3.0(4) |
| C90 | 32.4(6) | 29.7(5) | 25.0(5) | -6.5(4) | -8.6(4) | -3.6(4) |
| C91 | 36.5(7) | 36.0(7) | 37.3(7) | 3.1(5) | 0.9(5) | -11.1(5) |
| C92 | 53.3(8) | 23.0(5) | 25.7(5) | -7.9(4) | -8.3(5) | -0.4(5) |
| B51 | 19.5(5) | 25.7(5) | 18.1(5) | -2.6(4) | -3.3(4) | 1.1(4) |
| B52 | 24.7(5) | 17.5(5) | 24.1(5) | -1.7(4) | -0.6(4) | 3.4(4) |

Table 3: Bond Lengths in Å for MC21041.

| Atom | Atom | Length/Å |  |
| --- | --- | --- | --- |
| Al1 | C1 | 1.9388(10) |
| C1 | C2 | 1.4072(13) |
| C1 | C6 | 1.4042(13) |
| C2 | C3 | 1.3928(13) |
| C2 | C7 | 1.4945(14) |
| C3 | C4 | 1.3895(16) |
| C4 | C5 | 1.3902(15) |
| C5 | C6 | 1.3951(13) |
| C6 | C16 | 1.4927(13) |
| C7 | C8 | 1.4063(15) |
| C7 | C12 | 1.4053(15) |
| C8 | C9 | 1.3935(17) |
| C8 | C13 | 1.5049(19) |
| C9 | C10 | 1.385(2) |
| C10 | C11 | 1.3874(19) |
| C10 | C14 | 1.5068(17) |
| C11 | C12 | 1.3953(16) |
| C12 | C15 | 1.5081(16) |
| C16 | C17 | 1.4050(13) |
| C16 | C21 | 1.3998(13) |
| C17 | C18 | 1.3935(14) |
| C17 | C22 | 1.5060(14) |
| C18 | C19 | 1.3899(15) |
| C19 | C20 | 1.3894(14) |
| C19 | C23 | 1.5067(14) |
| C20 | C21 | 1.3962(13) |
| C21 | C24 | 1.5063(13) |
| C25 | C26 | 1.4089(14) |
| C25 | C30 | 1.4056(15) |
| C25 | B1 | 1.5857(15) |
| C26 | C27 | 1.3939(14) |
| C26 | C31 | 1.5070(16) |
| C27 | C28 | 1.3892(17) |
| C28 | C29 | 1.3850(17) |
| C28 | C32 | 1.5090(15) |
| C29 | C30 | 1.3966(15) |
| C30 | C33 | 1.5069(16) |
| C34 | C35 | 1.4073(14) |
| C34 | C39 | 1.4078(14) |
| C34 | B2 | 1.5910(15) |
| C35 | C36 | 1.3940(14) |
| C35 | C40 | 1.5086(15) |
| C36 | C37 | 1.3858(16) |
| C37 | C38 | 1.3891(16) |
| C37 | C41 | 1.5083(16) |
| C38 | C39 | 1.3932(15) |
| C39 | C42 | 1.5073(15) |
| Al51 | C51 | 1.9374(10) |
| C51 | C52 | 1.4058(13) |
| C51 | C56 | 1.4042(13) |
| C52 | C53 | 1.3939(14) |
| C52 | C57 | 1.4940(14) |
| C53 | C54 | 1.3876(16) |
| C54 | C55 | 1.3894(16) |
| C55 | C56 | 1.3943(13) |
| C56 | C66 | 1.4926(13) |
| C57 | C58 | 1.4040(16) |
| C57 | C62 | 1.4067(16) |
| C58 | C59 | 1.3970(16) |
| C58 | C63 | 1.5027(17) |
| C59 | C60 | 1.387(2) |
| C60 | C61 | 1.387(2) |
| C60 | C64 | 1.5083(18) |
| C61 | C62 | 1.3960(17) |
| C62 | C65 | 1.5038(19) |
| C66 | C67 | 1.4047(13) |
| C66 | C71 | 1.4055(13) |
| C67 | C68 | 1.3933(13) |
| C67 | C72 | 1.5058(14) |
| C68 | C69 | 1.3902(14) |
| C69 | C70 | 1.3909(15) |
| C69 | C73 | 1.5059(14) |
| C70 | C71 | 1.3912(14) |
| C71 | C74 | 1.5054(14) |
| C75 | C76 | 1.4105(14) |
| C75 | C80 | 1.4050(15) |
| C75 | B51 | 1.5867(15) |
| C76 | C77 | 1.3936(14) |
| C76 | C81 | 1.5071(15) |
| C77 | C78 | 1.3873(16) |
| C78 | C79 | 1.3865(16) |
| C78 | C82 | 1.5096(15) |
| C79 | C80 | 1.3973(15) |
| C80 | C83 | 1.5077(15) |
| C84 | C85 | 1.4060(14) |
| C84 | C89 | 1.4043(14) |
| C84 | B52 | 1.5922(15) |
| C85 | C86 | 1.3927(14) |
| C85 | C90 | 1.5100(15) |
| C86 | C87 | 1.3846(16) |
| C87 | C88 | 1.3885(16) |
| C87 | C91 | 1.5076(16) |
| C88 | C89 | 1.3936(15) |
| C89 | C92 | 1.5097(15) |

Table 4: Bond Angles in ° for MC21041.

| Atom | Atom | Atom | Angle/° |  |
| --- | --- | --- | --- | --- |
| C2 | C1 | Al1 | 121.69(7) |
| C6 | C1 | Al1 | 118.90(7) |
| C6 | C1 | C2 | 119.41(8) |
| C1 | C2 | C7 | 116.50(8) |
| C3 | C2 | C1 | 119.96(9) |
| C3 | C2 | C7 | 123.50(9) |
| C4 | C3 | C2 | 119.91(9) |
| C3 | C4 | C5 | 120.89(9) |
| C4 | C5 | C6 | 119.59(10) |
| C1 | C6 | C16 | 116.93(8) |
| C5 | C6 | C1 | 120.23(9) |
| C5 | C6 | C16 | 122.83(9) |
| C8 | C7 | C2 | 120.47(10) |
| C12 | C7 | C2 | 119.21(9) |
| C12 | C7 | C8 | 119.96(10) |
| C7 | C8 | C13 | 120.88(11) |
| C9 | C8 | C7 | 118.72(12) |
| C9 | C8 | C13 | 120.40(11) |
| C10 | C9 | C8 | 122.20(12) |
| C9 | C10 | C11 | 118.21(11) |
| C9 | C10 | C14 | 120.54(14) |
| C11 | C10 | C14 | 121.25(14) |
| C10 | C11 | C12 | 121.82(12) |
| C7 | C12 | C15 | 121.25(9) |
| C11 | C12 | C7 | 118.99(11) |
| C11 | C12 | C15 | 119.74(11) |
| C17 | C16 | C6 | 119.88(8) |
| C21 | C16 | C6 | 119.77(8) |
| C21 | C16 | C17 | 120.21(9) |
| C16 | C17 | C22 | 120.98(9) |
| C18 | C17 | C16 | 118.74(9) |
| C18 | C17 | C22 | 120.28(9) |
| C19 | C18 | C17 | 121.82(9) |
| C18 | C19 | C23 | 120.74(10) |
| C20 | C19 | C18 | 118.65(9) |
| C20 | C19 | C23 | 120.60(10) |
| C19 | C20 | C21 | 121.21(9) |
| C16 | C21 | C24 | 120.77(8) |
| C20 | C21 | C16 | 119.34(9) |
| C20 | C21 | C24 | 119.88(9) |
| C26 | C25 | B1 | 117.64(9) |
| C30 | C25 | C26 | 118.37(9) |
| C30 | C25 | B1 | 123.95(9) |
| C25 | C26 | C31 | 120.64(9) |
| C27 | C26 | C25 | 120.36(10) |
| C27 | C26 | C31 | 118.99(10) |
| C28 | C27 | C26 | 121.37(10) |
| C27 | C28 | C32 | 120.65(11) |
| C29 | C28 | C27 | 118.09(10) |
| C29 | C28 | C32 | 121.24(11) |
| C28 | C29 | C30 | 122.10(11) |
| C25 | C30 | C33 | 122.89(10) |
| C29 | C30 | C25 | 119.70(10) |
| C29 | C30 | C33 | 117.40(10) |
| C35 | C34 | C39 | 118.27(9) |
| C35 | C34 | B2 | 122.23(9) |
| C39 | C34 | B2 | 119.49(9) |
| C34 | C35 | C40 | 121.81(9) |
| C36 | C35 | C34 | 119.85(10) |
| C36 | C35 | C40 | 118.34(9) |
| C37 | C36 | C35 | 121.95(10) |
| C36 | C37 | C38 | 118.10(10) |
| C36 | C37 | C41 | 120.65(11) |
| C38 | C37 | C41 | 121.24(11) |
| C37 | C38 | C39 | 121.41(10) |
| C34 | C39 | C42 | 120.36(10) |
| C38 | C39 | C34 | 120.33(10) |
| C38 | C39 | C42 | 119.30(10) |
| C52 | C51 | Al51 | 121.63(7) |
| C56 | C51 | Al51 | 118.84(7) |
| C56 | C51 | C52 | 119.44(8) |
| C51 | C52 | C57 | 117.26(8) |
| C53 | C52 | C51 | 119.84(9) |
| C53 | C52 | C57 | 122.88(9) |
| C54 | C53 | C52 | 120.13(10) |
| C53 | C54 | C55 | 120.62(10) |
| C54 | C55 | C56 | 119.82(10) |
| C51 | C56 | C66 | 117.15(8) |
| C55 | C56 | C51 | 120.14(9) |
| C55 | C56 | C66 | 122.69(9) |
| C58 | C57 | C52 | 119.83(10) |
| C58 | C57 | C62 | 120.22(10) |
| C62 | C57 | C52 | 119.79(10) |
| C57 | C58 | C63 | 121.09(10) |
| C59 | C58 | C57 | 118.57(11) |
| C59 | C58 | C63 | 120.35(11) |
| C60 | C59 | C58 | 122.15(12) |
| C59 | C60 | C61 | 118.27(11) |
| C59 | C60 | C64 | 121.07(14) |
| C61 | C60 | C64 | 120.66(14) |
| C60 | C61 | C62 | 121.82(12) |
| C57 | C62 | C65 | 121.34(11) |
| C61 | C62 | C57 | 118.85(12) |
| C61 | C62 | C65 | 119.79(11) |
| C67 | C66 | C56 | 120.20(8) |
| C67 | C66 | C71 | 119.93(9) |
| C71 | C66 | C56 | 119.72(9) |
| C66 | C67 | C72 | 120.69(9) |
| C68 | C67 | C66 | 119.26(9) |
| C68 | C67 | C72 | 120.04(9) |
| C69 | C68 | C67 | 121.52(9) |
| C68 | C69 | C70 | 118.41(9) |
| C68 | C69 | C73 | 120.87(10) |
| C70 | C69 | C73 | 120.71(10) |
| C69 | C70 | C71 | 121.87(9) |
| C66 | C71 | C74 | 120.65(9) |
| C70 | C71 | C66 | 118.98(9) |
| C70 | C71 | C74 | 120.37(9) |
| C76 | C75 | B51 | 117.97(9) |
| C80 | C75 | C76 | 118.18(9) |
| C80 | C75 | B51 | 123.82(9) |
| C75 | C76 | C81 | 120.66(9) |
| C77 | C76 | C75 | 120.35(10) |
| C77 | C76 | C81 | 118.98(9) |
| C78 | C77 | C76 | 121.49(10) |
| C77 | C78 | C82 | 120.83(11) |
| C79 | C78 | C77 | 118.12(10) |
| C79 | C78 | C82 | 121.03(11) |
| C78 | C79 | C80 | 121.88(11) |
| C75 | C80 | C83 | 122.75(9) |
| C79 | C80 | C75 | 119.96(10) |
| C79 | C80 | C83 | 117.28(10) |
| C85 | C84 | B52 | 121.97(9) |
| C89 | C84 | C85 | 118.22(9) |
| C89 | C84 | B52 | 119.81(9) |
| C84 | C85 | C90 | 121.57(9) |
| C86 | C85 | C84 | 120.01(10) |
| C86 | C85 | C90 | 118.42(9) |
| C87 | C86 | C85 | 121.80(10) |
| C86 | C87 | C88 | 118.19(10) |
| C86 | C87 | C91 | 120.62(11) |
| C88 | C87 | C91 | 121.19(11) |
| C87 | C88 | C89 | 121.30(10) |
| C84 | C89 | C92 | 120.39(10) |
| C88 | C89 | C84 | 120.41(10) |
| C88 | C89 | C92 | 119.20(10) |

Table 5: Torsion Angles in ° for MC21041.

| Atom | Atom | Atom | Atom | Angle/° |
| --- | --- | --- | --- | --- |
| Al1 | C1 | C2 | C3 | -178.21(8) |  |
| Al1 | C1 | C2 | C7 | 4.07(12) |  |
| Al1 | C1 | C6 | C5 | 178.99(7) |  |
| Al1 | C1 | C6 | C16 | -1.71(11) |  |
| C1 | C2 | C3 | C4 | -1.03(15) |  |
| C1 | C2 | C7 | C8 | -86.59(11) |  |
| C1 | C2 | C7 | C12 | 86.48(11) |  |
| C1 | C6 | C16 | C17 | -90.41(11) |  |
| C1 | C6 | C16 | C21 | 85.30(11) |  |
| C2 | C1 | C6 | C5 | -0.52(14) |  |
| C2 | C1 | C6 | C16 | 178.77(8) |  |
| C2 | C3 | C4 | C5 | -0.01(17) |  |
| C2 | C7 | C8 | C9 | 170.36(9) |  |
| C2 | C7 | C8 | C13 | -9.36(15) |  |
| C2 | C7 | C12 | C11 | -170.06(9) |  |
| C2 | C7 | C12 | C15 | 8.40(13) |  |
| C3 | C2 | C7 | C8 | 95.78(12) |  |
| C3 | C2 | C7 | C12 | -91.14(12) |  |
| C3 | C4 | C5 | C6 | 0.78(17) |  |
| C4 | C5 | C6 | C1 | -0.50(15) |  |
| C4 | C5 | C6 | C16 | -179.76(10) |  |
| C5 | C6 | C16 | C17 | 88.87(12) |  |
| C5 | C6 | C16 | C21 | -95.43(12) |  |
| C6 | C1 | C2 | C3 | 1.29(14) |  |
| C6 | C1 | C2 | C7 | -176.42(9) |  |
| C6 | C16 | C17 | C18 | 174.02(9) |  |
| C6 | C16 | C17 | C22 | -6.51(14) |  |
| C6 | C16 | C21 | C20 | -173.81(9) |  |
| C6 | C16 | C21 | C24 | 7.56(14) |  |
| C7 | C2 | C3 | C4 | 176.52(10) |  |
| C7 | C8 | C9 | C10 | -0.12(16) |  |
| C8 | C7 | C12 | C11 | 3.06(14) |  |
| C8 | C7 | C12 | C15 | -178.49(9) |  |
| C8 | C9 | C10 | C11 | 2.44(16) |  |
| C8 | C9 | C10 | C14 | -177.18(11) |  |
| C9 | C10 | C11 | C12 | -2.02(16) |  |
| C10 | C11 | C12 | C7 | -0.69(15) |  |
| C10 | C11 | C12 | C15 | -179.17(9) |  |
| C12 | C7 | C8 | C9 | -2.66(15) |  |
| C12 | C7 | C8 | C13 | 177.61(10) |  |
| C13 | C8 | C9 | C10 | 179.61(11) |  |
| C14 | C10 | C11 | C12 | 177.59(10) |  |
| C16 | C17 | C18 | C19 | 0.27(15) |  |
| C17 | C16 | C21 | C20 | 1.88(14) |  |
| C17 | C16 | C21 | C24 | -176.75(9) |  |
| C17 | C18 | C19 | C20 | 0.89(15) |  |
| C17 | C18 | C19 | C23 | -179.53(10) |  |
| C18 | C19 | C20 | C21 | -0.67(15) |  |
| C19 | C20 | C21 | C16 | -0.70(14) |  |
| C19 | C20 | C21 | C24 | 177.94(9) |  |
| C21 | C16 | C17 | C18 | -1.66(14) |  |
| C21 | C16 | C17 | C22 | 177.81(9) |  |
| C22 | C17 | C18 | C19 | -179.20(10) |  |
| C23 | C19 | C20 | C21 | 179.75(10) |  |
| C25 | C26 | C27 | C28 | -1.18(16) |  |
| C26 | C25 | C30 | C29 | -0.93(15) |  |
| C26 | C25 | C30 | C33 | 177.77(10) |  |
| C26 | C27 | C28 | C29 | 0.29(16) |  |
| C26 | C27 | C28 | C32 | -178.12(10) |  |
| C27 | C28 | C29 | C30 | 0.26(17) |  |
| C28 | C29 | C30 | C25 | 0.07(16) |  |
| C28 | C29 | C30 | C33 | -178.70(10) |  |
| C30 | C25 | C26 | C27 | 1.48(14) |  |
| C30 | C25 | C26 | C31 | -177.43(9) |  |
| C31 | C26 | C27 | C28 | 177.75(10) |  |
| C32 | C28 | C29 | C30 | 178.66(11) |  |
| C34 | C35 | C36 | C37 | 0.40(16) |  |
| C35 | C34 | C39 | C38 | 2.48(15) |  |
| C35 | C34 | C39 | C42 | -178.79(10) |  |
| C35 | C36 | C37 | C38 | 2.09(16) |  |
| C35 | C36 | C37 | C41 | -177.11(11) |  |
| C36 | C37 | C38 | C39 | -2.28(17) |  |
| C37 | C38 | C39 | C34 | 0.01(17) |  |
| C37 | C38 | C39 | C42 | -178.74(11) |  |
| C39 | C34 | C35 | C36 | -2.67(15) |  |
| C39 | C34 | C35 | C40 | 176.93(10) |  |
| C40 | C35 | C36 | C37 | -179.22(10) |  |
| C41 | C37 | C38 | C39 | 176.90(11) |  |
| B1 | C25 | C26 | C27 | 179.18(9) |  |
| B1 | C25 | C26 | C31 | 0.27(14) |  |
| B1 | C25 | C30 | C29 | -178.48(10) |  |
| B1 | C25 | C30 | C33 | 0.22(16) |  |
| B2 | C34 | C35 | C36 | 176.33(9) |  |
| B2 | C34 | C35 | C40 | -4.07(15) |  |
| B2 | C34 | C39 | C38 | -176.55(10) |  |
| B2 | C34 | C39 | C42 | 2.18(15) |  |
| Al51 | C51 | C52 | C53 | -176.06(9) |  |
| Al51 | C51 | C52 | C57 | 2.16(13) |  |
| Al51 | C51 | C56 | C55 | 176.58(8) |  |
| Al51 | C51 | C56 | C66 | -1.72(12) |  |
| C51 | C52 | C53 | C54 | -0.39(17) |  |
| C51 | C52 | C57 | C58 | -97.27(11) |  |
| C51 | C52 | C57 | C62 | 78.18(12) |  |
| C51 | C56 | C66 | C67 | -82.32(11) |  |
| C51 | C56 | C66 | C71 | 93.16(11) |  |
| C52 | C51 | C56 | C55 | 0.10(15) |  |
| C52 | C51 | C56 | C66 | -178.20(9) |  |
| C52 | C53 | C54 | C55 | 0.0(2) |  |
| C52 | C57 | C58 | C59 | 172.01(9) |  |
| C52 | C57 | C58 | C63 | -8.02(14) |  |
| C52 | C57 | C62 | C61 | -172.25(9) |  |
| C52 | C57 | C62 | C65 | 9.14(15) |  |
| C53 | C52 | C57 | C58 | 80.89(14) |  |
| C53 | C52 | C57 | C62 | -103.66(13) |  |
| C53 | C54 | C55 | C56 | 0.38(19) |  |
| C54 | C55 | C56 | C51 | -0.45(16) |  |
| C54 | C55 | C56 | C66 | 177.75(10) |  |
| C55 | C56 | C66 | C67 | 99.43(12) |  |
| C55 | C56 | C66 | C71 | -85.09(12) |  |
| C56 | C51 | C52 | C53 | 0.32(15) |  |
| C56 | C51 | C52 | C57 | 178.54(9) |  |
| C56 | C66 | C67 | C68 | 173.47(9) |  |
| C56 | C66 | C67 | C72 | -7.66(14) |  |
| C56 | C66 | C71 | C70 | -174.00(9) |  |
| C56 | C66 | C71 | C74 | 5.89(14) |  |
| C57 | C52 | C53 | C54 | -178.51(11) |  |
| C57 | C58 | C59 | C60 | 0.70(16) |  |
| C58 | C57 | C62 | C61 | 3.18(15) |  |
| C58 | C57 | C62 | C65 | -175.43(10) |  |
| C58 | C59 | C60 | C61 | 2.19(17) |  |
| C58 | C59 | C60 | C64 | -177.77(11) |  |
| C59 | C60 | C61 | C62 | -2.44(17) |  |
| C60 | C61 | C62 | C57 | -0.21(16) |  |
| C60 | C61 | C62 | C65 | 178.42(11) |  |
| C62 | C57 | C58 | C59 | -3.41(14) |  |
| C62 | C57 | C58 | C63 | 176.55(9) |  |
| C63 | C58 | C59 | C60 | -179.26(10) |  |
| C64 | C60 | C61 | C62 | 177.53(11) |  |
| C66 | C67 | C68 | C69 | 0.92(14) |  |
| C67 | C66 | C71 | C70 | 1.49(14) |  |
| C67 | C66 | C71 | C74 | -178.62(9) |  |
| C67 | C68 | C69 | C70 | 0.67(15) |  |
| C67 | C68 | C69 | C73 | -179.71(10) |  |
| C68 | C69 | C70 | C71 | -1.20(15) |  |
| C69 | C70 | C71 | C66 | 0.13(15) |  |
| C69 | C70 | C71 | C74 | -179.76(10) |  |
| C71 | C66 | C67 | C68 | -2.00(14) |  |
| C71 | C66 | C67 | C72 | 176.87(9) |  |
| C72 | C67 | C68 | C69 | -177.96(9) |  |
| C73 | C69 | C70 | C71 | 179.18(10) |  |
| C75 | C76 | C77 | C78 | 1.15(16) |  |
| C76 | C75 | C80 | C79 | 1.02(15) |  |
| C76 | C75 | C80 | C83 | -177.59(10) |  |
| C76 | C77 | C78 | C79 | -0.12(16) |  |
| C76 | C77 | C78 | C82 | 178.48(10) |  |
| C77 | C78 | C79 | C80 | -0.45(17) |  |
| C78 | C79 | C80 | C75 | -0.01(16) |  |
| C78 | C79 | C80 | C83 | 178.68(10) |  |
| C80 | C75 | C76 | C77 | -1.58(14) |  |
| C80 | C75 | C76 | C81 | 177.38(9) |  |
| C81 | C76 | C77 | C78 | -177.83(10) |  |
| C82 | C78 | C79 | C80 | -179.04(11) |  |
| C84 | C85 | C86 | C87 | -0.40(16) |  |
| C85 | C84 | C89 | C88 | -2.12(15) |  |
| C85 | C84 | C89 | C92 | 178.70(10) |  |
| C85 | C86 | C87 | C88 | -1.58(17) |  |
| C85 | C86 | C87 | C91 | 177.92(11) |  |
| C86 | C87 | C88 | C89 | 1.70(17) |  |
| C87 | C88 | C89 | C84 | 0.15(17) |  |
| C87 | C88 | C89 | C92 | 179.35(11) |  |
| C89 | C84 | C85 | C86 | 2.24(15) |  |
| C89 | C84 | C85 | C90 | -177.13(10) |  |
| C90 | C85 | C86 | C87 | 178.99(10) |  |
| C91 | C87 | C88 | C89 | -177.79(11) |  |
| B51 | C75 | C76 | C77 | -179.59(9) |  |
| B51 | C75 | C76 | C81 | -0.62(14) |  |
| B51 | C75 | C80 | C79 | 178.91(10) |  |
| B51 | C75 | C80 | C83 | 0.29(16) |  |
| B52 | C84 | C85 | C86 | -177.30(9) |  |
| B52 | C84 | C85 | C90 | 3.33(15) |  |
| B52 | C84 | C89 | C88 | 177.43(10) |  |
| B52 | C84 | C89 | C92 | -1.75(15) |  |

Table 6: Hydrogen Fractional Atomic Coordinates (×104) and Equivalent Isotropic Displacement Parameters (Å2×103) for MC21041. Ueq is defined as 1/3 of the trace of the orthogonalised Uij.

| Atom | x | y | z | Ueq |
| --- | --- | --- | --- | --- |
| H1A | 6836(15) | 4759(8) | 7189(6) | 26(3) |
| H1B | 7678(16) | 4035(8) | 7736(6) | 33(4) |
| H2A | 4720(15) | 3884(8) | 7394(6) | 28(3) |
| H2B | 5573(15) | 3179(8) | 7951(6) | 30(4) |
| H3 | 4448.82 | 4352.06 | 9917.86 | 28 |
| H4 | 2922.7 | 5379.4 | 9677.49 | 32 |
| H5 | 2631.08 | 5911.71 | 8675.59 | 28 |
| H9 | 6427.13 | 1772.19 | 9351.03 | 43 |
| H11 | 9652.18 | 3393.17 | 9039.35 | 38 |
| H13A | 3554.57 | 2745.18 | 9740.15 | 57 |
| H13B | 3971.61 | 2059.82 | 9432.37 | 57 |
| H13C | 3675.89 | 2898.22 | 9023.17 | 57 |
| H14A | 8998.31 | 1415.95 | 9498.94 | 81 |
| H14B | 10272.01 | 2078.49 | 9196.21 | 81 |
| H14C | 9431.85 | 1748.41 | 8774.43 | 81 |
| H15A | 8269.98 | 4936.62 | 8552.63 | 40 |
| H15B | 9091.95 | 4665.47 | 9112.79 | 40 |
| H15C | 7429.88 | 4911.69 | 9224.35 | 40 |
| H18 | 5398.17 | 6727.63 | 6386.55 | 26 |
| H20 | 2113.21 | 5142.14 | 6662.32 | 24 |
| H22A | 5338.16 | 6813.92 | 7750.66 | 43 |
| H22B | 6570.28 | 6826.28 | 7165.91 | 43 |
| H22C | 6397.9 | 6107.74 | 7763.39 | 43 |
| H23A | 4030.4 | 6773.65 | 5584.59 | 48 |
| H23B | 2737.22 | 6139.43 | 5693.17 | 48 |
| H23C | 4407.21 | 5919.45 | 5539.87 | 48 |
| H23D | 3419.49 | 5781.37 | 5627.16 | 48 |
| H23E | 4712.66 | 6415.59 | 5518.58 | 48 |
| H23F | 3042.67 | 6635.57 | 5671.88 | 48 |
| H24A | 2187.97 | 4022.39 | 7940.03 | 35 |
| H24B | 888.06 | 4487.06 | 7666.55 | 35 |
| H24C | 1385.21 | 4652.33 | 8240.92 | 35 |
| H27 | 10607.48 | 5451.74 | 5352.91 | 30 |
| H29 | 11550.48 | 3328.98 | 6290.17 | 34 |
| H31A | 7601.47 | 5738.85 | 6209.04 | 41 |
| H31B | 9045.83 | 6223.92 | 5793.28 | 41 |
| H31C | 8777.48 | 6047.55 | 6517.44 | 41 |
| H32A | 12158.67 | 4683.33 | 4821.88 | 62 |
| H32B | 12373.28 | 3796.74 | 5157.23 | 62 |
| H32C | 13357.26 | 4469.45 | 5241.48 | 62 |
| H33A | 9141.18 | 3261.51 | 7677.75 | 48 |
| H33B | 10793.75 | 3054.31 | 7461.61 | 48 |
| H33C | 9482.89 | 2684.79 | 7260.18 | 48 |
| H33D | 10470.7 | 2738.9 | 7255.28 | 48 |
| H33E | 8818.13 | 2946.09 | 7471.41 | 48 |
| H33F | 10128.99 | 3315.62 | 7672.85 | 48 |
| H36 | 7352.22 | 3522.77 | 5531.43 | 29 |
| H38 | 8305.44 | 1636.33 | 6773.42 | 33 |
| H40A | 4323.19 | 4015.81 | 6378.05 | 44 |
| H40B | 5490.06 | 4299.78 | 5752.14 | 44 |
| H40C | 5726.04 | 4550.93 | 6335.32 | 44 |
| H41A | 8853.69 | 2548.33 | 5196.53 | 60 |
| H41B | 9259.29 | 1805.11 | 5688.96 | 60 |
| H41C | 10105.41 | 2622.89 | 5563.2 | 60 |
| H42A | 6952.69 | 2056 | 8029.48 | 50 |
| H42B | 7135.99 | 1308.54 | 7781.23 | 50 |
| H42C | 5546.91 | 1633.1 | 7935.4 | 50 |
| H1C | 8221(16) | 5060(8) | 7537(7) | 33(4) |
| H2C | 3884(17) | 2899(9) | 7750(7) | 38(4) |
| H51B | 1918(15) | 8686(8) | 7234(6) | 28(3) |
| H51A | 2675(15) | 9099(8) | 7765(6) | 32(4) |
| H52A | -249(15) | 9437(8) | 7381(6) | 25(3) |
| H52B | 500(15) | 9793(8) | 7931(6) | 28(3) |
| H53 | -235.29 | 7151.4 | 9925.28 | 35 |
| H54 | -1649.37 | 6250.35 | 9694.9 | 39 |
| H55 | -2079.94 | 6455.76 | 8710.54 | 32 |
| H59 | 4536.28 | 8894.35 | 9210.92 | 40 |
| H61 | 1110.85 | 10258 | 9324.62 | 42 |
| H63A | 2779.84 | 7198.91 | 9510.44 | 46 |
| H63B | 4310.84 | 7635.86 | 9143.38 | 46 |
| H63C | 3086.61 | 7496.22 | 8783.28 | 46 |
| H64A | 3843.76 | 10386.19 | 9677.38 | 83 |
| H64B | 3763.25 | 10817.76 | 8986.57 | 83 |
| H64C | 5008.24 | 10216.83 | 9133.21 | 83 |
| H65A | -1337.63 | 9327.26 | 8917.75 | 52 |
| H65B | -1261.94 | 9827.43 | 9382.64 | 52 |
| H65C | -1607.53 | 8911.8 | 9633.26 | 52 |
| H68 | -2907.48 | 8682.29 | 6725.69 | 24 |
| H70 | 434.42 | 7315.23 | 6415.59 | 26 |
| H72A | -3516.33 | 8052.68 | 8307.01 | 37 |
| H72B | -4104.52 | 8601.42 | 7742.55 | 37 |
| H72C | -2793.32 | 8906.7 | 7984.62 | 37 |
| H73A | -2151.11 | 8576.43 | 5733.29 | 48 |
| H73B | -1399.17 | 7791.73 | 5672.27 | 48 |
| H73C | -406.06 | 8559.69 | 5561.54 | 48 |
| H73D | -486.45 | 8042.14 | 5578.11 | 48 |
| H73E | -1238.39 | 8826.84 | 5639.14 | 48 |
| H73F | -2231.5 | 8058.88 | 5749.86 | 48 |
| H74A | 1573.34 | 7000.9 | 7749.61 | 44 |
| H74B | 1666.04 | 6666.9 | 7175.74 | 44 |
| H74C | 512.69 | 6284.3 | 7791.04 | 44 |
| H77 | 5576.68 | 9331.72 | 5389.43 | 30 |
| H79 | 6559.8 | 10787.07 | 6310.11 | 33 |
| H81A | 3779.23 | 7914.32 | 6574.04 | 41 |
| H81B | 4064.22 | 8238.65 | 5848.45 | 41 |
| H81C | 2613.35 | 8448 | 6253.76 | 41 |
| H82A | 8324.38 | 10418.05 | 5259.33 | 57 |
| H82B | 7270.02 | 11129.44 | 5160.59 | 57 |
| H82C | 7125.5 | 10454.95 | 4846.09 | 57 |
| H83A | 3883.66 | 10138.6 | 7602.09 | 46 |
| H83B | 5184.35 | 10773.63 | 7255.11 | 46 |
| H83C | 5544.23 | 9930.11 | 7633.94 | 46 |
| H83D | 5857.83 | 10422.96 | 7392.01 | 46 |
| H83E | 4557.14 | 9787.93 | 7738.98 | 46 |
| H83F | 4197.27 | 10631.45 | 7360.15 | 46 |
| H86 | 2410.66 | 11077.69 | 5506.08 | 29 |
| H88 | 3318.13 | 12110.69 | 6730.14 | 33 |
| H90A | 758.7 | 9494.66 | 6337.17 | 43 |
| H90B | 565.55 | 10145.44 | 5735.24 | 43 |
| H90C | -633.69 | 10020.46 | 6349.16 | 43 |
| H91A | 5131.03 | 11960.75 | 5527.12 | 61 |
| H91B | 4271.95 | 12694.99 | 5645.16 | 61 |
| H91C | 3875.59 | 12294.86 | 5158.55 | 61 |
| H92A | 525.75 | 11329.07 | 7886.27 | 51 |
| H92B | 2111.65 | 11754.88 | 7733.49 | 51 |
| H92C | 1928.81 | 10832.34 | 7998.2 | 51 |
| H51C | 3327(16) | 8205(9) | 7608(7) | 35(4) |
| H52C | -1165(17) | 10185(9) | 7692(7) | 38(4) |

Table 7: Atomic Occupancies for all atoms that are not fully occupied in MC21041.

| Atom | Occupancy |
| --- | --- |
| H23A | 0.5 |
| H23B | 0.5 |
| H23C | 0.5 |
| H23D | 0.5 |
| H23E | 0.5 |
| H23F | 0.5 |
| H33A | 0.5 |
| H33B | 0.5 |
| H33C | 0.5 |
| H33D | 0.5 |
| H33E | 0.5 |
| H33F | 0.5 |
| H73A | 0.5 |
| H73B | 0.5 |
| H73C | 0.5 |
| H73D | 0.5 |
| H73E | 0.5 |
| H73F | 0.5 |
| H83A | 0.5 |
| H83B | 0.5 |
| H83C | 0.5 |
| H83D | 0.5 |
| H83E | 0.5 |
| H83F | 0.5 |

Citations

O.V. Dolomanov and L.J. Bourhis and R.J. Gildea and J.A.K. Howard and H. Puschmann, Olex2: A complete structure solution, refinement and analysis program, J. Appl. Cryst., (2009), 42, 339-341.

SADABS, Bruker axs, Madison, WI (?).

SAINT - Software for the Integration of CCD Detector System Bruker Analytical X-ray Systems, Bruker axs, Madison, WI (?).

Sheldrick, G.M., Crystal structure refinement with ShelXL, Acta Cryst., (2015), C71, 3-8.

Sheldrick, G.M., ShelXT-Integrated space-group and crystal-structure determination, Acta Cryst., (2015), A71, 3-8.

#===============================================================================

# PLATON/CHECK-(260221) versus check.def version 210218, Entry: mc21041

# Data: MC21041.cif - Type: CIF                  Bond Precision   C-C = 0.0016 A

# Refl: MC21041.fcf - Type: LIST4                                   Temp = 100 K

# Audit:OLEX2 1.3 (COMPILED 2020.11.12 SVN.R5F609507 FOR OLEXSYS, GUI SVN.R6272)

# Refin:SHELXL 2018/3 (SHELDRICK, 2015)

# X-ray MoKa              R(int) = 0.039,  wR2/R(int) =  3.0,  Nref/Npar =  25.5

# Cell   9.3191(9) 17.9862(16)   23.336(2)    73.958(2)    78.896(2)   89.569(2)

# Wavelength 0.71073  Volume Reported       3684.4(6) Calculated       3684.5(6)

# SpaceGroup from Symmetry P -1         Hall: -P 1                     triclinic

#                 Reported P -1               -P 1                     triclinic

# MoietyFormula C42 H53 Al B2

#      Reported 4(C42 H53 Al B2)

#    SumFormula C42 H53 Al B2

#      Reported C168 H212 Al4 B8

# Mr        =    606.44[Calc],   2425.76[Rep]           Volume/NonHatoms =  20.5

# Dx,gcm-3  =     1.093[Calc],     1.093[Rep]

# Z         =         4[Calc],         1[Rep]

# Mu (mm-1) =     0.082[Calc],     0.082[Rep]  Xtal Size =  0.234x0.306x0.306 mm

# F000      =    1312.0[Calc],    1312.0[Rep]  or F000' =   1312.64[Calc]

# Reported   T Limits: Tmin=0.716              Tmax=0.746  AbsCorr = MULTI-SCAN

# Calculated T Limits: Tmin=0.975 Tmin'=0.975  Tmax=0.981

# Measured   HKL: Reported 187187, Embedded 187187, <Mult>  8.3

# Reported   Hmax= 13, Kmax= 25, Lmax= 33, Nref=  22498        , Th(max)= 30.565

# Obs in FCF Hmax= 13, Kmax= 25, Lmax= 33, Nref=  22498[ 22498], Th(max)= 30.565

# Calculated Hmax= 13, Kmax= 25, Lmax= 33, Nref=  22623        , Ratio  =  0.994

# Reported   Rho(min) = -0.29, Rho(max) =  0.32 e/Ang**3 (From CIF)

# Calculated Rho(min) = -0.28, Rho(max) =  0.33 e/Ang**3 (From CIF+FCF data)

# w=1/[<sup>2</sup>(Fo<sup>2</sup>)+(0.0535P)<sup>2</sup>+1.2439P], P=(Fo<sup>2</sup>+2Fc<sup>2</sup>)/3

# R= 0.0416( 18529), wR2= 0.1168( 22498), S = 1.030      (From CIF+FCF data)

# R= 0.0416( 18529), wR2= 0.1168( 22498), S = 1.030      (From FCF data only)

# R= 0.0416( 18528), wR2= 0.1168( 22498), S = 1.030, Npar=  883

#===============================================================================

# For Documentation:https://www.platonsoft.nl/CIF-VALIDATION.pdf

#===============================================================================

*

#===============================================================================

#>>> The Following Improvement and Query ALERTS were generated - (Acta-Mode) <<<

#===============================================================================

Format: alert-number_ALERT_alert-type_alert-level text

220_ALERT_2_C NonSolvent   Resd 1  C   Ueq(max)/Ueq(min) Range        3.3 Ratio

220_ALERT_2_C NonSolvent   Resd 2  C   Ueq(max)/Ueq(min) Range        3.2 Ratio

356_ALERT_3_C Short   X-BH3      Distance  B1       - H1C            1.10 Ang.

356_ALERT_3_C Short   X-BH3      Distance  B2       - H2C            1.10 Ang.

356_ALERT_3_C Short   X-BH3      Distance  B51      - H51C           1.09 Ang.

356_ALERT_3_C Short   X-BH3      Distance  B52      - H52C           1.10 Ang.

910_ALERT_3_C Missing # of FCF Reflection(s) Below Theta(Min).          6 Note

#===============================================================================

042_ALERT_1_G Calc. and Reported MoietyFormula Strings  Differ     Please Check

045_ALERT_1_G Calculated and Reported Z Differ by a Factor ...       4.00 Check

154_ALERT_1_G The s.u.'s on the Cell Angles are Equal ..(Note)      0.002 Degree

300_ALERT_4_G Atom Site Occupancy of H23A       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H23B       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H23C       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H23D       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H23E       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H23F       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H33A       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H33B       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H33C       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H33D       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H33E       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H33F       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H73A       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H73B       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H73C       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H73D       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H73E       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H73F       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H83A       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H83B       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H83C       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H83D       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H83E       Constrained at        0.5 Check

300_ALERT_4_G Atom Site Occupancy of H83F       Constrained at        0.5 Check

303_ALERT_2_G Full Occupancy Atom H1A       with # Connections       2.00 Check

303_ALERT_2_G Full Occupancy Atom H1B       with # Connections       2.00 Check

303_ALERT_2_G Full Occupancy Atom H2A       with # Connections       2.00 Check

303_ALERT_2_G Full Occupancy Atom H2B       with # Connections       2.00 Check

303_ALERT_2_G Full Occupancy Atom H51A      with # Connections       2.00 Check

303_ALERT_2_G Full Occupancy Atom H51B      with # Connections       2.00 Check

303_ALERT_2_G Full Occupancy Atom H52A      with # Connections       2.00 Check

303_ALERT_2_G Full Occupancy Atom H52B      with # Connections       2.00 Check

367_ALERT_2_G Long?  C(sp?)-C(sp?) Bond  C19      - C23      .       1.51 Ang.

367_ALERT_2_G Long?  C(sp?)-C(sp?) Bond  C30      - C33      .       1.51 Ang.

367_ALERT_2_G Long?  C(sp?)-C(sp?) Bond  C69      - C73      .       1.51 Ang.

367_ALERT_2_G Long?  C(sp?)-C(sp?) Bond  C80      - C83      .       1.51 Ang.

412_ALERT_2_G Short Intra XH3 .. XHn     H1B      ..H33A     .       1.95 Ang.

x,y,z  =      1_555 Check

412_ALERT_2_G Short Intra XH3 .. XHn     H51A     ..H83A     .       2.09 Ang.

x,y,z  =      1_555 Check

412_ALERT_2_G Short Intra XH3 .. XHn     H51A     ..H83E     .       2.14 Ang.

x,y,z  =      1_555 Check

912_ALERT_4_G Missing # of FCF Reflections Above STh/L=  0.600        119 Note

978_ALERT_2_G Number C-C Bonds with Positive Residual Density.         19 Info

#===============================================================================

ALERT_Level and ALERT_Type Summary

==================================

7 ALERT_Level_C = Check. Ensure it is Not caused by an Omission or Oversight

44 ALERT_Level_G = General Info/Check that it is not Something Unexpected

3 ALERT_Type_1 CIF Construction/Syntax Error, Inconsistent or Missing Data.

18 ALERT_Type_2 Indicator that the Structure Model may be Wrong or Deficient.

5 ALERT_Type_3 Indicator that the Structure Quality may be Low.

25 ALERT_Type_4 Improvement, Methodology, Query or Suggestion.

#===============================================================================

0 Missing  Experimental  Info Issue(s) (Out of  64 Tests) -  100 % Satisfied

0 Experimental  Data  Related Issue(s) (Out of  35 Tests) -  100 % Satisfied

43 Structural  Model   Related Issue(s) (Out of 136 Tests) -   68 % Satisfied

8 Unresolved or to be Checked Issue(s) (Out of 269 Tests) -   97 % Satisfied

*