MC22009

Submitted by: 	Alex Beaton Garcia

Solved by: 	Gary S Nichol

Sample ID: 	ABG-0549

R1=4.36%

Compound ABG-0549 was provided as crystals suitable for single crystal X-ray diffraction, yielding structure MC22009.

Crystal Data and Experimental

Experimental. Single colourless block-shaped crystals of MC22009 recrystallised from a mixture of toluene and hexane by slow evaporation. A suitable crystal with dimensions 0.43 × 0.25 × 0.17 mm3 was selected and mounted on a MITIGEN holder in Paratone oil on a Rigaku Oxford Diffraction SuperNova diffractometer. The crystal was kept at a steady T = 120.01(10) K during data collection. The structure was solved with the ShelXT 2018/2 (Sheldrick, 2018) solution program using dual methods and by using Olex2 1.5-beta (Dolomanov et al., 2009) as the graphical interface. The model was refined with ShelXL 2018/3 (Sheldrick, 2015) using full matrix least squares minimisation on F2.

Crystal Data.  C27H29AlN2, Mr = 408.50, orthorhombic, Pca21 (No. 29), a = 13.85276(5) Å, b = 27.33166(10) Å, c = 12.39473(4) Å,  =  =  = 90°, V = 4692.88(3) Å3, T = 120.01(10) K, Z = 8, Z' = 2, (Cu K) = 0.854, 77255 reflections measured, 9526 unique (Rint = 0.0692) which were used in all calculations. The final wR2 was 0.1136 (all data) and R1 was 0.0436 (I≥2 (I)).

| Compound | MC22009 |
| --- | --- |
| Formula | C27H29AlN2 |
| Dcalc./ g cm-3 | 1.156 |
| /mm-1 | 0.854 |
| Formula Weight | 408.50 |
| Colour | colourless |
| Shape | block-shaped |
| Size/mm3 | 0.43×0.25×0.17 |
| T/K | 120.01(10) |
| Crystal System | orthorhombic |
| Flack Parameter | 0.003(11) |
| Hooft Parameter | -0.009(8) |
| Space Group | Pca21 |
| a/Å | 13.85276(5) |
| b/Å | 27.33166(10) |
| c/Å | 12.39473(4) |
| /° | 90 |
| /° | 90 |
| /° | 90 |
| V/Å3 | 4692.88(3) |
| Z | 8 |
| Z' | 2 |
| Wavelength/Å | 1.54184 |
| Radiation type | Cu K |
| min/° | 3.577 |
| max/° | 76.021 |
| Measured Refl's. | 77255 |
| Indep't Refl's | 9526 |
| Refl's I≥2 (I) | 9419 |
| Rint | 0.0692 |
| Parameters | 565 |
| Restraints | 1 |
| Largest Peak | 0.279 |
| Deepest Hole | -0.441 |
| GooF | 1.045 |
| wR2 (all data) | 0.1136 |
| wR2 | 0.1130 |
| R1 (all data) | 0.0439 |
| R1 | 0.0436 |

Structure Quality Indicators

| Reflections: |  |
| --- | --- |
| Refinement: |  |

A colourless block-shaped-shaped crystal with dimensions 0.43 × 0.25 × 0.17 mm3 was mounted on a MITIGEN holder in Paratone oil. Data were collected using a Rigaku Oxford Diffraction SuperNova diffractometer equipped with an Oxford Cryosystems Cryostream 700+ low-temperature device operating at T = 120.01(10) K.

Data were measured using  scans with Cu K radiation. The diffraction pattern was indexed and the total number of runs and images was based on the strategy calculation from the program CrysAlisPro 1.171.41.123a (Rigaku OD, 2022). The maximum resolution that was achieved was  = 76.021° (0.79 Å).

The unit cell was refined using CrysAlisPro 1.171.41.123a (Rigaku OD, 2022) on 53289 reflections, 69% of the observed reflections.

Data reduction, scaling and absorption corrections were performed using CrysAlisPro 1.171.41.123a (Rigaku OD, 2022). The final completeness is 99.60 % out to 76.021° in . A multi-scan absorption correction was performed using CrysAlisPro 1.171.41.123a (Rigaku Oxford Diffraction, 2022) Spherical absorption correction using equivalent radius and absorption coefficient. Empirical absorption correction using spherical harmonics, implemented in SCALE3 ABSPACK scaling algorithm..  The absorption coefficient  of this material is 0.854 mm-1 at this wavelength ( = 1.54184Å) and the minimum and maximum transmissions are 0.826 and 0.830.

The structure was solved and the space group Pca21 (# 29) determined by the ShelXT 2018/2 (Sheldrick, 2018) structure solution program using using dual methods and refined by full matrix least squares minimisation on F2 using version 2018/3 of ShelXL 2018/3 (Sheldrick, 2015). All non-hydrogen atoms were refined anisotropically. Hydrogen atom positions were calculated geometrically and refined using the riding model. Most hydrogen atom positions were calculated geometrically and refined using the riding model, but some hydrogen atoms were refined freely.

_refine_special_details: Al-bound H atoms freely refined.

The value of Z' is 2. This means that there are two independent molecules in the asymmetric unit.

The Flack parameter was refined to 0.003(11). Determination of absolute structure using Bayesian statistics on Bijvoet differences using the Olex2 results in -0.009(8). Note: The Flack parameter is used to determine chirality of the crystal studied, the value should be near 0, a value of 1 means that the stereochemistry is wrong and the model should be inverted. A value of 0.5 means that the crystal consists of a racemic mixture of the two enantiomers.

Figure 1: One of the two unique complexes in MC22009. Displacement ellipsoids are at the 50% probability level. C-bound H atoms are not shown.

Data Plots: Diffraction Data

Data Plots: Refinement and Data

Reflection Statistics

| Total reflections (after filtering) | 79560 | Unique reflections | 9526 |
| --- | --- | --- | --- |
| Completeness | 0.97 | Mean I/ | 26.6 |
| hklmax collected | (13, 34, 15) | hklmin collected | (-17, -34, -15) |
| hklmax used | (17, 34, 15) | hklmin used | (0, 0, -15) |
| Lim dmax collected | 100.0 | Lim dmin collected | 0.77 |
| dmax used | 12.39 | dmin used | 0.79 |
| Friedel pairs | 7783 | Friedel pairs merged | 0 |
| Inconsistent equivalents | 2 | Rint | 0.0692 |
| Rsigma | 0.0295 | Intensity transformed | 0 |
| Omitted reflections | 0 | Omitted by user (OMIT hkl) | 0 |
| Multiplicity | (9748, 5527, 3558, 2729, 1494, 997, 798, 541, 338, 258, 217, 175, 96, 63, 75, 21, 6) | Maximum multiplicity | 33 |
| Removed systematic absences | 2305 | Filtered off (Shel/OMIT) | 0 |

Table 1: Fractional Atomic Coordinates (×104) and Equivalent Isotropic Displacement Parameters (Å2×103) for MC22009. Ueq is defined as 1/3 of the trace of the orthogonalised Uij.

| Atom | x | y | z | Ueq |
| --- | --- | --- | --- | --- |
| Al1 | 5696.0(4) | 3477.9(2) | 4397.0(5) | 20.27(15) |
| N1 | 5701.4(12) | 2759.1(6) | 4396.7(15) | 20.4(3) |
| N2 | 5939.3(16) | 1235.0(8) | 4395.6(18) | 34.0(4) |
| C1 | 4793.9(13) | 3739.1(7) | 5531.4(17) | 20.4(4) |
| C2 | 5080.9(14) | 4160.2(8) | 6121.9(17) | 22.0(4) |
| C3 | 4613.9(16) | 4297.6(8) | 7084.0(19) | 26.1(4) |
| C4 | 3830.6(17) | 4025.1(9) | 7458.4(19) | 29.2(4) |
| C5 | 3499.2(15) | 3630.2(8) | 6864.0(18) | 26.2(4) |
| C6 | 3967.0(15) | 3487.8(7) | 5911.4(18) | 22.3(4) |
| C7 | 5869.9(14) | 4475.7(7) | 5694.4(18) | 22.4(4) |
| C8 | 6592.9(15) | 4669.3(8) | 6354.7(19) | 25.6(4) |
| C9 | 7336.7(15) | 4950.0(8) | 5915(2) | 27.4(4) |
| C10 | 7386.3(15) | 5042.9(7) | 4810(2) | 26.1(4) |
| C11 | 6654.8(15) | 4856.6(8) | 4154.7(19) | 24.9(4) |
| C12 | 5904.7(14) | 4581.0(7) | 4590.4(18) | 23.0(4) |
| C13 | 8205.2(17) | 5336.0(9) | 4333(2) | 36.9(5) |
| C14 | 3576.8(13) | 3065.9(7) | 5291.2(17) | 21.4(4) |
| C15 | 3466.3(14) | 2605.3(8) | 5768.6(18) | 24.9(4) |
| C16 | 3151.8(15) | 2205.0(8) | 5169(2) | 26.1(4) |
| C17 | 2926.3(14) | 2252.0(8) | 4075.0(19) | 25.5(4) |
| C18 | 3003.5(15) | 2714.9(8) | 3611.0(19) | 26.8(4) |
| C19 | 3326.4(14) | 3116.4(8) | 4203.5(18) | 24.7(4) |
| C20 | 2643.6(18) | 1814.6(9) | 3410(2) | 34.2(5) |
| C21 | 6172.3(15) | 2516.8(8) | 5188.7(18) | 24.1(4) |
| C22 | 6277.2(15) | 2016.0(8) | 5218.2(17) | 25.1(4) |
| C23 | 5868.6(15) | 1726.4(8) | 4389.2(18) | 23.8(4) |
| C24 | 5379.4(16) | 1982.3(8) | 3556.6(17) | 23.5(4) |
| C25 | 5325.6(14) | 2485.3(8) | 3591.8(17) | 21.3(4) |
| C26 | 5464(3) | 937.8(9) | 3580(3) | 45.7(7) |
| C27 | 6522(2) | 987.1(9) | 5210(2) | 41.1(6) |
| Al51 | 9779.7(5) | 1533.6(2) | 5627.4(5) | 24.51(16) |
| N51 | 9784.8(12) | 2248.9(6) | 5671.1(16) | 22.3(3) |
| N52 | 9923.0(14) | 3777.4(7) | 5682.7(19) | 30.9(4) |
| C51 | 10173.9(14) | 1300.5(8) | 4158.5(18) | 23.2(4) |
| C52 | 10009.6(15) | 1565.2(8) | 3198.7(19) | 24.2(4) |
| C53 | 10398.6(17) | 1416.7(9) | 2205.0(18) | 26.8(4) |
| C54 | 10980.3(17) | 1002.4(9) | 2143.7(19) | 29.8(5) |
| C55 | 11162.4(16) | 735.7(8) | 3073.4(19) | 28.0(4) |
| C56 | 10756.6(15) | 875.7(8) | 4064.8(18) | 24.2(4) |
| C57 | 9446.9(15) | 2034.6(8) | 3169.5(17) | 23.5(4) |
| C58 | 9947.2(16) | 2477.9(8) | 3108.7(19) | 25.2(4) |
| C59 | 9458.0(16) | 2916.7(8) | 2965.1(18) | 26.6(4) |
| C60 | 8455.0(16) | 2928.7(9) | 2874.8(17) | 27.1(4) |
| C61 | 7953.0(16) | 2487.8(9) | 2966.9(18) | 27.8(4) |
| C62 | 8442.7(15) | 2045.2(9) | 3116.4(18) | 26.9(4) |
| C63 | 7943.0(19) | 3405.2(10) | 2655(2) | 34.7(5) |
| C64 | 10975.2(16) | 568.1(8) | 5024.3(18) | 26.8(4) |
| C65 | 11925.5(17) | 441.9(8) | 5282.1(19) | 29.7(4) |
| C66 | 12131(2) | 163.8(9) | 6196(2) | 35.3(5) |
| C67 | 11395(2) | 1.3(9) | 6879(2) | 37.2(6) |
| C68 | 10451(2) | 120.4(9) | 6611(2) | 36.4(5) |
| C69 | 10238.5(17) | 398.1(8) | 5698(2) | 32.1(5) |
| C70 | 11611(3) | -305.9(12) | 7865(3) | 52.2(8) |
| C71 | 10635.4(14) | 2490.7(8) | 5743.4(18) | 24.8(4) |
| C72 | 10718.8(14) | 2991.1(8) | 5761.5(19) | 25.5(4) |
| C73 | 9874.5(15) | 3285.3(8) | 5696.0(18) | 24.1(4) |
| C74 | 8986.6(14) | 3031.2(8) | 5633.5(18) | 24.5(4) |
| C75 | 8977.8(14) | 2528.4(8) | 5621.7(18) | 23.7(4) |
| C76 | 9046(2) | 4073.1(9) | 5725(3) | 40.8(6) |
| C77 | 10840(2) | 4026.9(10) | 5857(3) | 45.4(7) |

Table 2: Anisotropic Displacement Parameters (×104) for MC22009. The anisotropic displacement factor exponent takes the form: -22[h2a*2 × U11+ ... +2hka* × b* × U12]

| Atom | U11 | U22 | U33 | U23 | U13 | U12 |
| --- | --- | --- | --- | --- | --- | --- |
| Al1 | 19.3(3) | 21.8(3) | 19.7(3) | -1.7(2) | 0.8(2) | 0.07(19) |
| N1 | 19.4(8) | 22.6(8) | 19.2(8) | -2.5(7) | 1.9(6) | 1.8(6) |
| N2 | 46.5(11) | 24.5(9) | 30.9(10) | 3.7(8) | -7.8(9) | 1.3(8) |
| C1 | 18.6(8) | 20.2(9) | 22.2(9) | 0.4(8) | -0.8(6) | 1.9(7) |
| C2 | 19.7(8) | 21.6(9) | 24.6(10) | 0.3(8) | -2.1(7) | 2.7(7) |
| C3 | 27.3(10) | 23.2(9) | 27.9(10) | -4.8(8) | 1.1(8) | 1.9(8) |
| C4 | 28.7(10) | 31.2(11) | 27.6(10) | -4.0(9) | 6.9(8) | 4.0(8) |
| C5 | 22.2(9) | 28.1(10) | 28.3(10) | 1.8(8) | 5.7(8) | 0.2(8) |
| C6 | 20.2(9) | 22.5(9) | 24.3(9) | 1.0(7) | -0.7(7) | 1.7(7) |
| C7 | 20.0(8) | 17.6(8) | 29.4(10) | -2.7(8) | -1.1(8) | 2.6(7) |
| C8 | 26.7(10) | 21.8(9) | 28.3(10) | -2.6(8) | -3.4(8) | -0.1(7) |
| C9 | 24.2(10) | 21.1(9) | 36.8(12) | -3.0(8) | -7.7(8) | -2.9(7) |
| C10 | 19.5(9) | 20.0(8) | 38.7(12) | 1.8(8) | -3.2(8) | -0.5(7) |
| C11 | 23.5(9) | 22.1(9) | 29.3(10) | 2.9(8) | -2.6(8) | -0.8(7) |
| C12 | 19.4(8) | 20.3(8) | 29.4(10) | -0.7(8) | -2.7(7) | -0.7(7) |
| C13 | 25.6(10) | 33.0(11) | 52.2(15) | 8.1(11) | -4.0(10) | -9.8(9) |
| C14 | 14.4(8) | 23.7(9) | 26.0(10) | 0.6(8) | 1.0(7) | 0.0(7) |
| C15 | 23.1(9) | 26.5(10) | 25.1(10) | 3.4(8) | 1.2(8) | -0.8(7) |
| C16 | 23.2(9) | 24.6(10) | 30.7(11) | 3.7(8) | 1.4(8) | -2.2(7) |
| C17 | 16.3(8) | 27.5(10) | 32.9(11) | -2.4(8) | -1.6(8) | -3.2(7) |
| C18 | 23.6(10) | 31.0(11) | 25.8(10) | 1.0(8) | -5.7(8) | -1.0(8) |
| C19 | 21.5(9) | 24.5(10) | 28.2(10) | 4.8(8) | -2.6(8) | -0.6(7) |
| C20 | 31.5(12) | 29.1(10) | 41.9(13) | -7.1(10) | -3.5(9) | -7.1(9) |
| C21 | 24.3(9) | 28.2(10) | 19.7(9) | -1.9(8) | -1.4(8) | 0.4(7) |
| C22 | 26.8(9) | 28.2(10) | 20.2(9) | 3.3(8) | -3.0(8) | 1.6(8) |
| C23 | 24.9(9) | 23.2(10) | 23.4(9) | 2.5(8) | 1.7(8) | -0.4(7) |
| C24 | 24.2(9) | 23.6(9) | 22.7(9) | -1.5(8) | -2.8(8) | -1.1(7) |
| C25 | 18.5(9) | 26.0(10) | 19.5(9) | -0.3(8) | -0.7(7) | 0.8(7) |
| C26 | 68.0(18) | 22.2(11) | 46.9(15) | 0.2(11) | -15.9(14) | -3.1(11) |
| C27 | 56.1(15) | 28.1(12) | 39.0(13) | 9.4(10) | -6.7(12) | 9.5(10) |
| Al51 | 28.0(3) | 22.4(3) | 23.2(3) | -2.1(2) | 5.7(2) | -1.5(2) |
| N51 | 22.0(8) | 22.0(8) | 22.8(8) | -2.2(7) | 2.9(6) | -0.3(6) |
| N52 | 30.3(9) | 23.1(9) | 39.3(11) | 2.6(8) | -0.9(8) | -2.3(7) |
| C51 | 22.3(9) | 23.0(10) | 24.5(9) | -4.2(8) | 3.9(7) | -4.3(7) |
| C52 | 20.9(9) | 25.9(10) | 25.8(10) | -4.7(8) | 1.2(8) | -3.1(7) |
| C53 | 27.6(10) | 30.6(10) | 22.3(9) | -2.7(8) | 0.4(8) | -1.6(9) |
| C54 | 31.9(11) | 32.1(11) | 25.3(10) | -7.4(9) | 3.9(8) | 0.2(9) |
| C55 | 31.6(10) | 25.0(10) | 27.5(11) | -6.0(8) | 3.3(8) | 0.4(8) |
| C56 | 25.6(9) | 22.2(9) | 24.8(10) | -4.0(8) | 2.6(8) | -4.5(7) |
| C57 | 22.9(10) | 28.7(10) | 18.8(8) | -1.4(8) | 2.9(7) | -0.9(8) |
| C58 | 19.9(9) | 30.0(11) | 25.9(10) | -1.2(8) | 3.5(8) | -0.8(8) |
| C59 | 27.9(10) | 27.0(10) | 24.8(10) | 0.5(8) | 4.7(8) | -1.3(8) |
| C60 | 29.5(11) | 33.9(11) | 18.0(9) | 0.8(8) | 3.9(7) | 4.6(9) |
| C61 | 20.4(9) | 40.4(12) | 22.5(9) | -0.9(9) | 2.9(8) | 0.1(8) |
| C62 | 23.9(10) | 33.9(11) | 23.0(9) | -1.8(8) | 3.0(8) | -4.5(8) |
| C63 | 38.2(12) | 38.7(12) | 27.0(11) | 2.5(9) | 4.6(9) | 11.5(10) |
| C64 | 35.0(11) | 18.3(9) | 27.0(10) | -3.9(8) | 4.4(8) | -2.5(8) |
| C65 | 34.4(11) | 26.4(10) | 28.2(10) | -3.0(8) | -1.8(9) | -5.6(8) |
| C66 | 46.4(13) | 27.2(11) | 32.3(12) | -0.7(9) | -8.7(10) | -8.8(9) |
| C67 | 60.8(16) | 22.8(11) | 27.9(12) | -0.8(9) | -3.5(11) | -11.6(10) |
| C68 | 52.2(14) | 23.3(10) | 33.9(12) | -0.2(9) | 11.6(11) | -7.3(10) |
| C69 | 37.4(12) | 22.0(10) | 36.9(12) | -1.8(10) | 8.2(10) | -2.4(8) |
| C70 | 78(2) | 43.1(15) | 35.2(14) | 10.7(12) | -12.1(14) | -20.2(15) |
| C71 | 19.4(9) | 27.3(10) | 27.6(10) | -0.9(8) | 1.5(8) | 0.8(7) |
| C72 | 20.8(9) | 26.9(10) | 28.8(10) | -0.3(9) | 0.4(8) | -2.7(7) |
| C73 | 26.2(9) | 25.3(10) | 20.8(9) | 0.9(8) | 1.4(8) | -0.4(8) |
| C74 | 21.4(9) | 26.8(10) | 25.4(9) | -1.7(8) | 0.8(8) | 3.0(7) |
| C75 | 20.6(9) | 27.1(10) | 23.3(9) | -3.2(8) | 2.7(8) | -0.4(7) |
| C76 | 41.9(13) | 24.4(10) | 56.2(17) | 3.1(11) | -2.7(13) | 5.6(9) |
| C77 | 40.3(13) | 27.8(12) | 68(2) | 3.5(13) | -4.6(13) | -10.7(10) |

Table 3: Bond Lengths in Å for MC22009.

| Atom | Atom | Length/Å |  |
| --- | --- | --- | --- |
| Al1 | N1 | 1.9648(18) |
| Al1 | C1 | 2.012(2) |
| N1 | C21 | 1.352(3) |
| N1 | C25 | 1.351(3) |
| N2 | C23 | 1.347(3) |
| N2 | C26 | 1.454(4) |
| N2 | C27 | 1.459(3) |
| C1 | C2 | 1.421(3) |
| C1 | C6 | 1.416(3) |
| C2 | C3 | 1.408(3) |
| C2 | C7 | 1.490(3) |
| C3 | C4 | 1.395(3) |
| C4 | C5 | 1.385(3) |
| C5 | C6 | 1.402(3) |
| C6 | C14 | 1.488(3) |
| C7 | C8 | 1.398(3) |
| C7 | C12 | 1.399(3) |
| C8 | C9 | 1.396(3) |
| C9 | C10 | 1.395(4) |
| C10 | C11 | 1.395(3) |
| C10 | C13 | 1.509(3) |
| C11 | C12 | 1.392(3) |
| C14 | C15 | 1.399(3) |
| C14 | C19 | 1.399(3) |
| C15 | C16 | 1.392(3) |
| C16 | C17 | 1.398(3) |
| C17 | C18 | 1.394(3) |
| C17 | C20 | 1.504(3) |
| C18 | C19 | 1.394(3) |
| C21 | C22 | 1.377(3) |
| C22 | C23 | 1.415(3) |
| C23 | C24 | 1.419(3) |
| C24 | C25 | 1.377(3) |
| Al51 | N51 | 1.9558(19) |
| Al51 | C51 | 2.005(2) |
| N51 | C71 | 1.354(3) |
| N51 | C75 | 1.355(3) |
| N52 | C73 | 1.347(3) |
| N52 | C76 | 1.460(3) |
| N52 | C77 | 1.458(3) |
| C51 | C52 | 1.411(3) |
| C51 | C56 | 1.419(3) |
| C52 | C53 | 1.404(3) |
| C52 | C57 | 1.502(3) |
| C53 | C54 | 1.392(3) |
| C54 | C55 | 1.387(4) |
| C55 | C56 | 1.404(3) |
| C56 | C64 | 1.488(3) |
| C57 | C58 | 1.398(3) |
| C57 | C62 | 1.393(3) |
| C58 | C59 | 1.389(3) |
| C59 | C60 | 1.394(3) |
| C60 | C61 | 1.396(3) |
| C60 | C63 | 1.508(3) |
| C61 | C62 | 1.399(3) |
| C64 | C65 | 1.398(3) |
| C64 | C69 | 1.398(3) |
| C65 | C66 | 1.394(3) |
| C66 | C67 | 1.397(4) |
| C67 | C68 | 1.387(4) |
| C67 | C70 | 1.513(4) |
| C68 | C69 | 1.394(4) |
| C71 | C72 | 1.373(3) |
| C72 | C73 | 1.422(3) |
| C73 | C74 | 1.415(3) |
| C74 | C75 | 1.374(3) |

Table 4: Bond Angles in ° for MC22009.

| Atom | Atom | Atom | Angle/° |  |
| --- | --- | --- | --- | --- |
| N1 | Al1 | C1 | 110.94(8) |
| C21 | N1 | Al1 | 119.44(14) |
| C25 | N1 | Al1 | 123.53(15) |
| C25 | N1 | C21 | 116.80(18) |
| C23 | N2 | C26 | 121.3(2) |
| C23 | N2 | C27 | 120.5(2) |
| C26 | N2 | C27 | 118.2(2) |
| C2 | C1 | Al1 | 118.28(14) |
| C6 | C1 | Al1 | 124.24(15) |
| C6 | C1 | C2 | 116.61(18) |
| C1 | C2 | C7 | 119.40(19) |
| C3 | C2 | C1 | 121.60(19) |
| C3 | C2 | C7 | 118.95(19) |
| C4 | C3 | C2 | 119.8(2) |
| C5 | C4 | C3 | 119.8(2) |
| C4 | C5 | C6 | 120.7(2) |
| C1 | C6 | C14 | 119.87(19) |
| C5 | C6 | C1 | 121.28(19) |
| C5 | C6 | C14 | 118.85(19) |
| C8 | C7 | C2 | 122.5(2) |
| C8 | C7 | C12 | 118.0(2) |
| C12 | C7 | C2 | 119.50(19) |
| C9 | C8 | C7 | 120.6(2) |
| C10 | C9 | C8 | 121.4(2) |
| C9 | C10 | C13 | 121.2(2) |
| C11 | C10 | C9 | 118.0(2) |
| C11 | C10 | C13 | 120.8(2) |
| C12 | C11 | C10 | 120.9(2) |
| C11 | C12 | C7 | 121.1(2) |
| C15 | C14 | C6 | 121.2(2) |
| C19 | C14 | C6 | 120.78(19) |
| C19 | C14 | C15 | 118.0(2) |
| C16 | C15 | C14 | 121.0(2) |
| C15 | C16 | C17 | 121.0(2) |
| C16 | C17 | C20 | 121.1(2) |
| C18 | C17 | C16 | 117.8(2) |
| C18 | C17 | C20 | 121.0(2) |
| C17 | C18 | C19 | 121.4(2) |
| C18 | C19 | C14 | 120.6(2) |
| N1 | C21 | C22 | 123.8(2) |
| C21 | C22 | C23 | 119.64(19) |
| N2 | C23 | C22 | 121.6(2) |
| N2 | C23 | C24 | 122.1(2) |
| C22 | C23 | C24 | 116.32(19) |
| C25 | C24 | C23 | 119.7(2) |
| N1 | C25 | C24 | 123.72(19) |
| N51 | Al51 | C51 | 109.99(9) |
| C71 | N51 | Al51 | 119.54(14) |
| C71 | N51 | C75 | 116.46(18) |
| C75 | N51 | Al51 | 124.00(14) |
| C73 | N52 | C76 | 120.73(19) |
| C73 | N52 | C77 | 120.6(2) |
| C77 | N52 | C76 | 117.4(2) |
| C52 | C51 | Al51 | 123.98(16) |
| C52 | C51 | C56 | 116.26(19) |
| C56 | C51 | Al51 | 119.30(17) |
| C51 | C52 | C57 | 122.8(2) |
| C53 | C52 | C51 | 122.0(2) |
| C53 | C52 | C57 | 115.1(2) |
| C54 | C53 | C52 | 120.3(2) |
| C55 | C54 | C53 | 119.2(2) |
| C54 | C55 | C56 | 120.7(2) |
| C51 | C56 | C64 | 120.9(2) |
| C55 | C56 | C51 | 121.5(2) |
| C55 | C56 | C64 | 117.7(2) |
| C58 | C57 | C52 | 118.98(19) |
| C62 | C57 | C52 | 122.5(2) |
| C62 | C57 | C58 | 118.3(2) |
| C59 | C58 | C57 | 120.9(2) |
| C58 | C59 | C60 | 121.1(2) |
| C59 | C60 | C61 | 118.0(2) |
| C59 | C60 | C63 | 120.2(2) |
| C61 | C60 | C63 | 121.7(2) |
| C60 | C61 | C62 | 121.0(2) |
| C57 | C62 | C61 | 120.6(2) |
| C65 | C64 | C56 | 120.9(2) |
| C65 | C64 | C69 | 118.0(2) |
| C69 | C64 | C56 | 121.1(2) |
| C66 | C65 | C64 | 120.8(2) |
| C65 | C66 | C67 | 121.1(3) |
| C66 | C67 | C70 | 121.4(3) |
| C68 | C67 | C66 | 117.9(2) |
| C68 | C67 | C70 | 120.7(3) |
| C67 | C68 | C69 | 121.4(2) |
| C68 | C69 | C64 | 120.7(2) |
| N51 | C71 | C72 | 124.11(19) |
| C71 | C72 | C73 | 119.57(19) |
| N52 | C73 | C72 | 121.64(19) |
| N52 | C73 | C74 | 122.22(19) |
| C74 | C73 | C72 | 116.1(2) |
| C75 | C74 | C73 | 119.95(19) |
| N51 | C75 | C74 | 123.77(18) |

Table 5: Torsion Angles in ° for MC22009.

| Atom | Atom | Atom | Atom | Angle/° |
| --- | --- | --- | --- | --- |
| Al1 | N1 | C21 | C22 | -175.16(17) |  |
| Al1 | N1 | C25 | C24 | 175.92(16) |  |
| Al1 | C1 | C2 | C3 | -164.81(16) |  |
| Al1 | C1 | C2 | C7 | 17.6(2) |  |
| Al1 | C1 | C6 | C5 | 164.85(16) |  |
| Al1 | C1 | C6 | C14 | -15.5(3) |  |
| N1 | C21 | C22 | C23 | -0.7(3) |  |
| N2 | C23 | C24 | C25 | 179.8(2) |  |
| C1 | C2 | C3 | C4 | -2.0(3) |  |
| C1 | C2 | C7 | C8 | -137.9(2) |  |
| C1 | C2 | C7 | C12 | 41.3(3) |  |
| C1 | C6 | C14 | C15 | 123.3(2) |  |
| C1 | C6 | C14 | C19 | -55.4(3) |  |
| C2 | C1 | C6 | C5 | -4.2(3) |  |
| C2 | C1 | C6 | C14 | 175.41(18) |  |
| C2 | C3 | C4 | C5 | -2.0(3) |  |
| C2 | C7 | C8 | C9 | 177.87(19) |  |
| C2 | C7 | C12 | C11 | -177.14(18) |  |
| C3 | C2 | C7 | C8 | 44.4(3) |  |
| C3 | C2 | C7 | C12 | -136.3(2) |  |
| C3 | C4 | C5 | C6 | 2.7(4) |  |
| C4 | C5 | C6 | C1 | 0.5(3) |  |
| C4 | C5 | C6 | C14 | -179.1(2) |  |
| C5 | C6 | C14 | C15 | -57.1(3) |  |
| C5 | C6 | C14 | C19 | 124.2(2) |  |
| C6 | C1 | C2 | C3 | 4.9(3) |  |
| C6 | C1 | C2 | C7 | -172.71(18) |  |
| C6 | C14 | C15 | C16 | -176.38(19) |  |
| C6 | C14 | C19 | C18 | 176.99(19) |  |
| C7 | C2 | C3 | C4 | 175.7(2) |  |
| C7 | C8 | C9 | C10 | -0.4(3) |  |
| C8 | C7 | C12 | C11 | 2.2(3) |  |
| C8 | C9 | C10 | C11 | 1.5(3) |  |
| C8 | C9 | C10 | C13 | -178.5(2) |  |
| C9 | C10 | C11 | C12 | -0.8(3) |  |
| C10 | C11 | C12 | C7 | -1.1(3) |  |
| C12 | C7 | C8 | C9 | -1.4(3) |  |
| C13 | C10 | C11 | C12 | 179.2(2) |  |
| C14 | C15 | C16 | C17 | -0.7(3) |  |
| C15 | C14 | C19 | C18 | -1.8(3) |  |
| C15 | C16 | C17 | C18 | -1.6(3) |  |
| C15 | C16 | C17 | C20 | 176.3(2) |  |
| C16 | C17 | C18 | C19 | 2.2(3) |  |
| C17 | C18 | C19 | C14 | -0.5(3) |  |
| C19 | C14 | C15 | C16 | 2.4(3) |  |
| C20 | C17 | C18 | C19 | -175.7(2) |  |
| C21 | N1 | C25 | C24 | 1.6(3) |  |
| C21 | C22 | C23 | N2 | -178.8(2) |  |
| C21 | C22 | C23 | C24 | 0.9(3) |  |
| C22 | C23 | C24 | C25 | 0.0(3) |  |
| C23 | C24 | C25 | N1 | -1.3(3) |  |
| C25 | N1 | C21 | C22 | -0.6(3) |  |
| C26 | N2 | C23 | C22 | 175.9(3) |  |
| C26 | N2 | C23 | C24 | -3.9(4) |  |
| C27 | N2 | C23 | C22 | -5.9(3) |  |
| C27 | N2 | C23 | C24 | 174.4(2) |  |
| Al51 | N51 | C71 | C72 | 178.89(18) |  |
| Al51 | N51 | C75 | C74 | -178.80(17) |  |
| Al51 | C51 | C52 | C53 | 172.21(16) |  |
| Al51 | C51 | C52 | C57 | -5.1(3) |  |
| Al51 | C51 | C56 | C55 | -171.06(16) |  |
| Al51 | C51 | C56 | C64 | 7.7(3) |  |
| N51 | C71 | C72 | C73 | -0.4(4) |  |
| N52 | C73 | C74 | C75 | 178.3(2) |  |
| C51 | C52 | C53 | C54 | -1.2(3) |  |
| C51 | C52 | C57 | C58 | 101.6(3) |  |
| C51 | C52 | C57 | C62 | -83.5(3) |  |
| C51 | C56 | C64 | C65 | -128.2(2) |  |
| C51 | C56 | C64 | C69 | 51.5(3) |  |
| C52 | C51 | C56 | C55 | 1.4(3) |  |
| C52 | C51 | C56 | C64 | -179.86(19) |  |
| C52 | C53 | C54 | C55 | 0.7(3) |  |
| C52 | C57 | C58 | C59 | 173.1(2) |  |
| C52 | C57 | C62 | C61 | -172.7(2) |  |
| C53 | C52 | C57 | C58 | -75.9(3) |  |
| C53 | C52 | C57 | C62 | 99.0(3) |  |
| C53 | C54 | C55 | C56 | 0.9(3) |  |
| C54 | C55 | C56 | C51 | -2.0(3) |  |
| C54 | C55 | C56 | C64 | 179.3(2) |  |
| C55 | C56 | C64 | C65 | 50.6(3) |  |
| C55 | C56 | C64 | C69 | -129.7(2) |  |
| C56 | C51 | C52 | C53 | 0.1(3) |  |
| C56 | C51 | C52 | C57 | -177.16(19) |  |
| C56 | C64 | C65 | C66 | 178.4(2) |  |
| C56 | C64 | C69 | C68 | -178.4(2) |  |
| C57 | C52 | C53 | C54 | 176.3(2) |  |
| C57 | C58 | C59 | C60 | -0.1(3) |  |
| C58 | C57 | C62 | C61 | 2.3(3) |  |
| C58 | C59 | C60 | C61 | 2.0(3) |  |
| C58 | C59 | C60 | C63 | -176.4(2) |  |
| C59 | C60 | C61 | C62 | -1.7(3) |  |
| C60 | C61 | C62 | C57 | -0.4(3) |  |
| C62 | C57 | C58 | C59 | -2.0(3) |  |
| C63 | C60 | C61 | C62 | 176.7(2) |  |
| C64 | C65 | C66 | C67 | 0.3(4) |  |
| C65 | C64 | C69 | C68 | 1.4(3) |  |
| C65 | C66 | C67 | C68 | 0.8(4) |  |
| C65 | C66 | C67 | C70 | 179.2(2) |  |
| C66 | C67 | C68 | C69 | -0.7(4) |  |
| C67 | C68 | C69 | C64 | -0.3(4) |  |
| C69 | C64 | C65 | C66 | -1.3(3) |  |
| C70 | C67 | C68 | C69 | -179.2(2) |  |
| C71 | N51 | C75 | C74 | 0.5(3) |  |
| C71 | C72 | C73 | N52 | -178.3(2) |  |
| C71 | C72 | C73 | C74 | 1.1(3) |  |
| C72 | C73 | C74 | C75 | -1.0(3) |  |
| C73 | C74 | C75 | N51 | 0.3(4) |  |
| C75 | N51 | C71 | C72 | -0.4(3) |  |
| C76 | N52 | C73 | C72 | -173.8(2) |  |
| C76 | N52 | C73 | C74 | 6.9(4) |  |
| C77 | N52 | C73 | C72 | -7.0(4) |  |
| C77 | N52 | C73 | C74 | 173.8(3) |  |

Table 6: Hydrogen Fractional Atomic Coordinates (×104) and Equivalent Isotropic Displacement Parameters (Å2×103) for MC22009. Ueq is defined as 1/3 of the trace of the orthogonalised Uij.

| Atom | x | y | z | Ueq |
| --- | --- | --- | --- | --- |
| H | 5410(20) | 3612(11) | 3170(20) | 24(6) |
| HA | 6770(20) | 3581(12) | 4700(30) | 30(7) |
| H3 | 4831.23 | 4574.9 | 7477.09 | 31 |
| H4 | 3525.62 | 4110.26 | 8118.74 | 35 |
| H5 | 2948.84 | 3453.83 | 7104.57 | 31 |
| H8 | 6577.94 | 4609.41 | 7109.54 | 31 |
| H9 | 7819.13 | 5080.48 | 6377.16 | 33 |
| H11 | 6668.47 | 4918.6 | 3400.68 | 30 |
| H12 | 5408.37 | 4462.56 | 4130.53 | 28 |
| H13A | 8074.08 | 5399.73 | 3568.79 | 55 |
| H13B | 8808.34 | 5151.17 | 4401.37 | 55 |
| H13C | 8265.02 | 5647.4 | 4719.11 | 55 |
| H15 | 3608.01 | 2565.15 | 6513.23 | 30 |
| H16 | 3089.42 | 1895.13 | 5509.39 | 31 |
| H18 | 2832.28 | 2757.71 | 2874.85 | 32 |
| H19 | 3376.86 | 3427.26 | 3865.36 | 30 |
| H20A | 2257.39 | 1921.86 | 2791.23 | 51 |
| H20B | 2262.95 | 1588.89 | 3853.26 | 51 |
| H20C | 3226.1 | 1648.08 | 3152.35 | 51 |
| H21 | 6447.03 | 2703.05 | 5758.4 | 29 |
| H22 | 6621.97 | 1865.67 | 5791.84 | 30 |
| H24 | 5090.59 | 1807.69 | 2977.88 | 28 |
| H25 | 5006.1 | 2649 | 3017.66 | 26 |
| H26A | 4800.48 | 1053.55 | 3478.97 | 69 |
| H26B | 5454.28 | 595.43 | 3814.54 | 69 |
| H26C | 5816.66 | 964.28 | 2897.22 | 69 |
| H27A | 7177.25 | 1121.74 | 5204.01 | 62 |
| H27B | 6546.43 | 636.28 | 5049 | 62 |
| H27C | 6232.26 | 1036.88 | 5922.74 | 62 |
| HB | 8610(20) | 1375(11) | 6070(30) | 25(6) |
| HC | 10610(20) | 1425(14) | 6450(30) | 40(9) |
| H53 | 10264.01 | 1600.02 | 1571.4 | 32 |
| H54 | 11249.33 | 903.61 | 1473.24 | 36 |
| H55 | 11566.1 | 455.2 | 3039.23 | 34 |
| H58 | 10631.05 | 2479.11 | 3166.48 | 30 |
| H59 | 9812.81 | 3213.66 | 2927.68 | 32 |
| H61 | 7268.15 | 2488.32 | 2927.49 | 33 |
| H62 | 8087.23 | 1749.42 | 3182.13 | 32 |
| H63A | 8095.49 | 3640.06 | 3227.22 | 52 |
| H63B | 7244.51 | 3348.87 | 2635.46 | 52 |
| H63C | 8156.05 | 3536.22 | 1958.35 | 52 |
| H65 | 12437.86 | 547.06 | 4828.4 | 36 |
| H66 | 12782.16 | 83.39 | 6358.29 | 42 |
| H68 | 9939.44 | 10.38 | 7059.59 | 44 |
| H69 | 9585.39 | 472.76 | 5531.98 | 38 |
| H70A | 12169.12 | -516.42 | 7719.41 | 78 |
| H70B | 11049.55 | -509.32 | 8037.4 | 78 |
| H70C | 11755.89 | -91.11 | 8477.16 | 78 |
| H71 | 11210.47 | 2302.27 | 5784.09 | 30 |
| H72 | 11336.6 | 3139.76 | 5817.5 | 31 |
| H74 | 8396.84 | 3207.88 | 5599.78 | 29 |
| H75 | 8371.29 | 2367.54 | 5576.36 | 28 |
| H76A | 8636.77 | 3995.39 | 5102.92 | 61 |
| H76B | 9218.36 | 4420.78 | 5706.77 | 61 |
| H76C | 8694.44 | 4001.67 | 6392.38 | 61 |
| H77A | 11055.71 | 3971.47 | 6600.36 | 68 |
| H77B | 10756.54 | 4378.57 | 5734.71 | 68 |
| H77C | 11323.31 | 3898.34 | 5354.73 | 68 |

Citations

CrysAlisPro (Rigaku, V1.171.41.123a, 2022)

CrysAlisPro (ROD), Rigaku Oxford Diffraction, Poland (?).

O.V. Dolomanov and L.J. Bourhis and R.J. Gildea and J.A.K. Howard and H. Puschmann, Olex2: A complete structure solution, refinement and analysis program, J. Appl. Cryst., (2009), 42, 339-341.

Sheldrick, G.M., Crystal structure refinement with ShelXL, Acta Cryst., (2015), C71, 3-8.

Sheldrick, G.M., ShelXT-Integrated space-group and crystal-structure determination, Acta Cryst., (2015), A71, 3-8.

#===============================================================================

# PLATON/CHECK-(301021) versus check.def version 210713, Entry: mc22009

# Data: MC22009.cif - Type: CIF                  Bond Precision   C-C = 0.0031 A

# Refl: MC22009.fcf - Type: LIST4                                   Temp = 120 K

# Audit:OLEX2 1.5-BETA (COMPILED 2022.04.07 SVN.RCA3783A0 FOR OLEXSYS, GUI SVN.R

# Refin:SHELXL 2018/3 (SHELDRICK, 2015)

# X-ray CuKa              R(int) = 0.069,  wR2/R(int) =  1.6,  Nref/Npar =   9.1

# Cell 13.85276(5)27.33166(10) 12.39473(4)           90           90          90

# Wavelength 1.54184  Volume Reported      4692.88(3) Calculated      4692.88(3)

# SpaceGroup from Symmetry P c a 21     Hall: P 2c -2ac             orthorhombic

#                 Reported P c a 21           P 2c -2ac             orthorhombic

# MoietyFormula C27 H29 Al N2

#      Reported C27 H29 Al N2

#    SumFormula C27 H29 Al N2

#      Reported C27 H29 Al N2

# Mr        =    408.50[Calc],    408.50[Rep]       Volume/NonHatoms = 20 Ang**3

# Dx,gcm-3  =     1.156[Calc],     1.156[Rep]

# Z         =         8[Calc],         8[Rep]

# Mu (mm-1) =     0.854[Calc],     0.854[Rep]  Xtal Size =  0.170x0.250x0.430 mm

# F000      =    1744.0[Calc],    1744.0[Rep]  or F000' =   1749.80[Calc]

# Reported   T Limits: Tmin=0.826              Tmax=0.830  AbsCorr = MULTI-SCAN

# Calculated T Limits: Tmin=0.774 Tmin'=0.693  Tmax=0.865

# Measured   HKL: Reported  77255, Embedded      0, <Mult>  0.0

# Reported   Hmax= 17, Kmax= 34, Lmax= 15, Nref=   9526        , Th(max)= 76.021

# Obs in FCF Hmax= 17, Kmax= 34, Lmax= 15, Nref=   9526[  5120], Th(max)= 76.021

# Calculated Hmax= 17, Kmax= 34, Lmax= 15, Nref=   9819[  5153], Ratio=1.85/0.97

# Reported   Rho(min) = -0.44, Rho(max) =  0.28 e/Ang**3 (From CIF)

# Calculated Rho(min) = -0.44, Rho(max) =  0.29 e/Ang**3 (From CIF+FCF data)

# w=1/[<sup>2</sup>(Fo<sup>2</sup>)+(0.0914P)<sup>2</sup>+0.3055P], P=(Fo<sup>2</sup>+2Fc<sup>2</sup>)/3

# R= 0.0436(  9419), wR2= 0.1137(  9526), S = 1.045      (From CIF+FCF data)

# R= 0.0436(  9419), wR2= 0.1136(  9526), S = 1.044      (From FCF data only)

# R= 0.0436(  9419), wR2= 0.1136(  9526), S = 1.045, Npar=  565, Flack 0.003(11)

# Number Bijvoet Pairs = 4406 ( 94%),      4303 Selected for:  Parsons  0.003(8)

# P2(tr) 1.000, P3(tr) 1.000, P3(tw) 0.000, Student-T Nu =  18,  Hooft  0.004(9)

#===============================================================================

# For Documentation:http://www.platonsoft.nl/CIF-VALIDATION.pdf

#===============================================================================

*

#===============================================================================

#>>> The Following Improvement and Query ALERTS were generated - (Acta-Mode) <<<

#===============================================================================

Format: alert-number_ALERT_alert-type_alert-level text

911_ALERT_3_C Missing FCF Refl Between Thmin & STh/L=    0.600         14 Report

913_ALERT_3_C Missing # of Very Strong Reflections in FCF ....          7 Note

#===============================================================================

012_ALERT_1_G No       _shelx_res_checksum Found in CIF ......     Please Check

069_ALERT_1_G Atom Label Without Numerical Part ..............          H Do !

142_ALERT_4_G s.u. on b - Axis Small or Missing ..............    0.00010 Ang.

143_ALERT_4_G s.u. on c - Axis Small or Missing ..............    0.00004 Ang.

380_ALERT_4_G Incorrectly? Oriented X(sp2)-Methyl Moiety .....        C76 Check

720_ALERT_4_G Number of Unusual/Non-Standard Labels ..........          3 Note

910_ALERT_3_G Missing # of FCF Reflection(s) Below Theta(Min).          2 Note

912_ALERT_4_G Missing # of FCF Reflections Above STh/L=  0.600         18 Note

978_ALERT_2_G Number C-C Bonds with Positive Residual Density.          3 Info

#===============================================================================

ALERT_Level and ALERT_Type Summary

==================================

2 ALERT_Level_C = Check. Ensure it is Not caused by an Omission or Oversight

9 ALERT_Level_G = General Info/Check that it is not Something Unexpected

2 ALERT_Type_1 CIF Construction/Syntax Error, Inconsistent or Missing Data.

1 ALERT_Type_2 Indicator that the Structure Model may be Wrong or Deficient.

3 ALERT_Type_3 Indicator that the Structure Quality may be Low.

5 ALERT_Type_4 Improvement, Methodology, Query or Suggestion.

#===============================================================================

3 Missing  Experimental  Info Issue(s) (Out of  64 Tests) -   95 % Satisfied

0 Experimental  Data  Related Issue(s) (Out of  35 Tests) -  100 % Satisfied

2 Structural  Model   Related Issue(s) (Out of 136 Tests) -   99 % Satisfied

6 Unresolved or to be Checked Issue(s) (Out of 271 Tests) -   98 % Satisfied

*