MC22028

Submitted by: 	Alex Beaton Garcia

Solved by: 	Gary S Nichol

Sample ID: 	ABG-0671

R1=2.37%

Compound ABG-0671 was provided as two fractions from a separation. This structure, MC22028, is from the first fraction.

Crystal Data and Experimental

Experimental. Single colourless block-shaped crystals of MC22028 recrystallised from pentane by slow evaporation. A suitable crystal with dimensions 0.58 × 0.25 × 0.19 mm3 was selected and mounted on a MITIGEN holder in Paratone oil. on a Bruker APEX-II CCD diffractometer. The crystal was kept at a steady T = 100.00 K during data collection. The structure was solved with the ShelXS (Sheldrick, 2008) solution program using direct methods and by using Olex2 1.5-beta (Dolomanov et al., 2009) as the graphical interface. The model was refined with olex2.refine 1.5-beta (Bourhis et al., 2015) using full matrix least squares minimisation on F2.

Crystal Data.  C40H47AlSi2, Mr = 610.971, orthorhombic, P212121 (No. 19), a = 17.0806(12) Å, b = 19.4168(14) Å, c = 21.6320(15) Å,  =  =  = 90°, V = 7174.3(9) Å3, T = 100.00 K, Z = 8, Z' = 2, (Mo K) = 0.149, 177148 reflections measured, 21876 unique (Rint = 0.0588) which were used in all calculations. The final wR2 was 0.0348 (all data) and R1 was 0.0237 (I≥2 (I)).

| Compound | MC22028 |
| --- | --- |
| Formula | C40H47AlSi2 |
| Dcalc./ g cm-3 | 1.131 |
| /mm-1 | 0.149 |
| Formula Weight | 610.971 |
| Colour | colourless |
| Shape | block-shaped |
| Size/mm3 | 0.58×0.25×0.19 |
| T/K | 100.00 |
| Crystal System | orthorhombic |
| Flack Parameter | -0.01(2) |
| Hooft Parameter | -0.01(2) |
| Space Group | P212121 |
| a/Å | 17.0806(12) |
| b/Å | 19.4168(14) |
| c/Å | 21.6320(15) |
| /° | 90 |
| /° | 90 |
| /° | 90 |
| V/Å3 | 7174.3(9) |
| Z | 8 |
| Z' | 2 |
| Wavelength/Å | 0.71073 |
| Radiation type | Mo K |
| min/° | 2.16 |
| max/° | 30.53 |
| Measured Refl's. | 177148 |
| Indep't Refl's | 21876 |
| Refl's I≥2 (I) | 19441 |
| Rint | 0.0588 |
| Parameters | 1621 |
| Restraints | 0 |
| Largest Peak | 0.1999 |
| Deepest Hole | -0.2353 |
| GooF | 1.0754 |
| wR2 (all data) | 0.0348 |
| wR2 | 0.0322 |
| R1 (all data) | 0.0338 |
| R1 | 0.0237 |

Structure Quality Indicators

| Reflections: |  |
| --- | --- |
| Refinement: |  |

A colourless block-shaped-shaped crystal with dimensions 0.58 × 0.25 × 0.19 mm3 was mounted on a MITIGEN holder in Paratone oil.. Data were collected using a Bruker APEX-II CCD diffractometer equipped with an Oxford Cryosystems Cryostream 800 low-temperature device operating at T = 100.00 K.

Data were measured using  and  scans with Mo K radiation. . The maximum resolution that was achieved was  = 30.53° (0.70 Å).

The unit cell was refined using SAINT V8.40B (?, 2016) on 9698 reflections, 5% of the observed reflections.

Data reduction, scaling and absorption corrections were performed using SAINT V8.40B (?, 2016). The final completeness is 99.87 % out to 30.53° in . SADABS-2016/2 (Bruker, 2016/2) was used for absorption correction. wR2(int) was 0.1198 before and 0.0625 after correction. The Ratio of minimum to maximum transmission is 0.9452. The /2 correction factor is Not present. The absorption coefficient  of this material is 0.149 mm-1 at this wavelength ( = 0.71073Å) and the minimum and maximum transmissions are 0.705 and 0.746.

The structure was solved and the space group P212121 (# 19) determined by the ShelXS (Sheldrick, 2008) structure solution program using using direct methods and refined by full matrix least squares minimisation on F2 using version of olex2.refine 1.5-beta (Bourhis et al., 2015). All non-hydrogen atoms were refined anisotropically. Hydrogen atom positions were calculated geometrically and refined using the riding model.

_refine_special_details: Refinement using NoSpherA2, an implementation ofNOn-SPHERical Atom-form-factors in Olex2.Please cite:F. Kleemiss et al. Chem. Sci. DOI 10.1039/D0SC05526C - 2021NoSpherA2 implementation of HAR makes use oftailor-made aspherical atomic form factors calculatedon-the-fly from a Hirshfeld-partitioned electron density (ED) - not fromspherical-atom form factors.The ED is calculated from a gaussian basis set single determinant SCFwavefunction - either Hartree-Fock or DFT using selected funtionals - for a fragment of the crystal.This fragment can be embedded in an electrostatic crystal field by employing cluster chargesor modelled using implicit solvation models, depending on the software used.The following options were used: SOFTWARE: ORCA PARTITIONING: NoSpherA2 INT ACCURACY: Normal METHOD: PBE BASIS SET: def2-TZVP CHARGE: 0 MULTIPLICITY: 1 DATE: 2022-10-19_23-26-55

The value of Z' is 2. This means that there are two independent molecules in the asymmetric unit.

The Flack parameter was refined to -0.01(2). Determination of absolute structure using Bayesian statistics on Bijvoet differences using the Olex2 results in -0.01(2). Note: The Flack parameter is used to determine chirality of the crystal studied, the value should be near 0, a value of 1 means that the stereochemistry is wrong and the model should be inverted. A value of 0.5 means that the crystal consists of a racemic mixture of the two enantiomers.

Figure 1: The asymmetric unit of MC22028. Displacement ellipsoids are at the 50% probability level and H atoms are not shown.

Data Plots: Diffraction Data

Data Plots: Refinement and Data

Reflection Statistics

| Total reflections (after filtering) | 177356 | Unique reflections | 21876 |
| --- | --- | --- | --- |
| Completeness | 0.998 | Mean I/ | 21.69 |
| hklmax collected | (24, 27, 30) | hklmin collected | (-22, -27, -30) |
| hklmax used | (24, 27, 30) | hklmin used | (-24, 0, 0) |
| Lim dmax collected | 100.0 | Lim dmin collected | 0.36 |
| dmax used | 9.45 | dmin used | 0.7 |
| Friedel pairs | 26741 | Friedel pairs merged | 0 |
| Inconsistent equivalents | 0 | Rint | 0.0588 |
| Rsigma | 0.035 | Intensity transformed | 0 |
| Omitted reflections | 0 | Omitted by user (OMIT hkl) | 15 |
| Multiplicity | (16917, 17813, 16926, 14820, 2583, 303, 2, 1) | Maximum multiplicity | 17 |
| Removed systematic absences | 208 | Filtered off (Shel/OMIT) | 0 |

Table 1: Fractional Atomic Coordinates (×104) and Equivalent Isotropic Displacement Parameters (Å2×103) for MC22028. Ueq is defined as 1/3 of the trace of the orthogonalised Uij.

| Atom | x | y | z | Ueq |
| --- | --- | --- | --- | --- |
| Si1 | 6916.05(13) | 4721.18(11) | 3760.59(10) | 19.36(5) |
| Si2 | 8174.48(13) | 3023.56(11) | 4236.29(10) | 18.05(4) |
| Al1 | 6886.89(13) | 3449.78(11) | 3882.66(10) | 16.02(5) |
| C1 | 5952.7(4) | 2859.4(4) | 3800.2(3) | 13.41(14) |
| C2 | 5488.8(4) | 2651.9(4) | 4305.2(3) | 14.29(15) |
| C3 | 4839.0(5) | 2228.5(4) | 4212.5(4) | 17.43(16) |
| C4 | 4640.2(5) | 2014.1(4) | 3617.4(4) | 18.89(16) |
| C5 | 5092.6(4) | 2214.2(4) | 3111.6(4) | 17.43(16) |
| C6 | 5749.3(4) | 2631.2(4) | 3202.8(3) | 14.27(15) |
| C7 | 5720.1(4) | 2904.4(4) | 4931.4(3) | 14.93(15) |
| C8 | 5590.9(4) | 3600.0(4) | 5088.9(3) | 16.78(16) |
| C9 | 5883.7(5) | 3853.9(5) | 5647.6(4) | 19.57(16) |
| C10 | 6296.0(5) | 3436.0(4) | 6056.9(3) | 19.98(16) |
| C11 | 6387.9(5) | 2739.4(5) | 5908.4(4) | 20.69(17) |
| C12 | 6104.5(5) | 2467.7(4) | 5354.1(3) | 17.72(16) |
| C13 | 5102.3(6) | 4058.6(5) | 4680.6(5) | 21.35(17) |
| C14 | 6640.0(7) | 3726.5(6) | 6643.2(4) | 28.0(2) |
| C15 | 6214.3(7) | 1714.7(5) | 5209.4(5) | 25.20(19) |
| C16 | 6264.1(4) | 2867.7(4) | 2685.9(3) | 14.61(15) |
| C17 | 6035.2(4) | 3432.4(4) | 2318.5(3) | 18.25(16) |
| C18 | 6549.7(5) | 3680.8(5) | 1868.4(4) | 22.39(18) |
| C19 | 7281.8(5) | 3383.0(4) | 1772.3(4) | 22.79(18) |
| C20 | 7492.7(5) | 2817.4(4) | 2131.1(4) | 21.11(17) |
| C21 | 6993.7(4) | 2549.7(4) | 2585.6(3) | 16.59(15) |
| C22 | 5248.7(6) | 3763.3(6) | 2405.4(5) | 26.10(19) |
| C23 | 7832.9(8) | 3673.8(7) | 1298.0(5) | 36.2(2) |
| C24 | 7222.2(5) | 1905.6(5) | 2932.3(4) | 20.96(17) |
| C25 | 6889.8(7) | 5145.0(5) | 4548.0(4) | 27.77(18) |
| C26 | 6142.7(6) | 5145.4(6) | 3265.9(6) | 31.8(2) |
| C27 | 7886.2(4) | 4951.6(4) | 3398.7(4) | 19.59(17) |
| C28 | 8178.6(5) | 4586.3(5) | 2891.3(4) | 25.92(18) |
| C29 | 8896.9(6) | 4753.9(5) | 2622.6(4) | 31.2(2) |
| C30 | 9336.7(5) | 5296.4(5) | 2859.4(4) | 30.2(2) |
| C31 | 9057.8(5) | 5666.2(5) | 3362.2(5) | 29.6(2) |
| C32 | 8342.3(5) | 5492.7(5) | 3627.5(4) | 25.48(19) |
| C33 | 8923.1(6) | 2907.2(6) | 3605.2(5) | 27.6(2) |
| C34 | 8163.3(7) | 2198.7(5) | 4697.2(5) | 30.0(2) |
| C35 | 8523.8(4) | 3739.7(4) | 4761.9(4) | 18.66(16) |
| C36 | 9093.1(5) | 4213.8(5) | 4577.0(4) | 23.10(17) |
| C37 | 9320.6(6) | 4755.3(5) | 4960.8(4) | 29.9(2) |
| C38 | 8985.3(5) | 4833.7(5) | 5541.2(4) | 30.8(2) |
| C39 | 8410.6(5) | 4373.4(5) | 5734.8(5) | 30.0(2) |
| C40 | 8182.9(5) | 3834.6(5) | 5347.0(4) | 25.53(18) |
| Si51 | 6942.76(13) | 8130.42(11) | 4457.1(1) | 17.61(4) |
| Si52 | 8179.52(13) | 9800.77(11) | 3964.88(10) | 19.07(4) |
| Al51 | 8179.29(13) | 8527.79(11) | 3968.14(10) | 15.28(5) |
| C51 | 8994.8(4) | 7944.3(4) | 3587.1(3) | 13.93(15) |
| C52 | 9616.3(4) | 7716.9(4) | 3963.4(4) | 14.72(15) |
| C53 | 10234.1(4) | 7335.1(4) | 3714.5(4) | 18.06(16) |
| C54 | 10239.3(5) | 7184.7(4) | 3081.7(4) | 19.43(17) |
| C55 | 9631.3(5) | 7407.5(4) | 2702.2(4) | 18.22(16) |
| C56 | 9007.1(4) | 7782.7(4) | 2952.7(3) | 14.72(15) |
| C57 | 9588.4(4) | 7916.5(4) | 4631.5(3) | 14.88(15) |
| C58 | 9835.3(4) | 8578.5(4) | 4815.5(3) | 15.53(15) |
| C59 | 9759.2(5) | 8772.8(4) | 5436.2(4) | 19.12(16) |
| C60 | 9450.2(5) | 8330.0(4) | 5878.9(3) | 21.28(17) |
| C61 | 9224.9(5) | 7670.4(5) | 5692.5(4) | 22.03(17) |
| C62 | 9288.1(5) | 7457.0(4) | 5076.8(4) | 18.98(16) |
| C63 | 10219.9(6) | 9066.7(5) | 4368.8(4) | 19.69(16) |
| C64 | 9358.5(8) | 8560.3(7) | 6539.8(4) | 35.3(2) |
| C65 | 9046.1(7) | 6739.9(5) | 4895.4(5) | 29.1(2) |
| C66 | 8355.9(4) | 8033.7(4) | 2549.7(3) | 15.25(15) |
| C67 | 7616.0(4) | 7714.3(4) | 2569.0(3) | 16.89(15) |
| C68 | 7019.2(5) | 7961.0(4) | 2185.9(4) | 19.93(16) |
| C69 | 7135.0(4) | 8511.4(4) | 1782.3(3) | 19.31(16) |
| C70 | 7869.6(5) | 8824.5(4) | 1772.9(4) | 18.56(16) |
| C71 | 8482.0(4) | 8594.9(4) | 2148.2(3) | 16.34(15) |
| C72 | 7462.6(6) | 7094.6(5) | 2970.9(4) | 21.78(18) |
| C73 | 6493.9(6) | 8753.5(6) | 1359.9(5) | 27.8(2) |
| C74 | 9265.5(5) | 8944.3(5) | 2115.2(5) | 24.64(19) |
| C75 | 6852.0(7) | 7191.2(5) | 4664.2(5) | 29.3(2) |
| C76 | 6102.0(5) | 8356.3(5) | 3930.6(5) | 25.71(18) |
| C77 | 6809.0(5) | 8616.9(4) | 5208.8(3) | 18.26(15) |
| C78 | 6257.8(5) | 9143.0(5) | 5282.7(4) | 23.46(18) |
| C79 | 6164.9(6) | 9482.5(5) | 5849.0(4) | 29.5(2) |
| C80 | 6624.4(6) | 9301.6(5) | 6353.8(4) | 29.0(2) |
| C81 | 7179.9(6) | 8783.6(5) | 6291.1(4) | 29.7(2) |
| C82 | 7268.6(5) | 8446.7(5) | 5724.7(4) | 25.69(18) |
| C83 | 8224.4(6) | 10108.4(5) | 4792.2(4) | 26.29(19) |
| C84 | 8916.0(6) | 10292.2(6) | 3483.7(6) | 33.5(2) |
| C85 | 7193.2(4) | 10048.2(4) | 3640.4(4) | 18.52(16) |
| C86 | 7010.8(5) | 9891.5(4) | 3022.8(4) | 25.12(18) |
| C87 | 6287.6(6) | 10065.4(5) | 2768.0(4) | 30.1(2) |
| C88 | 5731.1(6) | 10401.5(5) | 3128.5(4) | 29.4(2) |
| C89 | 5897.3(5) | 10558.3(5) | 3742.8(4) | 26.85(19) |
| C90 | 6621.4(5) | 10379.4(4) | 3993.0(4) | 21.57(17) |

Table 2: Anisotropic Displacement Parameters (×104) for MC22028. The anisotropic displacement factor exponent takes the form: -22[h2a*2 × U11+ ... +2hka* × b* × U12]

| Atom | U11 | U22 | U33 | U23 | U13 | U12 |
| --- | --- | --- | --- | --- | --- | --- |
| Si1 | 15.99(10) | 12.47(10) | 29.61(11) | 0.43(9) | -3.01(10) | 1.20(8) |
| Si2 | 13.47(9) | 13.25(10) | 27.42(11) | 0.31(9) | -3.57(9) | 1.68(8) |
| Al1 | 12.02(10) | 11.83(11) | 24.20(11) | -1.02(9) | -2.26(10) | 0.81(9) |
| C1 | 12.2(3) | 13.6(4) | 14.4(3) | -1.1(3) | 0.5(3) | -0.6(3) |
| C2 | 12.9(3) | 14.2(4) | 15.8(4) | -0.7(3) | 1.1(3) | -0.5(3) |
| C3 | 14.7(4) | 17.6(4) | 20.0(4) | -3.2(3) | 1.9(3) | 0.1(3) |
| H3 | 27(6) | 45(7) | 39(6) | -7(5) | 1(5) | 3(5) |
| C4 | 14.2(4) | 20.0(4) | 22.5(4) | -4.6(3) | -0.0(3) | -1.2(3) |
| H4 | 26(6) | 41(7) | 53(7) | -12(5) | -1(5) | -11(5) |
| C5 | 14.5(4) | 19.4(4) | 18.4(4) | -3.2(3) | -1.2(3) | -3.2(3) |
| H5 | 45(6) | 35(6) | 19(5) | -8(5) | -4(5) | -5(5) |
| C6 | 12.9(3) | 14.9(4) | 15.1(3) | -0.5(3) | -0.4(3) | -1.3(3) |
| C7 | 16.1(3) | 13.9(4) | 14.8(3) | -0.1(3) | 1.0(3) | -0.0(3) |
| C8 | 17.8(4) | 15.0(4) | 17.5(4) | 2.2(3) | -0.4(3) | -1.3(3) |
| C9 | 24.0(4) | 16.4(4) | 18.3(4) | 2.1(3) | 0.7(3) | -3.2(3) |
| H9 | 56(7) | 32(6) | 28(6) | 11(5) | -4(5) | -16(5) |
| C10 | 27.1(4) | 19.1(4) | 13.7(3) | -0.8(3) | 0.7(3) | -0.5(3) |
| C11 | 29.4(4) | 17.8(4) | 14.9(4) | 0.4(3) | -0.6(3) | 1.8(3) |
| H11 | 57(7) | 34(6) | 34(6) | 8(5) | -18(6) | 3(5) |
| C12 | 24.0(4) | 14.5(4) | 14.7(4) | 1.1(3) | 0.5(3) | 0.7(3) |
| C13 | 20.5(4) | 18.5(5) | 25.1(5) | 5.6(4) | -2.6(4) | -2.8(4) |
| H13a | 41(7) | 55(9) | 92(10) | 6(6) | 3(7) | 32(7) |
| H13b | 54(7) | 55(8) | 43(7) | 33(6) | 11(6) | 16(6) |
| H13c | 78(9) | 34(7) | 64(8) | 24(7) | -27(7) | -18(6) |
| C14 | 41.1(6) | 26.8(5) | 16.1(4) | -3.4(4) | -1.8(4) | -3.2(4) |
| H14a | 107(10) | 28(7) | 52(7) | -4(7) | -36(7) | -5(6) |
| H14b | 81(9) | 106(11) | 25(6) | -46(8) | 29(6) | -2(7) |
| H14c | 74(9) | 60(9) | 54(8) | 14(8) | -26(7) | -21(7) |
| C15 | 36.9(5) | 14.6(4) | 24.2(5) | 2.4(4) | -5.8(4) | 0.9(4) |
| H15a | 84(9) | 29(7) | 48(7) | 13(6) | -26(7) | -4(6) |
| H15b | 89(9) | 18(6) | 29(6) | 11(6) | -1(6) | -11(5) |
| H15c | 45(7) | 40(7) | 88(9) | -8(6) | 7(7) | -2(7) |
| C16 | 13.7(3) | 15.6(4) | 14.5(3) | 0.2(3) | -0.1(3) | -1.5(3) |
| C17 | 18.1(4) | 20.2(4) | 16.4(3) | 0.8(3) | -1.9(3) | 0.8(3) |
| C18 | 27.5(4) | 22.9(5) | 16.8(4) | -2.1(4) | -0.3(3) | 3.2(3) |
| H18 | 55(7) | 46(7) | 30(6) | 0(6) | -1(5) | 13(6) |
| C19 | 26.6(4) | 24.0(5) | 17.8(4) | -5.9(4) | 5.7(3) | -1.9(3) |
| C20 | 19.7(4) | 21.9(4) | 21.7(4) | -1.7(3) | 6.2(3) | -3.8(3) |
| H20 | 23(6) | 41(7) | 61(7) | 4(5) | 19(6) | -3(5) |
| C21 | 15.1(4) | 16.6(4) | 18.1(3) | 0.2(3) | 2.2(3) | -2.6(3) |
| C22 | 21.2(5) | 27.5(5) | 29.6(5) | 5.6(4) | -4.0(4) | 4.7(4) |
| H22a | 56(7) | 59(8) | 70(8) | 28(7) | 4(6) | 41(7) |
| H22b | 33(6) | 67(9) | 50(7) | 17(6) | -7(6) | -18(7) |
| H22c | 23(6) | 50(8) | 93(9) | -3(6) | -6(6) | 4(7) |
| C23 | 42.7(6) | 39.7(7) | 26.2(5) | -12.6(5) | 14.2(5) | -0.1(5) |
| H23a | 89(12) | 200(20) | 56(9) | -43(12) | 16(9) | 52(11) |
| H23b | 128(13) | 94(12) | 90(11) | -77(11) | 59(10) | -35(9) |
| H23c | 106(12) | 85(12) | 134(14) | 33(10) | 91(12) | 41(10) |
| C24 | 19.8(4) | 17.8(4) | 25.3(5) | 3.2(4) | 0.5(4) | -1.8(4) |
| H24a | 31(6) | 60(8) | 46(7) | 19(6) | 16(5) | 3(6) |
| H24b | 85(9) | 37(7) | 31(6) | 26(6) | -10(6) | 1(5) |
| H24c | 60(7) | 20(6) | 73(8) | -7(6) | -29(7) | 12(6) |
| C25 | 31.8(5) | 18.9(5) | 32.7(5) | -0.6(4) | 3.3(5) | -3.1(4) |
| H25a | 87(9) | 25(7) | 63(8) | -5(7) | -7(8) | 5(6) |
| H25b | 54(8) | 68(10) | 60(8) | 2(7) | -26(7) | -4(7) |
| H25c | 51(8) | 107(12) | 58(8) | -31(8) | 42(7) | -19(8) |
| C26 | 23.3(5) | 25.2(6) | 47.0(6) | 3.6(4) | -8.6(5) | 6.7(5) |
| H26a | 27(6) | 58(8) | 67(8) | 13(6) | -3(6) | -1(7) |
| H26b | 62(8) | 59(9) | 46(7) | 18(7) | -16(7) | 7(7) |
| H26c | 58(8) | 17(7) | 100(10) | 0(6) | -12(7) | 24(7) |
| C27 | 18.2(4) | 14.3(4) | 26.3(4) | -0.7(3) | -2.7(3) | 1.4(3) |
| C28 | 23.1(4) | 24.5(5) | 30.1(4) | -0.8(4) | -1.6(4) | -4.0(4) |
| H28 | 46(7) | 43(7) | 44(6) | -2(6) | 2(5) | -15(6) |
| C29 | 26.8(5) | 34.5(5) | 32.3(5) | 3.1(4) | 3.3(4) | -1.0(4) |
| H29 | 64(8) | 70(9) | 54(7) | 8(7) | 24(7) | -37(7) |
| C30 | 21.2(4) | 30.2(5) | 39.1(5) | -0.4(4) | 2.1(4) | 8.0(4) |
| H30 | 25(6) | 59(8) | 57(7) | -12(5) | 22(6) | 3(6) |
| C31 | 23.4(4) | 24.4(5) | 41.0(5) | -7.6(4) | 1.2(4) | 2.8(4) |
| H31 | 39(7) | 48(8) | 73(8) | -39(6) | 0(6) | -9(6) |
| C32 | 23.6(4) | 17.9(4) | 35.0(5) | -5.8(3) | 0.7(4) | -2.0(4) |
| H32 | 48(6) | 33(6) | 53(7) | -6(6) | 2(6) | -21(6) |
| C33 | 19.9(5) | 28.0(5) | 34.8(5) | 1.3(4) | -0.1(4) | -5.2(4) |
| H33a | 24(6) | 69(9) | 58(8) | 8(6) | -4(6) | -6(7) |
| H33b | 52(7) | 55(9) | 47(7) | 18(7) | 18(6) | 16(7) |
| H33c | 53(8) | 69(10) | 88(9) | -18(7) | 10(7) | -56(8) |
| C34 | 30.1(5) | 16.9(5) | 43.1(6) | -0.8(4) | -9.2(5) | 7.3(4) |
| H34a | 46(7) | 35(7) | 76(9) | 8(6) | -9(7) | 14(6) |
| H34b | 72(9) | 30(7) | 74(9) | -11(7) | -36(7) | 8(6) |
| H34c | 86(10) | 46(8) | 43(7) | -11(7) | 16(7) | 20(6) |
| C35 | 15.2(4) | 16.3(4) | 24.5(4) | 0.8(3) | -2.2(3) | 1.4(3) |
| C36 | 22.6(4) | 20.6(4) | 26.1(4) | -5.9(3) | 0.5(4) | -1.8(4) |
| H36 | 55(7) | 38(7) | 36(6) | -15(6) | 25(6) | -1(5) |
| C37 | 28.8(5) | 25.6(5) | 35.2(5) | -9.2(4) | 0.1(4) | -6.6(4) |
| H37 | 51(7) | 52(8) | 60(7) | -28(6) | 17(6) | -9(6) |
| C38 | 32.7(5) | 28.3(5) | 31.3(5) | -0.4(4) | -4.3(4) | -8.1(4) |
| H38 | 62(8) | 55(8) | 58(8) | -4(6) | -12(6) | -28(7) |
| C39 | 33.9(5) | 28.4(5) | 27.9(5) | 5.3(4) | 2.2(4) | -3.4(4) |
| H39 | 67(8) | 52(7) | 29(6) | 2(7) | 8(6) | -1(5) |
| C40 | 24.2(4) | 23.1(4) | 29.3(4) | 0.9(4) | 4.2(4) | 0.6(4) |
| H40 | 55(7) | 26(6) | 61(7) | -16(6) | 34(6) | -6(5) |
| Si51 | 17.78(10) | 15.06(10) | 20.0(1) | -0.24(9) | 4.94(9) | 0.76(8) |
| Si52 | 16.79(10) | 12.97(10) | 27.45(11) | 0.73(9) | 1.95(10) | 1.04(9) |
| Al51 | 14.59(10) | 12.32(11) | 18.92(11) | 1.91(9) | 3.37(10) | 0.33(9) |
| C51 | 12.8(3) | 13.7(4) | 15.2(3) | 1.1(3) | 0.2(3) | -2.0(3) |
| C52 | 13.4(3) | 13.2(4) | 17.6(4) | 0.4(3) | -1.0(3) | -1.1(3) |
| C53 | 13.7(4) | 17.2(4) | 23.3(4) | 2.8(3) | -1.0(3) | -2.1(3) |
| H53 | 25(5) | 46(7) | 41(6) | 8(5) | -11(5) | 5(5) |
| C54 | 13.9(4) | 20.0(4) | 24.4(4) | 2.8(3) | 2.3(3) | -4.2(3) |
| H54 | 26(5) | 41(7) | 50(7) | 16(5) | -4(5) | -1(6) |
| C55 | 16.0(4) | 18.9(4) | 19.7(4) | 0.8(3) | 2.4(3) | -5.4(3) |
| H55 | 41(6) | 36(6) | 27(6) | 6(5) | -1(5) | -14(5) |
| C56 | 12.8(3) | 16.0(4) | 15.4(4) | -0.7(3) | 0.3(3) | -2.8(3) |
| C57 | 15.1(3) | 12.6(4) | 16.9(4) | -0.3(3) | -1.4(3) | 0.5(3) |
| C58 | 17.4(3) | 14.0(4) | 15.2(4) | -1.5(3) | -0.4(3) | 0.4(3) |
| C59 | 23.7(4) | 19.1(4) | 14.6(4) | -4.8(3) | 0.2(3) | -0.4(3) |
| H59 | 55(7) | 19(6) | 38(6) | -11(5) | 5(5) | -1(5) |
| C60 | 24.6(4) | 24.2(4) | 15.1(4) | -4.7(3) | -1.3(3) | 3.0(3) |
| C61 | 25.7(4) | 21.2(4) | 19.2(4) | -4.0(3) | -0.8(4) | 6.6(3) |
| H61 | 47(7) | 34(7) | 41(6) | -6(5) | 0(6) | 17(5) |
| C62 | 20.7(4) | 15.1(4) | 21.1(4) | -1.7(3) | -1.4(3) | 3.7(3) |
| C63 | 23.7(4) | 17.6(4) | 17.8(4) | -5.4(4) | 2.7(4) | -0.0(3) |
| H63a | 33(6) | 113(11) | 51(7) | -1(7) | 18(6) | 28(7) |
| H63b | 101(10) | 20(7) | 74(8) | -3(7) | 48(8) | 6(6) |
| H63c | 82(9) | 76(9) | 19(6) | -46(7) | -5(6) | 2(6) |
| C64 | 46.1(6) | 45.6(7) | 14.2(4) | -17.1(6) | 0.9(5) | 0.1(4) |
| H64a | 88(9) | 66(9) | 32(6) | -37(8) | 19(6) | 4(6) |
| H64b | 58(8) | 149(14) | 36(7) | -41(9) | 4(7) | -14(8) |
| H64c | 171(17) | 76(12) | 56(9) | 59(12) | 17(10) | -17(8) |
| C65 | 35.7(6) | 16.3(5) | 35.1(6) | -6.1(4) | 1.5(5) | 2.3(4) |
| H65a | 71(8) | 42(7) | 43(7) | -3(6) | -23(7) | -2(6) |
| H65b | 47(7) | 20(6) | 84(9) | -3(6) | 9(7) | -3(6) |
| H65c | 85(9) | 34(7) | 41(7) | -14(7) | 15(7) | -3(6) |
| C66 | 14.5(3) | 16.6(4) | 14.6(3) | -1.1(3) | 0.5(3) | -1.5(3) |
| C67 | 14.9(4) | 19.7(4) | 16.0(4) | -2.3(3) | -0.1(3) | -1.2(3) |
| C68 | 15.6(4) | 25.2(4) | 18.9(4) | -2.0(3) | -2.3(3) | -1.0(3) |
| H68 | 20(5) | 50(7) | 38(6) | -2(5) | 2(5) | 1(5) |
| C69 | 18.7(4) | 22.6(4) | 16.6(4) | 1.3(3) | -2.4(3) | -1.6(3) |
| C70 | 20.3(4) | 19.0(4) | 16.4(4) | 1.6(3) | -0.0(3) | -0.2(3) |
| H70 | 40(6) | 25(6) | 37(6) | -2(5) | -10(5) | 12(5) |
| C71 | 16.3(3) | 15.9(4) | 16.8(4) | -0.6(3) | 0.5(3) | -0.7(3) |
| C72 | 22.5(4) | 23.5(5) | 19.3(4) | -5.9(4) | 1.5(4) | 0.5(4) |
| H72a | 116(11) | 38(8) | 82(10) | 29(8) | 59(8) | 18(7) |
| H72b | 45(7) | 80(10) | 154(13) | -30(8) | -32(9) | 81(9) |
| H72c | 118(12) | 66(9) | 39(7) | -48(8) | -2(8) | 11(7) |
| C73 | 25.6(5) | 34.1(6) | 23.8(5) | 4.3(4) | -7.7(4) | -1.1(4) |
| H73a | 35(8) | 230(20) | 165(17) | -47(11) | -37(9) | 146(15) |
| H73b | 106(13) | 240(20) | 50(9) | 110(14) | -11(9) | -17(11) |
| H73c | 171(18) | 38(9) | 210(20) | 35(11) | -139(15) | -30(11) |
| C74 | 18.3(4) | 22.4(5) | 33.2(5) | -3.5(4) | 1.7(4) | 5.0(4) |
| H74a | 36(6) | 50(8) | 79(9) | -13(6) | -5(6) | 28(7) |
| H74b | 40(7) | 35(7) | 113(11) | -1(6) | 20(7) | -4(7) |
| H74c | 50(7) | 86(10) | 46(7) | -40(7) | -25(6) | 15(7) |
| C75 | 40.7(6) | 16.8(4) | 30.4(5) | -2.4(4) | 11.4(5) | 2.2(4) |
| H75a | 109(10) | 37(7) | 36(6) | -9(8) | 14(8) | -17(6) |
| H75b | 77(10) | 56(9) | 80(10) | 6(7) | -22(8) | 24(8) |
| H75c | 60(8) | 33(8) | 88(9) | -10(6) | 26(8) | 8(7) |
| C76 | 21.2(4) | 30.1(5) | 25.9(5) | -2.4(4) | -0.2(4) | -1.2(4) |
| H76a | 63(8) | 20(7) | 82(9) | 4(6) | -22(7) | 19(7) |
| H76b | 23(6) | 83(10) | 59(8) | -9(6) | 4(6) | 14(7) |
| H76c | 54(7) | 68(9) | 38(7) | 8(7) | -4(6) | -31(7) |
| C77 | 17.3(4) | 17.5(4) | 20.0(4) | 0.8(3) | 3.0(3) | 0.5(3) |
| C78 | 24.1(4) | 24.0(5) | 22.2(4) | 7.9(4) | -0.0(4) | -3.3(4) |
| H78 | 44(7) | 55(8) | 25(5) | 16(6) | -13(5) | -1(5) |
| C79 | 34.0(5) | 29.2(5) | 25.2(5) | 10.1(4) | 0.5(4) | -6.8(4) |
| H79 | 67(8) | 58(8) | 43(7) | 42(7) | -1(6) | -13(6) |
| C80 | 39.1(5) | 25.6(5) | 22.2(4) | 0.2(4) | -0.3(4) | -3.5(4) |
| H80 | 72(8) | 56(8) | 29(6) | 3(6) | -8(6) | -15(6) |
| C81 | 38.5(5) | 26.9(5) | 23.6(4) | 1.5(4) | -7.3(4) | -0.2(4) |
| H81 | 71(8) | 51(8) | 63(8) | 19(7) | -34(7) | -13(7) |
| C82 | 26.7(4) | 24.0(5) | 26.3(4) | 6.0(4) | -4.1(4) | -0.5(4) |
| H82 | 55(7) | 55(8) | 44(7) | 30(6) | -17(6) | -18(6) |
| C83 | 26.9(5) | 19.7(5) | 32.2(5) | -0.4(4) | -6.5(4) | -2.8(4) |
| H83a | 99(10) | 16(7) | 73(8) | 2(7) | -21(8) | -10(6) |
| H83b | 30(6) | 56(8) | 38(6) | -8(6) | 3(5) | -19(6) |
| H83c | 47(7) | 45(8) | 63(8) | 13(6) | -28(7) | -9(6) |
| C84 | 23.6(5) | 27.5(6) | 49.5(7) | -1.9(4) | 5.2(5) | 13.2(5) |
| H84a | 81(9) | 20(7) | 102(11) | 5(7) | 39(8) | 8(7) |
| H84b | 35(7) | 93(11) | 101(11) | -5(7) | 2(7) | 44(9) |
| H84c | 69(9) | 93(12) | 42(8) | -27(8) | -1(7) | 6(8) |
| C85 | 19.4(4) | 13.6(4) | 22.5(4) | 1.7(3) | 1.0(3) | -1.5(3) |
| C86 | 27.8(5) | 22.6(4) | 25.0(4) | 1.6(4) | 0.2(4) | -4.9(3) |
| H86 | 41(6) | 64(8) | 38(6) | 21(6) | 11(5) | -17(6) |
| C87 | 34.2(5) | 27.0(5) | 29.2(5) | -0.4(4) | -9.0(4) | -4.0(4) |
| H87 | 79(8) | 59(8) | 27(6) | -3(7) | -19(6) | -19(6) |
| C88 | 25.7(5) | 23.0(5) | 39.6(5) | 1.1(4) | -9.5(4) | 0.1(4) |
| H88 | 29(6) | 41(7) | 92(9) | 9(5) | -36(6) | -5(7) |
| C89 | 21.3(4) | 22.7(4) | 36.5(5) | 5.9(3) | -1.6(4) | -0.9(4) |
| H89 | 38(6) | 63(8) | 78(8) | 44(6) | -3(6) | -19(7) |
| C90 | 21.3(4) | 18.8(4) | 24.5(4) | 5.2(3) | 0.8(4) | -2.2(3) |
| H90 | 30(6) | 55(7) | 27(5) | 16(5) | 0(5) | -16(5) |

Table 3: Bond Lengths in Å for MC22028.

| Atom | Atom | Length/Å |  |
| --- | --- | --- | --- |
| Si1 | Al1 | 2.4833(4) |
| Si1 | C25 | 1.8921(9) |
| Si1 | C26 | 1.8890(10) |
| Si1 | C27 | 1.8865(8) |
| Si2 | Al1 | 2.4712(3) |
| Si2 | C33 | 1.8840(10) |
| Si2 | C34 | 1.8866(9) |
| Si2 | C35 | 1.8926(8) |
| Al1 | C1 | 1.9728(7) |
| C1 | C2 | 1.4083(10) |
| C1 | C6 | 1.4097(10) |
| C2 | C3 | 1.3957(10) |
| C2 | C7 | 1.4937(10) |
| C3 | C4 | 1.3949(11) |
| C4 | C5 | 1.3948(11) |
| C5 | C6 | 1.3975(10) |
| C6 | C16 | 1.4947(10) |
| C7 | C8 | 1.4104(11) |
| C7 | C12 | 1.4093(10) |
| C8 | C9 | 1.3979(11) |
| C8 | C13 | 1.5064(11) |
| C9 | C10 | 1.3923(11) |
| C10 | C11 | 1.3991(11) |
| C10 | C14 | 1.5072(12) |
| C11 | C12 | 1.3967(11) |
| C12 | C15 | 1.5069(12) |
| C16 | C17 | 1.4095(10) |
| C16 | C21 | 1.4076(10) |
| C17 | C18 | 1.3974(11) |
| C17 | C22 | 1.5011(12) |
| C18 | C19 | 1.3934(12) |
| C19 | C20 | 1.3923(12) |
| C19 | C23 | 1.5025(12) |
| C20 | C21 | 1.4011(11) |
| C21 | C24 | 1.5097(11) |
| C27 | C28 | 1.3992(12) |
| C27 | C32 | 1.3984(11) |
| C28 | C29 | 1.3960(13) |
| C29 | C30 | 1.3916(13) |
| C30 | C31 | 1.3877(13) |
| C31 | C32 | 1.3916(12) |
| C35 | C36 | 1.3975(11) |
| C35 | C40 | 1.4054(12) |
| C36 | C37 | 1.3950(12) |
| C37 | C38 | 1.3884(13) |
| C38 | C39 | 1.3920(13) |
| C39 | C40 | 1.3962(12) |
| Si51 | Al51 | 2.4849(3) |
| Si51 | C75 | 1.8843(9) |
| Si51 | C76 | 1.8846(9) |
| Si51 | C77 | 1.8942(8) |
| Si52 | Al51 | 2.4717(3) |
| Si52 | C83 | 1.8882(9) |
| Si52 | C84 | 1.8912(10) |
| Si52 | C85 | 1.8873(8) |
| Al51 | C51 | 1.9757(8) |
| C51 | C52 | 1.4086(10) |
| C51 | C56 | 1.4078(10) |
| C52 | C53 | 1.3976(10) |
| C52 | C57 | 1.4971(10) |
| C53 | C54 | 1.3995(11) |
| C54 | C55 | 1.3928(11) |
| C55 | C56 | 1.4004(10) |
| C56 | C66 | 1.4948(10) |
| C57 | C58 | 1.4100(10) |
| C57 | C62 | 1.4098(10) |
| C58 | C59 | 1.4007(11) |
| C58 | C63 | 1.5046(11) |
| C59 | C60 | 1.3910(11) |
| C60 | C61 | 1.3968(12) |
| C60 | C64 | 1.5060(12) |
| C61 | C62 | 1.3989(11) |
| C62 | C65 | 1.5046(12) |
| C66 | C67 | 1.4083(10) |
| C66 | C71 | 1.4101(10) |
| C67 | C68 | 1.3984(11) |
| C67 | C72 | 1.5074(12) |
| C68 | C69 | 1.3940(11) |
| C69 | C70 | 1.3944(11) |
| C69 | C73 | 1.5016(12) |
| C70 | C71 | 1.3970(11) |
| C71 | C74 | 1.5021(11) |
| C77 | C78 | 1.3985(11) |
| C77 | C82 | 1.4039(11) |
| C78 | C79 | 1.4002(12) |
| C79 | C80 | 1.3898(13) |
| C80 | C81 | 1.3892(13) |
| C81 | C82 | 1.3971(12) |
| C85 | C86 | 1.4053(11) |
| C85 | C90 | 1.3961(11) |
| C86 | C87 | 1.3941(12) |
| C87 | C88 | 1.3919(13) |
| C88 | C89 | 1.3925(13) |
| C89 | C90 | 1.3940(12) |

Table 4: Bond Angles in ° for MC22028.

| Atom | Atom | Atom | Angle/° |  |
| --- | --- | --- | --- | --- |
| C25 | Si1 | Al1 | 109.64(3) |
| C26 | Si1 | Al1 | 118.67(4) |
| C26 | Si1 | C25 | 107.68(5) |
| C27 | Si1 | Al1 | 107.31(3) |
| C27 | Si1 | C25 | 106.93(4) |
| C27 | Si1 | C26 | 106.01(5) |
| C33 | Si2 | Al1 | 114.83(4) |
| C34 | Si2 | Al1 | 116.03(4) |
| C34 | Si2 | C33 | 106.74(5) |
| C35 | Si2 | Al1 | 102.74(2) |
| C35 | Si2 | C33 | 108.03(4) |
| C35 | Si2 | C34 | 108.02(4) |
| Si2 | Al1 | Si1 | 110.364(11) |
| C1 | Al1 | Si1 | 125.75(2) |
| C1 | Al1 | Si2 | 123.59(2) |
| C2 | C1 | Al1 | 123.45(5) |
| C6 | C1 | Al1 | 117.69(5) |
| C6 | C1 | C2 | 118.85(7) |
| C3 | C2 | C1 | 120.30(7) |
| C7 | C2 | C1 | 117.43(6) |
| C7 | C2 | C3 | 122.27(7) |
| C4 | C3 | C2 | 120.13(8) |
| C5 | C4 | C3 | 120.40(7) |
| C6 | C5 | C4 | 119.69(7) |
| C5 | C6 | C1 | 120.62(7) |
| C16 | C6 | C1 | 116.38(6) |
| C16 | C6 | C5 | 123.00(7) |
| C8 | C7 | C2 | 119.48(6) |
| C12 | C7 | C2 | 120.94(7) |
| C12 | C7 | C8 | 119.49(7) |
| C9 | C8 | C7 | 119.38(7) |
| C13 | C8 | C7 | 120.74(7) |
| C13 | C8 | C9 | 119.78(7) |
| C10 | C9 | C8 | 121.69(8) |
| C11 | C10 | C9 | 118.30(7) |
| C14 | C10 | C9 | 120.94(8) |
| C14 | C10 | C11 | 120.75(8) |
| C12 | C11 | C10 | 121.56(8) |
| C11 | C12 | C7 | 119.43(7) |
| C15 | C12 | C7 | 120.46(7) |
| C15 | C12 | C11 | 120.11(8) |
| C17 | C16 | C6 | 119.84(7) |
| C21 | C16 | C6 | 120.09(7) |
| C21 | C16 | C17 | 119.99(7) |
| C18 | C17 | C16 | 119.14(7) |
| C22 | C17 | C16 | 120.70(7) |
| C22 | C17 | C18 | 120.16(8) |
| C19 | C18 | C17 | 121.67(8) |
| C20 | C19 | C18 | 118.45(8) |
| C23 | C19 | C18 | 120.54(9) |
| C23 | C19 | C20 | 121.01(9) |
| C21 | C20 | C19 | 121.77(8) |
| C20 | C21 | C16 | 118.95(7) |
| C24 | C21 | C16 | 121.04(7) |
| C24 | C21 | C20 | 119.91(7) |
| C28 | C27 | Si1 | 121.25(6) |
| C32 | C27 | Si1 | 121.37(6) |
| C32 | C27 | C28 | 117.37(8) |
| C29 | C28 | C27 | 121.48(9) |
| C30 | C29 | C28 | 119.84(9) |
| C31 | C30 | C29 | 119.66(9) |
| C32 | C31 | C30 | 119.97(9) |
| C31 | C32 | C27 | 121.67(9) |
| C36 | C35 | Si2 | 122.10(6) |
| C40 | C35 | Si2 | 120.45(6) |
| C40 | C35 | C36 | 117.36(8) |
| C37 | C36 | C35 | 121.34(8) |
| C38 | C37 | C36 | 120.39(9) |
| C39 | C38 | C37 | 119.51(9) |
| C40 | C39 | C38 | 119.79(9) |
| C39 | C40 | C35 | 121.60(9) |
| C75 | Si51 | Al51 | 118.14(4) |
| C76 | Si51 | Al51 | 108.55(3) |
| C76 | Si51 | C75 | 107.84(5) |
| C77 | Si51 | Al51 | 108.24(3) |
| C77 | Si51 | C75 | 105.58(4) |
| C77 | Si51 | C76 | 108.11(4) |
| C83 | Si52 | Al51 | 108.28(3) |
| C84 | Si52 | Al51 | 120.42(4) |
| C84 | Si52 | C83 | 109.57(5) |
| C85 | Si52 | Al51 | 104.80(3) |
| C85 | Si52 | C83 | 107.95(4) |
| C85 | Si52 | C84 | 105.11(5) |
| Si52 | Al51 | Si51 | 108.171(11) |
| C51 | Al51 | Si51 | 126.78(2) |
| C51 | Al51 | Si52 | 124.90(2) |
| C52 | C51 | Al51 | 118.03(5) |
| C56 | C51 | Al51 | 123.02(5) |
| C56 | C51 | C52 | 118.83(7) |
| C53 | C52 | C51 | 120.84(7) |
| C57 | C52 | C51 | 116.92(6) |
| C57 | C52 | C53 | 122.23(7) |
| C54 | C53 | C52 | 119.49(8) |
| C55 | C54 | C53 | 120.46(8) |
| C56 | C55 | C54 | 120.07(8) |
| C55 | C56 | C51 | 120.30(7) |
| C66 | C56 | C51 | 119.00(6) |
| C66 | C56 | C55 | 120.69(7) |
| C58 | C57 | C52 | 119.94(6) |
| C62 | C57 | C52 | 120.49(7) |
| C62 | C57 | C58 | 119.52(7) |
| C59 | C58 | C57 | 119.24(7) |
| C63 | C58 | C57 | 121.57(7) |
| C63 | C58 | C59 | 119.10(7) |
| C60 | C59 | C58 | 121.92(8) |
| C61 | C60 | C59 | 118.19(7) |
| C64 | C60 | C59 | 120.64(8) |
| C64 | C60 | C61 | 121.17(8) |
| C62 | C61 | C60 | 121.68(8) |
| C61 | C62 | C57 | 119.42(7) |
| C65 | C62 | C57 | 120.49(8) |
| C65 | C62 | C61 | 120.09(8) |
| C67 | C66 | C56 | 120.46(7) |
| C71 | C66 | C56 | 119.84(6) |
| C71 | C66 | C67 | 119.70(7) |
| C68 | C67 | C66 | 119.07(7) |
| C72 | C67 | C66 | 121.63(7) |
| C72 | C67 | C68 | 119.24(7) |
| C69 | C68 | C67 | 122.02(7) |
| C70 | C69 | C68 | 118.10(7) |
| C73 | C69 | C68 | 121.16(8) |
| C73 | C69 | C70 | 120.73(8) |
| C71 | C70 | C69 | 121.75(8) |
| C70 | C71 | C66 | 119.35(7) |
| C74 | C71 | C66 | 120.95(7) |
| C74 | C71 | C70 | 119.69(8) |
| C78 | C77 | Si51 | 122.93(6) |
| C82 | C77 | Si51 | 119.85(6) |
| C82 | C77 | C78 | 117.22(8) |
| C79 | C78 | C77 | 121.35(8) |
| C80 | C79 | C78 | 120.29(9) |
| C81 | C80 | C79 | 119.47(9) |
| C82 | C81 | C80 | 119.91(9) |
| C81 | C82 | C77 | 121.76(8) |
| C86 | C85 | Si52 | 119.75(6) |
| C90 | C85 | Si52 | 122.59(6) |
| C90 | C85 | C86 | 117.65(8) |
| C87 | C86 | C85 | 121.31(8) |
| C88 | C87 | C86 | 119.82(9) |
| C89 | C88 | C87 | 119.86(9) |
| C90 | C89 | C88 | 119.80(9) |
| C89 | C90 | C85 | 121.56(8) |

Table 5: Torsion Angles in ° for MC22028.

| Atom | Atom | Atom | Atom | Angle/° |
| --- | --- | --- | --- | --- |
| Si1 | C27 | C28 | C29 | -179.87(7) |  |
| Si1 | C27 | C32 | C31 | -179.89(7) |  |
| Si2 | C35 | C36 | C37 | 177.33(7) |  |
| Si2 | C35 | C40 | C39 | -177.72(7) |  |
| Al1 | C1 | C2 | C3 | -179.46(6) |  |
| Al1 | C1 | C2 | C7 | 0.77(7) |  |
| Al1 | C1 | C6 | C5 | -179.72(6) |  |
| Al1 | C1 | C6 | C16 | -0.53(6) |  |
| C1 | C2 | C3 | C4 | -0.68(9) |  |
| C1 | C2 | C7 | C8 | 73.04(7) |  |
| C1 | C2 | C7 | C12 | -103.40(7) |  |
| C1 | C6 | C5 | C4 | -0.88(9) |  |
| C1 | C6 | C16 | C17 | -98.86(7) |  |
| C1 | C6 | C16 | C21 | 77.96(7) |  |
| C2 | C3 | C4 | C5 | 0.70(9) |  |
| C2 | C7 | C8 | C9 | -173.07(7) |  |
| C2 | C7 | C8 | C13 | 10.55(8) |  |
| C2 | C7 | C12 | C11 | 173.10(7) |  |
| C2 | C7 | C12 | C15 | -6.55(9) |  |
| C3 | C4 | C5 | C6 | 0.08(9) |  |
| C4 | C5 | C6 | C16 | 179.99(7) |  |
| C5 | C6 | C16 | C17 | 80.30(8) |  |
| C5 | C6 | C16 | C21 | -102.87(8) |  |
| C6 | C16 | C17 | C18 | 175.09(7) |  |
| C6 | C16 | C17 | C22 | -5.15(9) |  |
| C6 | C16 | C21 | C20 | -174.80(7) |  |
| C6 | C16 | C21 | C24 | 8.77(8) |  |
| C7 | C8 | C9 | C10 | -0.50(9) |  |
| C7 | C12 | C11 | C10 | 0.33(9) |  |
| C8 | C9 | C10 | C11 | -2.47(9) |  |
| C8 | C9 | C10 | C14 | 177.10(8) |  |
| C9 | C10 | C11 | C12 | 2.56(9) |  |
| C10 | C11 | C12 | C15 | 179.98(8) |  |
| C16 | C17 | C18 | C19 | 0.22(9) |  |
| C16 | C21 | C20 | C19 | -0.80(8) |  |
| C17 | C18 | C19 | C20 | 0.99(10) |  |
| C17 | C18 | C19 | C23 | -178.16(9) |  |
| C18 | C19 | C20 | C21 | -0.70(9) |  |
| C19 | C20 | C21 | C24 | 175.67(8) |  |
| C27 | C28 | C29 | C30 | -0.17(10) |  |
| C27 | C32 | C31 | C30 | -0.30(10) |  |
| C28 | C29 | C30 | C31 | 0.12(11) |  |
| C29 | C30 | C31 | C32 | 0.12(11) |  |
| C35 | C36 | C37 | C38 | 0.28(10) |  |
| C35 | C40 | C39 | C38 | 0.38(10) |  |
| C36 | C37 | C38 | C39 | -0.97(11) |  |
| C37 | C38 | C39 | C40 | 0.64(11) |  |
| Si51 | C77 | C78 | C79 | 178.75(7) |  |
| Si51 | C77 | C82 | C81 | -178.85(7) |  |
| Si52 | C85 | C86 | C87 | 179.88(7) |  |
| Si52 | C85 | C90 | C89 | 179.89(7) |  |
| Al51 | C51 | C52 | C53 | -176.41(5) |  |
| Al51 | C51 | C52 | C57 | 2.30(6) |  |
| Al51 | C51 | C56 | C55 | 175.41(6) |  |
| Al51 | C51 | C56 | C66 | -2.98(7) |  |
| C51 | C52 | C53 | C54 | 0.82(9) |  |
| C51 | C52 | C57 | C58 | -80.83(7) |  |
| C51 | C52 | C57 | C62 | 96.68(7) |  |
| C51 | C56 | C55 | C54 | 0.78(9) |  |
| C51 | C56 | C66 | C67 | -75.41(8) |  |
| C51 | C56 | C66 | C71 | 104.45(7) |  |
| C52 | C53 | C54 | C55 | -0.58(9) |  |
| C52 | C57 | C58 | C59 | 175.98(7) |  |
| C52 | C57 | C58 | C63 | -7.51(9) |  |
| C52 | C57 | C62 | C61 | -176.21(7) |  |
| C52 | C57 | C62 | C65 | 4.53(9) |  |
| C53 | C54 | C55 | C56 | -0.22(9) |  |
| C54 | C55 | C56 | C66 | 179.14(7) |  |
| C55 | C56 | C66 | C67 | 106.20(8) |  |
| C55 | C56 | C66 | C71 | -73.93(8) |  |
| C56 | C66 | C67 | C68 | -179.96(7) |  |
| C56 | C66 | C67 | C72 | -2.72(9) |  |
| C56 | C66 | C71 | C70 | 179.91(7) |  |
| C56 | C66 | C71 | C74 | 0.39(9) |  |
| C57 | C58 | C59 | C60 | 0.34(9) |  |
| C57 | C62 | C61 | C60 | 0.17(9) |  |
| C58 | C59 | C60 | C61 | 1.11(9) |  |
| C58 | C59 | C60 | C64 | -178.55(9) |  |
| C59 | C60 | C61 | C62 | -1.37(9) |  |
| C60 | C61 | C62 | C65 | 179.43(9) |  |
| C66 | C67 | C68 | C69 | 0.38(9) |  |
| C66 | C71 | C70 | C69 | -0.27(9) |  |
| C67 | C68 | C69 | C70 | -0.85(9) |  |
| C67 | C68 | C69 | C73 | 177.98(8) |  |
| C68 | C69 | C70 | C71 | 0.80(9) |  |
| C69 | C70 | C71 | C74 | 179.25(8) |  |
| C77 | C78 | C79 | C80 | 0.08(10) |  |
| C77 | C82 | C81 | C80 | 0.08(10) |  |
| C78 | C79 | C80 | C81 | 0.36(11) |  |
| C79 | C80 | C81 | C82 | -0.43(11) |  |
| C85 | C86 | C87 | C88 | 0.05(10) |  |
| C85 | C90 | C89 | C88 | 0.45(10) |  |
| C86 | C87 | C88 | C89 | -0.43(11) |  |
| C87 | C88 | C89 | C90 | 0.19(11) |  |

Table 6: Hydrogen Fractional Atomic Coordinates (×104) and Equivalent Isotropic Displacement Parameters (Å2×103) for MC22028. Ueq is defined as 1/3 of the trace of the orthogonalised Uij.

| Atom | x | y | z | Ueq |
| --- | --- | --- | --- | --- |
| H3 | 4500(5) | 2063(5) | 4607(4) | 37(3) |
| H4 | 4128(5) | 1687(5) | 3544(4) | 40(3) |
| H5 | 4939(5) | 2040(5) | 2654(4) | 33(2) |
| H9 | 5796(6) | 4384(5) | 5767(4) | 39(3) |
| H11 | 6690(6) | 2401(5) | 6224(4) | 42(3) |
| H13a | 4502(6) | 3885(6) | 4661(5) | 63(4) |
| H13b | 5291(6) | 4071(6) | 4211(5) | 51(3) |
| H13c | 5096(7) | 4575(6) | 4848(5) | 59(3) |
| H14a | 6692(7) | 4276(6) | 6629(5) | 62(3) |
| H14b | 6269(7) | 3598(7) | 7041(5) | 71(4) |
| H14c | 7223(7) | 3517(6) | 6720(5) | 63(4) |
| H15a | 6628(7) | 1485(5) | 5525(5) | 54(3) |
| H15b | 6423(6) | 1638(5) | 4741(5) | 45(3) |
| H15c | 5659(6) | 1441(6) | 5237(5) | 58(3) |
| H18 | 6370(6) | 4123(5) | 1594(4) | 44(3) |
| H20 | 8066(5) | 2573(5) | 2065(4) | 42(3) |
| H22a | 5183(6) | 4201(6) | 2111(5) | 61(3) |
| H22b | 5171(6) | 3925(6) | 2880(5) | 50(3) |
| H22c | 4778(6) | 3407(6) | 2313(5) | 55(3) |
| H23a | 7557(9) | 3805(10) | 890(6) | 116(7) |
| H23b | 8104(9) | 4123(8) | 1453(6) | 104(6) |
| H23c | 8250(9) | 3308(8) | 1158(8) | 108(6) |
| H24a | 7821(5) | 1751(5) | 2820(4) | 46(3) |
| H24b | 7193(6) | 1977(5) | 3422(5) | 51(3) |
| H24c | 6836(6) | 1485(5) | 2828(5) | 51(3) |
| H25a | 6887(7) | 5700(6) | 4497(5) | 58(3) |
| H25b | 7416(7) | 5014(7) | 4816(5) | 60(4) |
| H25c | 6386(7) | 4975(7) | 4818(5) | 72(4) |
| H26a | 5557(6) | 5036(6) | 3423(5) | 51(3) |
| H26b | 6183(7) | 4978(6) | 2797(5) | 56(3) |
| H26c | 6238(7) | 5708(6) | 3259(6) | 58(4) |
| H28 | 7829(6) | 4165(5) | 2698(4) | 44(3) |
| H29 | 9105(6) | 4458(6) | 2226(5) | 63(4) |
| H30 | 9893(5) | 5429(5) | 2644(5) | 47(3) |
| H31 | 9403(6) | 6105(5) | 3547(5) | 53(3) |
| H32 | 8132(6) | 5790(5) | 4029(4) | 45(3) |
| H33a | 9496(6) | 2813(6) | 3814(5) | 51(3) |
| H33b | 8981(6) | 3353(6) | 3313(5) | 51(3) |
| H33c | 8792(7) | 2468(6) | 3324(6) | 70(4) |
| H34a | 8752(7) | 2041(6) | 4809(5) | 52(3) |
| H34b | 7898(7) | 1787(6) | 4431(5) | 59(4) |
| H34c | 7837(7) | 2266(6) | 5130(5) | 58(4) |
| H36 | 9363(6) | 4169(5) | 4121(4) | 43(3) |
| H37 | 9768(6) | 5107(6) | 4800(5) | 54(3) |
| H38 | 9176(6) | 5246(6) | 5846(5) | 58(3) |
| H39 | 8137(6) | 4444(5) | 6190(4) | 49(3) |
| H40 | 7723(6) | 3485(5) | 5498(5) | 47(3) |
| H53 | 10716(5) | 7160(5) | 4013(4) | 37(3) |
| H54 | 10722(5) | 6887(5) | 2889(4) | 39(3) |
| H55 | 9643(5) | 7297(5) | 2216(4) | 35(3) |
| H59 | 9952(6) | 9289(5) | 5578(4) | 37(3) |
| H61 | 8995(6) | 7315(5) | 6038(4) | 41(3) |
| H63a | 10827(6) | 9075(7) | 4441(5) | 66(4) |
| H63b | 10044(7) | 9585(6) | 4444(5) | 65(4) |
| H63c | 10109(7) | 8952(6) | 3891(4) | 59(4) |
| H64a | 9074(7) | 8180(6) | 6812(4) | 62(4) |
| H64b | 9896(7) | 8672(8) | 6731(5) | 81(5) |
| H64c | 9007(10) | 9052(8) | 6566(6) | 101(6) |
| H65a | 8642(6) | 6754(5) | 4506(5) | 52(3) |
| H65b | 9533(6) | 6430(5) | 4735(5) | 50(3) |
| H65c | 8760(7) | 6475(6) | 5275(5) | 53(3) |
| H68 | 6439(5) | 7709(5) | 2193(4) | 36(3) |
| H70 | 7961(5) | 9254(5) | 1461(4) | 34(2) |
| H72a | 7812(8) | 6692(6) | 2853(6) | 79(4) |
| H72b | 6871(7) | 6950(6) | 2963(7) | 93(5) |
| H72c | 7596(8) | 7168(6) | 3440(5) | 74(4) |
| H73a | 5960(8) | 8562(12) | 1448(9) | 144(9) |
| H73b | 6602(9) | 8650(12) | 920(6) | 132(8) |
| H73c | 6410(12) | 9259(7) | 1353(10) | 141(9) |
| H74a | 9240(6) | 9410(6) | 1849(5) | 55(3) |
| H74b | 9692(6) | 8628(6) | 1896(6) | 63(4) |
| H74c | 9500(6) | 9055(6) | 2571(5) | 61(4) |
| H75a | 6906(8) | 6855(5) | 4256(5) | 61(3) |
| H75b | 7289(8) | 7022(6) | 4987(6) | 71(4) |
| H75c | 6287(7) | 7102(6) | 4883(6) | 60(4) |
| H76a | 6090(7) | 8911(5) | 3815(5) | 55(3) |
| H76b | 5549(6) | 8221(6) | 4138(5) | 55(3) |
| H76c | 6159(6) | 8082(6) | 3499(5) | 53(3) |
| H78 | 5889(5) | 9305(5) | 4889(4) | 41(3) |
| H79 | 5730(6) | 9894(6) | 5896(4) | 56(3) |
| H80 | 6558(6) | 9545(6) | 6801(4) | 53(3) |
| H81 | 7561(6) | 8656(6) | 6687(5) | 62(4) |
| H82 | 7713(6) | 8054(6) | 5679(4) | 52(3) |
| H83a | 8181(8) | 10660(5) | 4819(5) | 63(3) |
| H83b | 7751(6) | 9897(6) | 5062(4) | 41(3) |
| H83c | 8779(7) | 9953(6) | 5009(5) | 52(3) |
| H84a | 8834(7) | 10843(6) | 3548(6) | 67(4) |
| H84b | 9508(7) | 10158(7) | 3589(6) | 76(4) |
| H84c | 8813(7) | 10184(7) | 2990(6) | 68(4) |
| H86 | 7449(6) | 9625(5) | 2735(4) | 48(3) |
| H87 | 6165(7) | 9931(6) | 2283(4) | 55(3) |
| H88 | 5165(6) | 10544(5) | 2932(5) | 54(3) |
| H89 | 5458(6) | 10832(6) | 4028(5) | 59(3) |
| H90 | 6740(5) | 10502(5) | 4479(4) | 38(3) |

Citations

L.J. Bourhis and O.V. Dolomanov and R.J. Gildea and J.A.K. Howard and H. Puschmann, The Anatomy of a Comprehensive Constrained, Restrained, Refinement Program for the Modern Computing Environment - Olex2 Disected, Acta Cryst. A, (2015), A71, 59-71.

O.V. Dolomanov and L.J. Bourhis and R.J. Gildea and J.A.K. Howard and H. Puschmann, Olex2: A complete structure solution, refinement and analysis program, J. Appl. Cryst., (2009), 42, 339-341.

SADABS, Bruker axs, Madison, WI (?).

SAINT - Software for the Integration of CCD Detector System Bruker Analytical X-ray Systems, Bruker axs, Madison, WI (?).

Sheldrick, G.M., A short history of ShelX, Acta Cryst., (2008), A64, 339-341.

#===============================================================================

# PLATON/CHECK-(301021) versus check.def version 210713, Entry: MC22028

# Data: MC22028.cif - Type: CIF                  Bond Precision   C-C = 0.0012 A

# Refl: MC22028.fcf - Type: LIST4                                   Temp = 100 K

# Audit:OLEX2 1.5-BETA (COMPILED 2022.04.07 SVN.RCA3783A0 FOR OLEXSYS, GUI SVN.R

# Refin:OLEX2.REFINE 1.5-BETA (BOURHIS ET AL., 2015)

# X-ray MoKa              R(int) = 0.059,  wR2/R(int) =  0.6,  Nref/Npar =   7.3

# Cell 17.0806(12) 19.4168(14) 21.6320(15)           90           90          90

# Wavelength 0.71073  Volume Reported       7174.3(9) Calculated       7174.3(9)

# SpaceGroup from Symmetry P 21 21 21   Hall: P 2ac 2ab             orthorhombic

#                 Reported P 21 21 21         P 2ac 2ab             orthorhombic

# MoietyFormula C40 H47 Al Si2

#      Reported C40 H47 Al Si2

#    SumFormula C40 H47 Al Si2

#      Reported C40 H47 Al Si2

# Mr        =    610.94[Calc],    610.97[Rep]       Volume/NonHatoms = 21 Ang**3

# Dx,gcm-3  =     1.131[Calc],     1.131[Rep]

# Z         =         8[Calc],         8[Rep]

# Mu (mm-1) =     0.149[Calc],     0.149[Rep]  Xtal Size =  0.188x0.247x0.578 mm

# F000      =    2624.0[Calc],    2626.9[Rep]  or F000' =   2626.52[Calc]

# Reported   T Limits: Tmin=0.705              Tmax=0.746  AbsCorr = MULTI-SCAN

# Calculated T Limits: Tmin=0.957 Tmin'=0.917  Tmax=0.972

# Measured   HKL: Reported 177148, CIF-loop 177356, <Mult> 15.0

# Reported   Hmax= 24, Kmax= 27, Lmax= 30, Nref=  21876        , Th(max)= 30.530

# Obs in FCF Hmax= 24, Kmax= 27, Lmax= 30, Nref=  21876[ 11818], Th(max)= 30.532

# Calculated Hmax= 24, Kmax= 27, Lmax= 30, Nref=  21935[ 11845], Ratio=1.85/1.00

# Reported   Rho(min) = -0.24, Rho(max) =  0.20 e/Ang**3 (From CIF)

# Calculated Rho(min) = -0.19, Rho(max) =  0.39 e/Ang**3 (From CIF+FCF data)

# w=1/[<sup>2</sup>(Fo<sup>2</sup>)+(0.0000P)<sup>2</sup>+0.0710P], P=(Fo<sup>2</sup>+2Fc<sup>2</sup>)/3

# R= 0.0392( 19441), wR2= 0.0849( 21876), S = 2.625      (From CIF+FCF data)

# R= 0.0237( 19441), wR2= 0.0348( 21876), S = 1.075      (From FCF data only)

# R= 0.0237( 19441), wR2= 0.0348( 21876), S = 1.075, Npar= 1621, Flack  -0.01(2)

# Number Bijvoet Pairs =10058 (100%),      8181 Selected for:  Parsons  -0.01(2)

# P2(tr) 1.000, P3(tr) 1.000, P3(tw) 0.000, Student-T Nu =  99,  Hooft  -0.02(2)

#===============================================================================

# For Documentation:http://www.platonsoft.nl/CIF-VALIDATION.pdf

#===============================================================================

*

#===============================================================================

#>>> The Following Improvement and Query ALERTS were generated - (Acta-Mode) <<<

#===============================================================================

Format: alert-number_ALERT_alert-type_alert-level text

089_ALERT_3_C Poor Data / Parameter Ratio (Zmax < 18) ........       7.29 Note

222_ALERT_3_C NonSolvent Resd 2  H   Uiso(max)/Uiso(min) Range        4.2 Ratio

351_ALERT_3_C Long   C-H (X0.96,N1.08A)  C26      - H26C     .       1.11 Ang.

351_ALERT_3_C Long   C-H (X0.96,N1.08A)  C31      - H31      .       1.11 Ang.

351_ALERT_3_C Long   C-H (X0.96,N1.08A)  C64      - H64C     .       1.13 Ang.

351_ALERT_3_C Long   C-H (X0.96,N1.08A)  C68      - H68      .       1.11 Ang.

351_ALERT_3_C Long   C-H (X0.96,N1.08A)  C76      - H76A     .       1.11 Ang.

351_ALERT_3_C Long   C-H (X0.96,N1.08A)  C78      - H78      .       1.11 Ang.

351_ALERT_3_C Long   C-H (X0.96,N1.08A)  C89      - H89      .       1.11 Ang.

910_ALERT_3_C Missing # of FCF Reflection(s) Below Theta(Min).          6 Note

911_ALERT_3_C Missing FCF Refl Between Thmin & STh/L=    0.600          3 Report

#===============================================================================

068_ALERT_1_G Reported F000 Differs from Calcd (or Missing)...     Please Check

802_ALERT_4_G CIF Input Record(s) with more than 80 Characters          1 Info

912_ALERT_4_G Missing # of FCF Reflections Above STh/L=  0.600         19 Note

933_ALERT_2_G Number of OMIT Records in Embedded .res File ...          4 Note

960_ALERT_3_G Number of Intensities with I  <   - 2*sig(I) ...         15 Check

978_ALERT_2_G Number C-C Bonds with Positive Residual Density.         24 Info

979_ALERT_1_G NoSpherA2 Scattering Factors Used ..............     Please Note

#===============================================================================

ALERT_Level and ALERT_Type Summary

==================================

11 ALERT_Level_C = Check. Ensure it is Not caused by an Omission or Oversight

7 ALERT_Level_G = General Info/Check that it is not Something Unexpected

2 ALERT_Type_1 CIF Construction/Syntax Error, Inconsistent or Missing Data.

2 ALERT_Type_2 Indicator that the Structure Model may be Wrong or Deficient.

12 ALERT_Type_3 Indicator that the Structure Quality may be Low.

2 ALERT_Type_4 Improvement, Methodology, Query or Suggestion.

#===============================================================================

0 Missing  Experimental  Info Issue(s) (Out of  64 Tests) -  100 % Satisfied

0 Experimental  Data  Related Issue(s) (Out of  35 Tests) -  100 % Satisfied

11 Structural  Model   Related Issue(s) (Out of 136 Tests) -   92 % Satisfied

7 Unresolved or to be Checked Issue(s) (Out of 271 Tests) -   97 % Satisfied

*