MC23004

Submitted by: 	Alex Beaton Garcia

Collected by: 	Gary S Nichol

Solved by: 	Jordann A. L. Wells

Sample ID:

R1=4.27%

Crystal Data and Experimental

Experimental. Single colourless block-shaped crystals of MC22028 recrystallised from pentane by slow evaporation. A suitable crystal with dimensions 0.52 × 0.25 × 0.20 mm3 was selected and mounted on a MITIGEN holder in Paratone oil. on a Bruker APEX-II CCD diffractometer. The crystal was kept at a steady T = 100.00 K during data collection. The structure was solved with the ShelXT (Sheldrick, 2018) solution program using direct methods and by using Olex2 1.5 (Dolomanov et al., 2009) as the graphical interface. The model was refined with ShelXL 2018/3 (Sheldrick et al., 2015) using full matrix least squares minimisation on F2.

Crystal Data.  C40H47AlSi2, Mr = 370.10, monoclinic, C2/c (No. 15), a = 15.2933(16) Å, b = 10.0128(12) Å, c = 17.019(3) Å,  = 115. 393(3)°,  =  = 90°, V = 2354.3(5) Å3, T = 100.00 K, Z = 4, Z' = 0.5, (Mo K) = 0.09, 31802 reflections measured, 3582 unique (Rint = 0.031) which were used in all calculations. The final wR2 was 0.1216 (all data) and R1 was 0.0517 (I≥2 (I)).

| Compound | MC23004 |
| --- | --- |
| Formula | C24H33AlB2 |
| Dcalc./ g cm-3 | 1.044 |
| /mm-1 | 0.09 |
| Formula Weight | 370.10 |
| Colour | colourless |
| Shape | block-shaped |
| Size/mm3 | 0.52×0.25×0.20 |
| T/K | 100.00 |
| Crystal System | Monoclinic |
| Space Group | C2/c |
| a/Å | 15.2933(16) |
| b/Å | 10.0128(12) |
| c/Å | 17.019(3) |
| /° | 90 |
| /° | 115.393(3) |
| /° | 90 |
| V/Å3 | 2354.3(5) |
| Z | 4 |
| Z' | 0.5 |
| Wavelength/Å | 0.71073 |
| Radiation type | Mo K |
| min/° | 2.51 |
| max/° | 30.27 |
| Measured Refl's. | 31802 |
| Indep't Refl's | 3582 |
| Refl's I≥2 (I) | 3003 |
| Rint | 0.031 |
| Parameters | 175 |
| Restraints | 2 |
| Largest Peak | 0.30 |
| Deepest Hole | -0.31 |
| GooF | 1.052 |
| wR2 (all data) | 0.1216 |
| wR2 | 0.1142 |
| R1 (all data) | 0.0517 |
| R1 | 0.0427 |

Structure Quality Indicators

| Reflections: |  |
| --- | --- |
| Refinement: |  |

A colourless block-shaped-shaped crystal with dimensions 0.52 × 0.25 × 0.20 mm3 was mounted on a MITIGEN holder in Paratone oil. Data were collected using a Bruker APEX-II CCD diffractometer equipped with an Oxford Cryosystems Cryostream 800 low-temperature device operating at T = 100.00 K.

Data were measured using  and  scans with Mo K radiation. The maximum resolution that was achieved was  = 30.27° (0.70 Å).

The unit cell was refined using SAINT V8.40B (?, 2016) on 9698 reflections, 5% of the observed reflections.

Data reduction, scaling and absorption corrections were performed using SAINT V8.40B (?, 2016). The final completeness is 99.87 % out to 30.27° in . SADABS-2016/2 (Bruker, 2016/2) was used for absorption correction. wR2(int) was 0.1231 before and 0.0495 after correction. The Ratio of minimum to maximum transmission is 0.9390. The λ/2 correction factor is Not present. The absorption coefficient  of this material is 0.09 mm-1 at this wavelength ( = 0.71073Å) and the minimum and maximum transmissions are 0.701 and 0.746.

The structure was solved and the space group C2/c (# 15) determined by the ShelXT (Sheldrick, 2018) structure solution program using direct methods and refined by full matrix least squares minimisation on F2 using version of ShelXL 2018/3 (Sheldrick et al., 2015). All non-hydrogen atoms were refined anisotropically. All carbon-bound hydrogen atom positions were calculated geometrically and refined using the riding model. Boron-bound H atom positions were located on the Fourier difference map and refined using SADI restraints (one for two bridging H atoms and one for two non-bridging H atoms).

The value of Z' is 0.5. This means that there is half a molecule in the asymmetric unit, and the full molecule is symmetry generated.

Figure 1: The asymmetric unit of MC23004. Displacement ellipsoids are at the 50% probability level.